Πέρασμα


	Sewer Networks v8.0 - Calculations Report
[image: image1.png]AN W

Orkﬂ 0




Copyright ©1996-2009 TechnoLogismiki

www.technologismiki.com


Contents
9Project information


9General data


9Model preferences


9Dates


9Time Steps


10Design


10Climatology


10Temperature


10Evaporation


10Wind Speed


10Snow Melt


11Areal Depletion


11Junctions


11A1


11J2


11J3


12J4


12J5


12J6


12J7


12J8


12J9


12J10


13J11


13J12


13J13


13J14


13J15


13J16


14J17


14J18


14J19


14J20


14J21


14J22


14J23


15J24


15J25


15J26


15J27


15J28


15J29


16J30


16J31


16J32


16J33


16A2


16A3


17J36


17J37


17J38


17J39


17J40


17J41


18J42


18J43


18J44


18J45


18J46


18J47


18J48


19J49


19J50


19J51


19A4


19A5


20J54


20J55


20J56


20J57


20J58


20J59


20J60


21J61


21J62


21J63


21J64


21J65


21J66


22J67


22J68


22J69


22J70


22J71


22J72


22J73


23J74


23J75


23J76


23J77


23J78


23J79


24J80


24J81


24J82


24J83


24J84


24J85


24J86


25J87


25J88


25J89


25J90


25J91


25J92


26J93


26J94


26J95


26J96


26J97


26J98


26J99


27J100


27J101


27J102


27J103


27J104


27J105


28J106


28J107


28J108


28J109


28J110


28J111


28J112


29J113


29J114


29J115


29J116


29J117


29J118


30J119


30J120


30J121


30J122


30J123


30J124


30J125


31J126


31J127


31J128


31J129


31J130


31J131


32J132


32J133


32A6


32J135


32J136


32J137


33J138


33J139


33J140


33J141


33J142


33J143


33J144


34J145


34A7


34Conduits


34C1


34C2


34C3


35C4


35C5


35C6


35C7


35C8


36C9


36C10


36C11


36C12


36C13


37C14


37C15


37C16


37C17


37C18


38C19


38C20


38C21


38C22


38C23


39C24


39C25


39C26


39C27


39C28


40C29


40C30


40C31


40C32


40C33


41C34


41C35


41C36


41C37


41C38


42C39


42C40


42C41


42C42


42C43


43C44


43C45


43C46


43C47


43C48


44C49


44C50


44C51


44C52


44C53


45C54


45C55


45C56


45C57


45C58


46C59


46C60


46C61


46C62


46C63


47C64


47C65


47C66


47C67


47C68


48C69


48C70


48C71


48C72


48C73


49C74


49C75


49C76


49C77


49C78


50C79


50C80


50C81


50C82


50C83


51C84


51C85


51C86


51C87


51C88


52C89


52C90


52C91


52C92


52C93


53C94


53C95


53C96


53C97


53C98


54C99


54C100


54C101


54C102


54C103


55C104


55C105


55C106


55C107


55C108


56C109


56C110


56C111


56C112


56C113


57C114


57C115


57C116


57C117


57C118


58C119


58C120


58C121


58C122


58C123


59C124


59C125


59C126


59C127


59C128


60C129


60C130


60C131


60C132


60C133


61C134


61C135


61C136


61C137


61C138


62C139


62C140


62C141


62C142


62C143


63C144


63C145


63Pipes Specifications


63D   0.2


63D   0.25


64D   0.315


64D   0.4


64Inflows: Direct


64Junction: A1


65Junction: A3


65Junction: A2


65Junction: A5


65Junction: A4


65Junction: A6


65Results


65Node results


6500:15 29/12/2008


69Link results


6900:15 29/12/2008


73System results




Project information

	Project title
	Πέρασμα

	Firm
	Γιώργος Οικονόμου

	Date and time:
	26/03/2009 12:45


General data

Model preferences

	Flow units
	L/s

	Infiltration model
	Horton

	Routing method
	Steady flow

	Allow excess water ponding
	No

	Skip steady state periods
	No

	Minimum conduit slope (%)
	No

	Ignore rainfall/runoff
	No

	Ignore snow melt
	No

	Ignore ground water
	No

	Ignore flow routing
	No

	Ignore water quality
	No

	Minimum conduit slope (%)
	0

	Report input summary
	No

	Skip steady state periods
	No


Dates

	Start analysis on
	00:00 29/12/2008

	Start reporting on
	00:00 29/12/2008

	End analysis on
	00:15 29/12/2008

	Start sweeping on
	01/01

	End sweeping on
	31/12

	Number of antecedent dry days
	0


Time Steps

	Reporting time step (days, HH:MM:SS)
	00:15:00

	Dry weather runoff (days, HH:MM:SS)
	00:15:00

	Wet weather runoff (days, HH:MM:SS)
	01:00:00

	Routing (sec)
	00:00:30


Design

	Conduit placement automation
	Crown elevations

	Cuts in excavations measured
	From ground

	Inlet bottoms measured
	From sublayer

	Kinematic viscosity (m²/s)
	0.00000131

	Density (kg/m³)
	999.75

	Maximum sewer peak flow factor (kg/m³)
	3


Climatology

Temperature

	Source
	No data


Evaporation

	Source
	Constant value (mm/day)


Wind Speed

	Source
	Monthly averages


	No
	Month
	Monthly averages (km/h)

	1
	January
	N/A

	2
	February
	N/A

	3
	March
	N/A

	4
	April
	N/A

	5
	May
	N/A

	6
	June
	N/A

	7
	July
	N/A

	8
	August
	N/A

	9
	September
	N/A

	10
	October
	N/A

	11
	November
	N/A

	12
	December
	N/A


Snow Melt

	Dividing temperature between snow and rain (°C)
	1.1

	Antecedent temperature index weight (fraction)
	0.5000

	Negative melt ratio (fraction)
	0.6000

	Elevation above mean sea level (m)
	0.000

	Latitude (degrees)
	50.0000

	Longitude correction (+/- minutes)
	0.0000


Areal Depletion

	Depth ratio
	Impervious
	Pervious

	0.0
	1.0000
	1.0000

	0.1
	1.0000
	1.0000

	0.2
	1.0000
	1.0000

	0.3
	1.0000
	1.0000

	0.4
	1.0000
	1.0000

	0.5
	1.0000
	1.0000

	0.6
	1.0000
	1.0000

	0.7
	1.0000
	1.0000

	0.8
	1.0000
	1.0000

	0.9
	1.0000
	1.0000


Junctions

A1

	X-Coordinate
	277730.666

	Y-Coordinate
	4510418.052

	Constituent
	Flow

	Baseline
	6.66

	Scale factor
	0

	Ground elevation (m)
	940.000

	Invert elevation (m)
	{938.500}


J2

	X-Coordinate
	277817.447

	Y-Coordinate
	4510448.745

	Ground elevation (m)
	936.000

	Invert elevation (m)
	{934.500}


J3

	X-Coordinate
	277866.102

	Y-Coordinate
	4510451.041

	Ground elevation (m)
	932.000

	Invert elevation (m)
	{930.500}


J4

	X-Coordinate
	277929.811

	Y-Coordinate
	4510419.705

	Ground elevation (m)
	928.000

	Invert elevation (m)
	{926.500}


J5

	X-Coordinate
	277975.573

	Y-Coordinate
	4510398.829

	Ground elevation (m)
	928.000

	Invert elevation (m)
	{926.396}


J6

	X-Coordinate
	278070.422

	Y-Coordinate
	4510391.169

	Ground elevation (m)
	932.000

	Invert elevation (m)
	{926.198}


J7

	X-Coordinate
	278166.119

	Y-Coordinate
	4510390.95

	Ground elevation (m)
	932.000

	Invert elevation (m)
	{926.000}


J8

	X-Coordinate
	278268.142

	Y-Coordinate
	4510418.551

	Ground elevation (m)
	924.000

	Invert elevation (m)
	{922.500}


J9

	X-Coordinate
	278365.568

	Y-Coordinate
	4510458.343

	Ground elevation (m)
	920.000

	Invert elevation (m)
	{918.500}


J10

	X-Coordinate
	278483.202

	Y-Coordinate
	4510524.065

	Ground elevation (m)
	912.000

	Invert elevation (m)
	{910.500}


J11

	X-Coordinate
	278559.63

	Y-Coordinate
	4510602.327

	Ground elevation (m)
	904.000

	Invert elevation (m)
	{902.500}


J12

	X-Coordinate
	278584.161

	Y-Coordinate
	4510610.185

	Ground elevation (m)
	900.000

	Invert elevation (m)
	{898.500}


J13

	X-Coordinate
	278611.211

	Y-Coordinate
	4510602.327

	Ground elevation (m)
	904.000

	Invert elevation (m)
	{898.413}


J14

	X-Coordinate
	278689.842

	Y-Coordinate
	4510539.465

	Ground elevation (m)
	900.000

	Invert elevation (m)
	{898.104}


J15

	X-Coordinate
	278721.231

	Y-Coordinate
	4510526.467

	Ground elevation (m)
	900.000

	Invert elevation (m)
	{898.000}


J16

	X-Coordinate
	278818.058

	Y-Coordinate
	4510506.325

	Ground elevation (m)
	896.000

	Invert elevation (m)
	{894.500}


J17

	X-Coordinate
	278978.853

	Y-Coordinate
	4510510.705

	Ground elevation (m)
	888.000

	Invert elevation (m)
	{886.500}


J18

	X-Coordinate
	279037.799

	Y-Coordinate
	4510517.755

	Ground elevation (m)
	884.000

	Invert elevation (m)
	{882.500}


J19

	X-Coordinate
	279123.936

	Y-Coordinate
	4510547.506

	Ground elevation (m)
	880.000

	Invert elevation (m)
	{878.700}


J20

	X-Coordinate
	279164.926

	Y-Coordinate
	4510529.461

	Ground elevation (m)
	880.000

	Invert elevation (m)
	{878.298}


J21

	X-Coordinate
	279193.963

	Y-Coordinate
	4510513.367

	Ground elevation (m)
	880.000

	Invert elevation (m)
	{878.000}


J22

	X-Coordinate
	279276.442

	Y-Coordinate
	4510505.805

	Ground elevation (m)
	872.000

	Invert elevation (m)
	{870.500}


J23

	X-Coordinate
	279328.106

	Y-Coordinate
	4510465.181

	Ground elevation (m)
	868.000

	Invert elevation (m)
	{866.500}


J24

	X-Coordinate
	279369.512

	Y-Coordinate
	4510442.679

	Ground elevation (m)
	864.000

	Invert elevation (m)
	{862.500}


J25

	X-Coordinate
	279470.238

	Y-Coordinate
	4510442.679

	Ground elevation (m)
	860.000

	Invert elevation (m)
	{858.500}


J26

	X-Coordinate
	279535.036

	Y-Coordinate
	4510435.511

	Ground elevation (m)
	856.000

	Invert elevation (m)
	{854.500}


J27

	X-Coordinate
	279625.928

	Y-Coordinate
	4510402.896

	Ground elevation (m)
	848.000

	Invert elevation (m)
	{846.500}


J28

	X-Coordinate
	279676.562

	Y-Coordinate
	4510374.246

	Ground elevation (m)
	844.000

	Invert elevation (m)
	{842.500}


J29

	X-Coordinate
	279777.521

	Y-Coordinate
	4510339.798

	Ground elevation (m)
	840.000

	Invert elevation (m)
	{838.500}


J30

	X-Coordinate
	279828.569

	Y-Coordinate
	4510337.531

	Ground elevation (m)
	840.000

	Invert elevation (m)
	{838.000}


J31

	X-Coordinate
	280009.539

	Y-Coordinate
	4510347.514

	Ground elevation (m)
	832.000

	Invert elevation (m)
	{830.500}


J32

	X-Coordinate
	280091.819

	Y-Coordinate
	4510299.007

	Ground elevation (m)
	828.000

	Invert elevation (m)
	{826.500}


J33

	X-Coordinate
	280249.654

	Y-Coordinate
	4510270.158

	Ground elevation (m)
	820.000

	Invert elevation (m)
	{818.500}


A2

	X-Coordinate
	280404.367

	Y-Coordinate
	4510268.889

	Constituent
	Flow

	Baseline
	-1.11

	Scale factor
	0

	Ground elevation (m)
	812.000

	Invert elevation (m)
	{810.500}


A3

	X-Coordinate
	280663.13

	Y-Coordinate
	4510886.47

	Constituent
	Flow

	Baseline
	2.75

	Scale factor
	0

	Ground elevation (m)
	856.000

	Invert elevation (m)
	{854.500}


J36

	X-Coordinate
	280646.839

	Y-Coordinate
	4510839.615

	Ground elevation (m)
	852.000

	Invert elevation (m)
	{850.500}


J37

	X-Coordinate
	280644.861

	Y-Coordinate
	4510731.148

	Ground elevation (m)
	844.000

	Invert elevation (m)
	{842.500}


J38

	X-Coordinate
	280612.083

	Y-Coordinate
	4510658.968

	Ground elevation (m)
	840.000

	Invert elevation (m)
	{838.500}


J39

	X-Coordinate
	280385.826

	Y-Coordinate
	4510442.963

	Ground elevation (m)
	832.000

	Invert elevation (m)
	{830.500}


J40

	X-Coordinate
	280382.093

	Y-Coordinate
	4510419.575

	Ground elevation (m)
	828.000

	Invert elevation (m)
	{826.500}


J41

	X-Coordinate
	280477.366

	Y-Coordinate
	4510262.203

	Ground elevation (m)
	812.000

	Invert elevation (m)
	{810.300}


J42

	X-Coordinate
	280679.824

	Y-Coordinate
	4510339.806

	Ground elevation (m)
	808.000

	Invert elevation (m)
	{806.500}


J43

	X-Coordinate
	280729.909

	Y-Coordinate
	4510339.176

	Ground elevation (m)
	804.000

	Invert elevation (m)
	{802.500}


J44

	X-Coordinate
	280782.579

	Y-Coordinate
	4510316.613

	Ground elevation (m)
	800.000

	Invert elevation (m)
	{798.500}


J45

	X-Coordinate
	280858.275

	Y-Coordinate
	4510312.209

	Ground elevation (m)
	796.000

	Invert elevation (m)
	{794.500}


J46

	X-Coordinate
	281270.107

	Y-Coordinate
	4510370.963

	Ground elevation (m)
	780.000

	Invert elevation (m)
	{778.500}


J47

	X-Coordinate
	281404.126

	Y-Coordinate
	4510389.532

	Ground elevation (m)
	772.000

	Invert elevation (m)
	{770.500}


J48

	X-Coordinate
	281534.737

	Y-Coordinate
	4510366.68

	Ground elevation (m)
	768.000

	Invert elevation (m)
	{766.500}


J49

	X-Coordinate
	281583.408

	Y-Coordinate
	4510371.93

	Ground elevation (m)
	764.000

	Invert elevation (m)
	{762.500}


J50

	X-Coordinate
	281791.727

	Y-Coordinate
	4510462.231

	Ground elevation (m)
	756.000

	Invert elevation (m)
	{754.500}


J51

	X-Coordinate
	281856.034

	Y-Coordinate
	4510502.481

	Ground elevation (m)
	752.000

	Invert elevation (m)
	{750.500}


A4

	X-Coordinate
	281950.609

	Y-Coordinate
	4510603.477

	Constituent
	Flow

	Baseline
	-0.56

	Scale factor
	0

	Ground elevation (m)
	740.000

	Invert elevation (m)
	{738.500}


A5

	X-Coordinate
	280016.135

	Y-Coordinate
	4508348.5

	Constituent
	Flow

	Baseline
	1.31

	Scale factor
	0

	Ground elevation (m)
	1100.000

	Invert elevation (m)
	{1098.500}


J54

	X-Coordinate
	280186.501

	Y-Coordinate
	4508445.364

	Ground elevation (m)
	1080.000

	Invert elevation (m)
	{1078.500}


J55

	X-Coordinate
	280353.986

	Y-Coordinate
	4508448.7

	Ground elevation (m)
	1060.000

	Invert elevation (m)
	{1058.500}


J56

	X-Coordinate
	280463.683

	Y-Coordinate
	4508544.466

	Ground elevation (m)
	1056.000

	Invert elevation (m)
	{1054.500}


J57

	X-Coordinate
	280644.703

	Y-Coordinate
	4508705.763

	Ground elevation (m)
	1040.000

	Invert elevation (m)
	{1038.500}


J58

	X-Coordinate
	280705.619

	Y-Coordinate
	4508730.118

	Ground elevation (m)
	1036.000

	Invert elevation (m)
	{1034.500}


J59

	X-Coordinate
	280812.621

	Y-Coordinate
	4508836.538

	Ground elevation (m)
	1020.000

	Invert elevation (m)
	{1018.500}


J60

	X-Coordinate
	280880.894

	Y-Coordinate
	4508941.016

	Ground elevation (m)
	992.000

	Invert elevation (m)
	{990.500}


J61

	X-Coordinate
	280946.914

	Y-Coordinate
	4509013.862

	Ground elevation (m)
	990.000

	Invert elevation (m)
	{988.500}


J62

	X-Coordinate
	281051.705

	Y-Coordinate
	4509177.602

	Ground elevation (m)
	980.000

	Invert elevation (m)
	{978.500}


J63

	X-Coordinate
	281085.53

	Y-Coordinate
	4509214.727

	Ground elevation (m)
	980.000

	Invert elevation (m)
	{978.300}


J64

	X-Coordinate
	281128.449

	Y-Coordinate
	4509308.072

	Ground elevation (m)
	972.000

	Invert elevation (m)
	{970.500}


J65

	X-Coordinate
	281117.991

	Y-Coordinate
	4509397.483

	Ground elevation (m)
	972.000

	Invert elevation (m)
	{970.300}


J66

	X-Coordinate
	281149.289

	Y-Coordinate
	4509442.406

	Ground elevation (m)
	968.000

	Invert elevation (m)
	{966.500}


J67

	X-Coordinate
	281206.174

	Y-Coordinate
	4509471.99

	Ground elevation (m)
	968.000

	Invert elevation (m)
	{966.286}


J68

	X-Coordinate
	281244.554

	Y-Coordinate
	4509455.811

	Ground elevation (m)
	968.000

	Invert elevation (m)
	{966.147}


J69

	X-Coordinate
	281288.079

	Y-Coordinate
	4509463.238

	Ground elevation (m)
	968.000

	Invert elevation (m)
	{966.000}


J70

	X-Coordinate
	281385.381

	Y-Coordinate
	4509508.767

	Ground elevation (m)
	964.000

	Invert elevation (m)
	{962.500}


J71

	X-Coordinate
	281396.478

	Y-Coordinate
	4509561.036

	Ground elevation (m)
	960.000

	Invert elevation (m)
	{958.500}


J72

	X-Coordinate
	281453.512

	Y-Coordinate
	4509609.136

	Ground elevation (m)
	940.000

	Invert elevation (m)
	{938.500}


J73

	X-Coordinate
	281517.022

	Y-Coordinate
	4509704.626

	Ground elevation (m)
	940.000

	Invert elevation (m)
	{938.200}


J74

	X-Coordinate
	281523.93

	Y-Coordinate
	4509755.811

	Ground elevation (m)
	924.000

	Invert elevation (m)
	{922.500}


J75

	X-Coordinate
	281575.145

	Y-Coordinate
	4509798.056

	Ground elevation (m)
	916.000

	Invert elevation (m)
	{914.500}


J76

	X-Coordinate
	281581.646

	Y-Coordinate
	4509811.059

	Ground elevation (m)
	916.000

	Invert elevation (m)
	{914.400}


J77

	X-Coordinate
	281572.294

	Y-Coordinate
	4509817.556

	Ground elevation (m)
	912.000

	Invert elevation (m)
	{910.500}


J78

	X-Coordinate
	281461.343

	Y-Coordinate
	4509798.056

	Ground elevation (m)
	904.000

	Invert elevation (m)
	{902.500}


J79

	X-Coordinate
	281446.712

	Y-Coordinate
	4509770.028

	Ground elevation (m)
	900.000

	Invert elevation (m)
	{898.500}


J80

	X-Coordinate
	281439.805

	Y-Coordinate
	4509748.497

	Ground elevation (m)
	896.000

	Invert elevation (m)
	{894.500}


J81

	X-Coordinate
	281395.913

	Y-Coordinate
	4509720.875

	Ground elevation (m)
	896.000

	Invert elevation (m)
	{894.200}


J82

	X-Coordinate
	281374.782

	Y-Coordinate
	4509726.564

	Ground elevation (m)
	892.000

	Invert elevation (m)
	{890.500}


J83

	X-Coordinate
	281386.968

	Y-Coordinate
	4509750.122

	Ground elevation (m)
	888.000

	Invert elevation (m)
	{886.500}


J84

	X-Coordinate
	281405.597

	Y-Coordinate
	4509783.185

	Ground elevation (m)
	884.000

	Invert elevation (m)
	{882.500}


J85

	X-Coordinate
	281370.625

	Y-Coordinate
	4509837.819

	Ground elevation (m)
	880.000

	Invert elevation (m)
	{878.500}


J86

	X-Coordinate
	281375.264

	Y-Coordinate
	4509862.812

	Ground elevation (m)
	876.000

	Invert elevation (m)
	{874.500}


J87

	X-Coordinate
	281414.916

	Y-Coordinate
	4509911.721

	Ground elevation (m)
	872.000

	Invert elevation (m)
	{870.500}


J88

	X-Coordinate
	281467.062

	Y-Coordinate
	4509934.926

	Ground elevation (m)
	868.000

	Invert elevation (m)
	{866.500}


J89

	X-Coordinate
	281464.926

	Y-Coordinate
	4509947.047

	Ground elevation (m)
	864.000

	Invert elevation (m)
	{862.500}


J90

	X-Coordinate
	281443.279

	Y-Coordinate
	4509949.846

	Ground elevation (m)
	864.000

	Invert elevation (m)
	{862.400}


J91

	X-Coordinate
	281395.323

	Y-Coordinate
	4509939.887

	Ground elevation (m)
	860.000

	Invert elevation (m)
	{858.500}


J92

	X-Coordinate
	281394.699

	Y-Coordinate
	4509961.674

	Ground elevation (m)
	856.000

	Invert elevation (m)
	{854.500}


J93

	X-Coordinate
	281424.75

	Y-Coordinate
	4509995.761

	Ground elevation (m)
	852.000

	Invert elevation (m)
	{850.500}


J94

	X-Coordinate
	281592.486

	Y-Coordinate
	4510059.533

	Ground elevation (m)
	840.000

	Invert elevation (m)
	{838.500}


J95

	X-Coordinate
	281653.003

	Y-Coordinate
	4510056.039

	Ground elevation (m)
	836.000

	Invert elevation (m)
	{834.500}


J96

	X-Coordinate
	281696.188

	Y-Coordinate
	4510027.19

	Ground elevation (m)
	832.000

	Invert elevation (m)
	{830.500}


J97

	X-Coordinate
	281712.057

	Y-Coordinate
	4510033.796

	Ground elevation (m)
	832.000

	Invert elevation (m)
	{830.400}


J98

	X-Coordinate
	281742.465

	Y-Coordinate
	4510063.97

	Ground elevation (m)
	828.000

	Invert elevation (m)
	{826.500}


J99

	X-Coordinate
	281786.049

	Y-Coordinate
	4510071.54

	Ground elevation (m)
	824.000

	Invert elevation (m)
	{822.500}


J100

	X-Coordinate
	281820.888

	Y-Coordinate
	4510069.472

	Ground elevation (m)
	828.000

	Invert elevation (m)
	{822.300}


J101

	X-Coordinate
	281902.669

	Y-Coordinate
	4510231.562

	Ground elevation (m)
	800.000

	Invert elevation (m)
	{798.500}


J102

	X-Coordinate
	281990.344

	Y-Coordinate
	4510288.699

	Ground elevation (m)
	792.000

	Invert elevation (m)
	{790.500}


J103

	X-Coordinate
	282026.039

	Y-Coordinate
	4510332.752

	Ground elevation (m)
	788.000

	Invert elevation (m)
	{786.500}


J104

	X-Coordinate
	282029.281

	Y-Coordinate
	4510373.287

	Ground elevation (m)
	784.000

	Invert elevation (m)
	{782.500}


J105

	X-Coordinate
	282017.627

	Y-Coordinate
	4510388.398

	Ground elevation (m)
	784.000

	Invert elevation (m)
	{782.400}


J106

	X-Coordinate
	281998.457

	Y-Coordinate
	4510385.554

	Ground elevation (m)
	780.000

	Invert elevation (m)
	{778.500}


J107

	X-Coordinate
	281953.294

	Y-Coordinate
	4510344.198

	Ground elevation (m)
	776.000

	Invert elevation (m)
	{774.500}


J108

	X-Coordinate
	281919.045

	Y-Coordinate
	4510334.918

	Ground elevation (m)
	772.000

	Invert elevation (m)
	{770.500}


J109

	X-Coordinate
	281899.735

	Y-Coordinate
	4510335.422

	Ground elevation (m)
	772.000

	Invert elevation (m)
	{770.400}


J110

	X-Coordinate
	281888.654

	Y-Coordinate
	4510344.82

	Ground elevation (m)
	768.000

	Invert elevation (m)
	{766.500}


J111

	X-Coordinate
	281898.055

	Y-Coordinate
	4510358.078

	Ground elevation (m)
	768.000

	Invert elevation (m)
	{766.400}


J112

	X-Coordinate
	281978.714

	Y-Coordinate
	4510420.575

	Ground elevation (m)
	760.000

	Invert elevation (m)
	{758.500}


J113

	X-Coordinate
	282023.562

	Y-Coordinate
	4510479.841

	Ground elevation (m)
	756.000

	Invert elevation (m)
	{754.500}


J114

	X-Coordinate
	282016.338

	Y-Coordinate
	4510510.234

	Ground elevation (m)
	752.000

	Invert elevation (m)
	{750.500}


J115

	X-Coordinate
	281997.028

	Y-Coordinate
	4510645.938

	Ground elevation (m)
	736.000

	Invert elevation (m)
	{734.500}


J116

	X-Coordinate
	282115.984

	Y-Coordinate
	4510730.936

	Ground elevation (m)
	736.000

	Invert elevation (m)
	{734.130}


J117

	X-Coordinate
	282230.692

	Y-Coordinate
	4510778.33

	Ground elevation (m)
	736.000

	Invert elevation (m)
	{733.816}


J118

	X-Coordinate
	282303.504

	Y-Coordinate
	4510799.495

	Ground elevation (m)
	736.000

	Invert elevation (m)
	{733.624}


J119

	X-Coordinate
	282397.288

	Y-Coordinate
	4510814.915

	Ground elevation (m)
	736.000

	Invert elevation (m)
	{733.383}


J120

	X-Coordinate
	282436.774

	Y-Coordinate
	4510834.646

	Ground elevation (m)
	736.000

	Invert elevation (m)
	{733.271}


J121

	X-Coordinate
	282522.995

	Y-Coordinate
	4510898.284

	Ground elevation (m)
	736.000

	Invert elevation (m)
	{733.000}


J122

	X-Coordinate
	282610.32

	Y-Coordinate
	4511031.757

	Ground elevation (m)
	732.000

	Invert elevation (m)
	{730.500}


J123

	X-Coordinate
	282742.727

	Y-Coordinate
	4511124.448

	Ground elevation (m)
	732.000

	Invert elevation (m)
	{730.098}


J124

	X-Coordinate
	282781.481

	Y-Coordinate
	4511160.651

	Ground elevation (m)
	732.000

	Invert elevation (m)
	{729.967}


J125

	X-Coordinate
	282985.053

	Y-Coordinate
	4511317.134

	Ground elevation (m)
	732.000

	Invert elevation (m)
	{729.329}


J126

	X-Coordinate
	283085.081

	Y-Coordinate
	4511403.709

	Ground elevation (m)
	732.000

	Invert elevation (m)
	{729.000}


J127

	X-Coordinate
	283291.986

	Y-Coordinate
	4511615.858

	Ground elevation (m)
	728.000

	Invert elevation (m)
	{726.500}


J128

	X-Coordinate
	283336.892

	Y-Coordinate
	4511675.299

	Ground elevation (m)
	728.000

	Invert elevation (m)
	{726.382}


J129

	X-Coordinate
	283398.581

	Y-Coordinate
	4511838.885

	Ground elevation (m)
	728.000

	Invert elevation (m)
	{726.105}


J130

	X-Coordinate
	283434.135

	Y-Coordinate
	4511896.217

	Ground elevation (m)
	728.000

	Invert elevation (m)
	{725.998}


J131

	X-Coordinate
	283540.148

	Y-Coordinate
	4512022.075

	Ground elevation (m)
	728.000

	Invert elevation (m)
	{725.737}


J132

	X-Coordinate
	283593.915

	Y-Coordinate
	4512091.008

	Ground elevation (m)
	728.000

	Invert elevation (m)
	{725.598}


J133

	X-Coordinate
	283616.393

	Y-Coordinate
	4512148.819

	Ground elevation (m)
	728.000

	Invert elevation (m)
	{725.500}


A6

	X-Coordinate
	283637.008

	Y-Coordinate
	4512337.447

	Constituent
	Flow

	Baseline
	3.22

	Scale factor
	0

	Ground elevation (m)
	720.000

	Invert elevation (m)
	{718.500}


J135

	X-Coordinate
	283631.081

	Y-Coordinate
	4512384.738

	Ground elevation (m)
	720.000

	Invert elevation (m)
	{718.000}


J136

	X-Coordinate
	283614.971

	Y-Coordinate
	4512445.118

	Ground elevation (m)
	716.000

	Invert elevation (m)
	{714.500}


J137

	X-Coordinate
	283618.371

	Y-Coordinate
	4512490.195

	Ground elevation (m)
	712.000

	Invert elevation (m)
	{710.500}


J138

	X-Coordinate
	283651.772

	Y-Coordinate
	4512589.692

	Ground elevation (m)
	704.000

	Invert elevation (m)
	{702.500}


J139

	X-Coordinate
	283746.438

	Y-Coordinate
	4512699.509

	Ground elevation (m)
	692.000

	Invert elevation (m)
	{690.500}


J140

	X-Coordinate
	283768.633

	Y-Coordinate
	4512735.106

	Ground elevation (m)
	688.000

	Invert elevation (m)
	{686.500}


J141

	X-Coordinate
	283851.936

	Y-Coordinate
	4512811.836

	Ground elevation (m)
	688.000

	Invert elevation (m)
	{686.062}


J142

	X-Coordinate
	283831.794

	Y-Coordinate
	4512836.793

	Ground elevation (m)
	688.000

	Invert elevation (m)
	{685.939}


J143

	X-Coordinate
	283839.89

	Y-Coordinate
	4512950.023

	Ground elevation (m)
	688.000

	Invert elevation (m)
	{685.500}


J144

	X-Coordinate
	283891.737

	Y-Coordinate
	4513043.875

	Ground elevation (m)
	684.000

	Invert elevation (m)
	{682.500}


J145

	X-Coordinate
	283814.246

	Y-Coordinate
	4513335.891

	Ground elevation (m)
	684.000

	Invert elevation (m)
	{681.500}


A7

	X-Coordinate
	283953.158

	Y-Coordinate
	4513396.167

	Ground elevation (m)
	676.000

	Invert elevation (m)
	{674.500}


Conduits

C1

	Start node
	A1

	End node
	J2

	Shape
	D   0.25

	Inlet elevation (m)
	938.500

	Outlet elevation (m)
	{934.500}

	Slope
	0.04346


C2

	Start node
	J2

	End node
	J3

	Shape
	{D   0.25}

	Inlet elevation (m)
	934.500

	Outlet elevation (m)
	{930.500}

	Slope
	0.08212


C3

	Start node
	J3

	End node
	J4

	Shape
	{D   0.25}

	Inlet elevation (m)
	930.500

	Outlet elevation (m)
	{926.500}

	Slope
	0.05634


C4

	Start node
	J4

	End node
	J5

	Shape
	{D   0.25}

	Inlet elevation (m)
	926.500

	Outlet elevation (m)
	{926.396}

	Slope
	0.00207


C5

	Start node
	J5

	End node
	J6

	Shape
	{D   0.25}

	Inlet elevation (m)
	{926.396}

	Outlet elevation (m)
	{926.198}

	Slope
	0.00207


C6

	Start node
	J6

	End node
	J7

	Shape
	{D   0.25}

	Inlet elevation (m)
	{926.198}

	Outlet elevation (m)
	{926.000}

	Slope
	0.00207


C7

	Start node
	J7

	End node
	J8

	Shape
	{D   0.25}

	Inlet elevation (m)
	926.000

	Outlet elevation (m)
	{922.500}

	Slope
	0.03312


C8

	Start node
	J8

	End node
	J9

	Shape
	{D   0.25}

	Inlet elevation (m)
	922.500

	Outlet elevation (m)
	{918.500}

	Slope
	0.03801


C9

	Start node
	J9

	End node
	J10

	Shape
	{D   0.25}

	Inlet elevation (m)
	918.500

	Outlet elevation (m)
	{910.500}

	Slope
	0.05937


C10

	Start node
	J10

	End node
	J11

	Shape
	{D   0.25}

	Inlet elevation (m)
	910.500

	Outlet elevation (m)
	{902.500}

	Slope
	0.07313


C11

	Start node
	J11

	End node
	J12

	Shape
	{D   0.25}

	Inlet elevation (m)
	902.500

	Outlet elevation (m)
	{898.500}

	Slope
	0.15529


C12

	Start node
	J12

	End node
	J13

	Shape
	{D   0.25}

	Inlet elevation (m)
	898.500

	Outlet elevation (m)
	{898.413}

	Slope
	0.00307


C13

	Start node
	J13

	End node
	J14

	Shape
	{D   0.25}

	Inlet elevation (m)
	{898.413}

	Outlet elevation (m)
	{898.104}

	Slope
	0.00307


C14

	Start node
	J14

	End node
	J15

	Shape
	{D   0.25}

	Inlet elevation (m)
	{898.104}

	Outlet elevation (m)
	{898.000}

	Slope
	0.00307


C15

	Start node
	J15

	End node
	J16

	Shape
	{D   0.25}

	Inlet elevation (m)
	898.000

	Outlet elevation (m)
	{894.500}

	Slope
	0.03539


C16

	Start node
	J16

	End node
	J17

	Shape
	{D   0.25}

	Inlet elevation (m)
	894.500

	Outlet elevation (m)
	{886.500}

	Slope
	0.04973


C17

	Start node
	J17

	End node
	J18

	Shape
	{D   0.25}

	Inlet elevation (m)
	886.500

	Outlet elevation (m)
	{882.500}

	Slope
	0.06738


C18

	Start node
	J18

	End node
	J19

	Shape
	{D   0.25}

	Inlet elevation (m)
	882.500

	Outlet elevation (m)
	{878.700}

	Slope
	0.04170


C19

	Start node
	J19

	End node
	J20

	Shape
	{D   0.25}

	Inlet elevation (m)
	878.700

	Outlet elevation (m)
	{878.298}

	Slope
	0.00898


C20

	Start node
	J20

	End node
	J21

	Shape
	{D   0.25}

	Inlet elevation (m)
	{878.298}

	Outlet elevation (m)
	{878.000}

	Slope
	0.00898


C21

	Start node
	J21

	End node
	J22

	Shape
	{D   0.25}

	Inlet elevation (m)
	878.000

	Outlet elevation (m)
	{870.500}

	Slope
	0.09055


C22

	Start node
	J22

	End node
	J23

	Shape
	{D   0.25}

	Inlet elevation (m)
	870.500

	Outlet elevation (m)
	{866.500}

	Slope
	0.06086


C23

	Start node
	J23

	End node
	J24

	Shape
	{D   0.25}

	Inlet elevation (m)
	866.500

	Outlet elevation (m)
	{862.500}

	Slope
	0.08488


C24

	Start node
	J24

	End node
	J25

	Shape
	{D   0.25}

	Inlet elevation (m)
	862.500

	Outlet elevation (m)
	{858.500}

	Slope
	0.03971


C25

	Start node
	J25

	End node
	J26

	Shape
	{D   0.25}

	Inlet elevation (m)
	858.500

	Outlet elevation (m)
	{854.500}

	Slope
	0.06136


C26

	Start node
	J26

	End node
	J27

	Shape
	{D   0.25}

	Inlet elevation (m)
	854.500

	Outlet elevation (m)
	{846.500}

	Slope
	0.08284


C27

	Start node
	J27

	End node
	J28

	Shape
	{D   0.25}

	Inlet elevation (m)
	846.500

	Outlet elevation (m)
	{842.500}

	Slope
	0.06876


C28

	Start node
	J28

	End node
	J29

	Shape
	{D   0.25}

	Inlet elevation (m)
	842.500

	Outlet elevation (m)
	{838.500}

	Slope
	0.03750


C29

	Start node
	J29

	End node
	J30

	Shape
	{D   0.25}

	Inlet elevation (m)
	838.500

	Outlet elevation (m)
	{838.000}

	Slope
	0.00978


C30

	Start node
	J30

	End node
	J31

	Shape
	{D   0.25}

	Inlet elevation (m)
	838.000

	Outlet elevation (m)
	{830.500}

	Slope
	0.04138


C31

	Start node
	J31

	End node
	J32

	Shape
	{D   0.25}

	Inlet elevation (m)
	830.500

	Outlet elevation (m)
	{826.500}

	Slope
	0.04188


C32

	Start node
	J32

	End node
	J33

	Shape
	{D   0.25}

	Inlet elevation (m)
	826.500

	Outlet elevation (m)
	{818.500}

	Slope
	0.04986


C33

	Start node
	J33

	End node
	A2

	Shape
	{D   0.25}

	Inlet elevation (m)
	818.500

	Outlet elevation (m)
	810.500

	Slope
	0.05171


C34

	Start node
	A3

	End node
	J36

	Shape
	D   0.2

	Inlet elevation (m)
	854.500

	Outlet elevation (m)
	{850.500}

	Slope
	0.08064


C35

	Start node
	J36

	End node
	J37

	Shape
	{D   0.2}

	Inlet elevation (m)
	850.500

	Outlet elevation (m)
	{842.500}

	Slope
	0.07374


C36

	Start node
	J37

	End node
	J38

	Shape
	{D   0.2}

	Inlet elevation (m)
	842.500

	Outlet elevation (m)
	{838.500}

	Slope
	0.05046


C37

	Start node
	J38

	End node
	J39

	Shape
	{D   0.2}

	Inlet elevation (m)
	838.500

	Outlet elevation (m)
	{830.500}

	Slope
	0.02557


C38

	Start node
	J39

	End node
	J40

	Shape
	{D   0.2}

	Inlet elevation (m)
	830.500

	Outlet elevation (m)
	{826.500}

	Slope
	0.16889


C39

	Start node
	J40

	End node
	A2

	Shape
	{D   0.2}

	Inlet elevation (m)
	826.500

	Outlet elevation (m)
	810.500

	Slope
	0.10504


C40

	Start node
	A2

	End node
	J41

	Shape
	D   0.25

	Inlet elevation (m)
	810.500

	Outlet elevation (m)
	{810.300}

	Slope
	0.00273


C41

	Start node
	J41

	End node
	J42

	Shape
	{D   0.25}

	Inlet elevation (m)
	810.300

	Outlet elevation (m)
	{806.500}

	Slope
	0.01753


C42

	Start node
	J42

	End node
	J43

	Shape
	{D   0.25}

	Inlet elevation (m)
	806.500

	Outlet elevation (m)
	{802.500}

	Slope
	0.07986


C43

	Start node
	J43

	End node
	J44

	Shape
	{D   0.25}

	Inlet elevation (m)
	802.500

	Outlet elevation (m)
	{798.500}

	Slope
	0.06981


C44

	Start node
	J44

	End node
	J45

	Shape
	{D   0.25}

	Inlet elevation (m)
	798.500

	Outlet elevation (m)
	{794.500}

	Slope
	0.05275


C45

	Start node
	J45

	End node
	J46

	Shape
	{D   0.25}

	Inlet elevation (m)
	794.500

	Outlet elevation (m)
	{778.500}

	Slope
	0.03846


C46

	Start node
	J46

	End node
	J47

	Shape
	{D   0.25}

	Inlet elevation (m)
	778.500

	Outlet elevation (m)
	{770.500}

	Slope
	0.05913


C47

	Start node
	J47

	End node
	J48

	Shape
	{D   0.25}

	Inlet elevation (m)
	770.500

	Outlet elevation (m)
	{766.500}

	Slope
	0.03017


C48

	Start node
	J48

	End node
	J49

	Shape
	{D   0.25}

	Inlet elevation (m)
	766.500

	Outlet elevation (m)
	{762.500}

	Slope
	0.08171


C49

	Start node
	J49

	End node
	J50

	Shape
	{D   0.25}

	Inlet elevation (m)
	762.500

	Outlet elevation (m)
	{754.500}

	Slope
	0.03523


C50

	Start node
	J50

	End node
	J51

	Shape
	{D   0.25}

	Inlet elevation (m)
	754.500

	Outlet elevation (m)
	{750.500}

	Slope
	0.05272


C51

	Start node
	J51

	End node
	A4

	Shape
	{D   0.25}

	Inlet elevation (m)
	750.500

	Outlet elevation (m)
	738.500

	Slope
	0.08673


C52

	Start node
	A5

	End node
	J54

	Shape
	D   0.2

	Inlet elevation (m)
	1098.500

	Outlet elevation (m)
	{1078.500}

	Slope
	0.10205


C53

	Start node
	J54

	End node
	J55

	Shape
	D   0.2

	Inlet elevation (m)
	1078.500

	Outlet elevation (m)
	{1058.500}

	Slope
	0.11939


C54

	Start node
	J55

	End node
	J56

	Shape
	D   0.2

	Inlet elevation (m)
	1058.500

	Outlet elevation (m)
	{1054.500}

	Slope
	0.02747


C55

	Start node
	J56

	End node
	J57

	Shape
	D   0.2

	Inlet elevation (m)
	1054.500

	Outlet elevation (m)
	{1038.500}

	Slope
	0.06599


C56

	Start node
	J57

	End node
	J58

	Shape
	D   0.2

	Inlet elevation (m)
	1038.500

	Outlet elevation (m)
	{1034.500}

	Slope
	0.06097


C57

	Start node
	J58

	End node
	J59

	Shape
	D   0.2

	Inlet elevation (m)
	1034.500

	Outlet elevation (m)
	{1018.500}

	Slope
	0.10602


C58

	Start node
	J59

	End node
	J60

	Shape
	D   0.2

	Inlet elevation (m)
	1018.500

	Outlet elevation (m)
	{990.500}

	Slope
	0.22435


C59

	Start node
	J60

	End node
	J61

	Shape
	D   0.2

	Inlet elevation (m)
	990.500

	Outlet elevation (m)
	{988.500}

	Slope
	0.02034


C60

	Start node
	J61

	End node
	J62

	Shape
	D   0.2

	Inlet elevation (m)
	988.500

	Outlet elevation (m)
	{978.500}

	Slope
	0.05144


C61

	Start node
	J62

	End node
	J63

	Shape
	D   0.2

	Inlet elevation (m)
	978.500

	Outlet elevation (m)
	{978.300}

	Slope
	0.00398


C62

	Start node
	J63

	End node
	J64

	Shape
	D   0.2

	Inlet elevation (m)
	978.300

	Outlet elevation (m)
	{970.500}

	Slope
	0.07592


C63

	Start node
	J64

	End node
	J65

	Shape
	D   0.2

	Inlet elevation (m)
	970.500

	Outlet elevation (m)
	{970.300}

	Slope
	0.00222


C64

	Start node
	J65

	End node
	J66

	Shape
	D   0.2

	Inlet elevation (m)
	970.300

	Outlet elevation (m)
	{966.500}

	Slope
	0.06941


C65

	Start node
	J66

	End node
	J67

	Shape
	D   0.2

	Inlet elevation (m)
	966.500

	Outlet elevation (m)
	{966.286}

	Slope
	0.00334


C66

	Start node
	J67

	End node
	J68

	Shape
	D   0.2

	Inlet elevation (m)
	{966.286}

	Outlet elevation (m)
	{966.147}

	Slope
	0.00334


C67

	Start node
	J68

	End node
	J69

	Shape
	D   0.2

	Inlet elevation (m)
	{966.147}

	Outlet elevation (m)
	{966.000}

	Slope
	0.00334


C68

	Start node
	J69

	End node
	J70

	Shape
	D   0.2

	Inlet elevation (m)
	966.000

	Outlet elevation (m)
	{962.500}

	Slope
	0.03258


C69

	Start node
	J70

	End node
	J71

	Shape
	D   0.2

	Inlet elevation (m)
	962.500

	Outlet elevation (m)
	{958.500}

	Slope
	0.07486


C70

	Start node
	J71

	End node
	J72

	Shape
	D   0.2

	Inlet elevation (m)
	958.500

	Outlet elevation (m)
	{938.500}

	Slope
	0.26806


C71

	Start node
	J72

	End node
	J73

	Shape
	D   0.2

	Inlet elevation (m)
	938.500

	Outlet elevation (m)
	{938.200}

	Slope
	0.00262


C72

	Start node
	J73

	End node
	J74

	Shape
	D   0.2

	Inlet elevation (m)
	938.200

	Outlet elevation (m)
	{922.500}

	Slope
	0.30398


C73

	Start node
	J74

	End node
	J75

	Shape
	D   0.2

	Inlet elevation (m)
	922.500

	Outlet elevation (m)
	{914.500}

	Slope
	0.12050


C74

	Start node
	J75

	End node
	J76

	Shape
	D   0.2

	Inlet elevation (m)
	914.500

	Outlet elevation (m)
	{914.400}

	Slope
	0.00688


C75

	Start node
	J76

	End node
	J77

	Shape
	D   0.2

	Inlet elevation (m)
	914.400

	Outlet elevation (m)
	{910.500}

	Slope
	0.34249


C76

	Start node
	J77

	End node
	J78

	Shape
	D   0.2

	Inlet elevation (m)
	910.500

	Outlet elevation (m)
	{902.500}

	Slope
	0.07102


C77

	Start node
	J78

	End node
	J79

	Shape
	D   0.2

	Inlet elevation (m)
	902.500

	Outlet elevation (m)
	{898.500}

	Slope
	0.12651


C78

	Start node
	J79

	End node
	J80

	Shape
	D   0.2

	Inlet elevation (m)
	898.500

	Outlet elevation (m)
	{894.500}

	Slope
	0.17690


C79

	Start node
	J80

	End node
	J81

	Shape
	D   0.2

	Inlet elevation (m)
	894.500

	Outlet elevation (m)
	{894.200}

	Slope
	0.00578


C80

	Start node
	J81

	End node
	J82

	Shape
	D   0.2

	Inlet elevation (m)
	894.200

	Outlet elevation (m)
	{890.500}

	Slope
	0.16908


C81

	Start node
	J82

	End node
	J83

	Shape
	D   0.2

	Inlet elevation (m)
	890.500

	Outlet elevation (m)
	{886.500}

	Slope
	0.15081


C82

	Start node
	J83

	End node
	J84

	Shape
	D   0.2

	Inlet elevation (m)
	886.500

	Outlet elevation (m)
	{882.500}

	Slope
	0.10540


C83

	Start node
	J84

	End node
	J85

	Shape
	D   0.2

	Inlet elevation (m)
	882.500

	Outlet elevation (m)
	{878.500}

	Slope
	0.06166


C84

	Start node
	J85

	End node
	J86

	Shape
	D   0.2

	Inlet elevation (m)
	878.500

	Outlet elevation (m)
	{874.500}

	Slope
	0.15736


C85

	Start node
	J86

	End node
	J87

	Shape
	D   0.2

	Inlet elevation (m)
	874.500

	Outlet elevation (m)
	{870.500}

	Slope
	0.06353


C86

	Start node
	J87

	End node
	J88

	Shape
	D   0.2

	Inlet elevation (m)
	870.500

	Outlet elevation (m)
	{866.500}

	Slope
	0.07008


C87

	Start node
	J88

	End node
	J89

	Shape
	D   0.2

	Inlet elevation (m)
	866.500

	Outlet elevation (m)
	{862.500}

	Slope
	0.32501


C88

	Start node
	J89

	End node
	J90

	Shape
	D   0.2

	Inlet elevation (m)
	862.500

	Outlet elevation (m)
	{862.400}

	Slope
	0.00458


C89

	Start node
	J90

	End node
	J91

	Shape
	D   0.2

	Inlet elevation (m)
	862.400

	Outlet elevation (m)
	{858.500}

	Slope
	0.07962


C90

	Start node
	J91

	End node
	J92

	Shape
	D   0.2

	Inlet elevation (m)
	858.500

	Outlet elevation (m)
	{854.500}

	Slope
	0.18352


C91

	Start node
	J92

	End node
	J93

	Shape
	D   0.2

	Inlet elevation (m)
	854.500

	Outlet elevation (m)
	{850.500}

	Slope
	0.08803


C92

	Start node
	J93

	End node
	J94

	Shape
	D   0.2

	Inlet elevation (m)
	850.500

	Outlet elevation (m)
	{838.500}

	Slope
	0.06687


C93

	Start node
	J94

	End node
	J95

	Shape
	D   0.2

	Inlet elevation (m)
	838.500

	Outlet elevation (m)
	{834.500}

	Slope
	0.06599


C94

	Start node
	J95

	End node
	J96

	Shape
	D   0.2

	Inlet elevation (m)
	834.500

	Outlet elevation (m)
	{830.500}

	Slope
	0.07702


C95

	Start node
	J96

	End node
	J97

	Shape
	D   0.2

	Inlet elevation (m)
	830.500

	Outlet elevation (m)
	{830.400}

	Slope
	0.00582


C96

	Start node
	J97

	End node
	J98

	Shape
	D   0.2

	Inlet elevation (m)
	830.400

	Outlet elevation (m)
	{826.500}

	Slope
	0.09104


C97

	Start node
	J98

	End node
	J99

	Shape
	D   0.2

	Inlet elevation (m)
	826.500

	Outlet elevation (m)
	{822.500}

	Slope
	0.09042


C98

	Start node
	J99

	End node
	J100

	Shape
	D   0.2

	Inlet elevation (m)
	822.500

	Outlet elevation (m)
	{822.300}

	Slope
	0.00573


C99

	Start node
	J100

	End node
	J101

	Shape
	D   0.2

	Inlet elevation (m)
	822.300

	Outlet elevation (m)
	{798.500}

	Slope
	0.13109


C100

	Start node
	J101

	End node
	J102

	Shape
	D   0.2

	Inlet elevation (m)
	798.500

	Outlet elevation (m)
	{790.500}

	Slope
	0.07645


C101

	Start node
	J102

	End node
	J103

	Shape
	D   0.2

	Inlet elevation (m)
	790.500

	Outlet elevation (m)
	{786.500}

	Slope
	0.07055


C102

	Start node
	J103

	End node
	J104

	Shape
	D   0.2

	Inlet elevation (m)
	786.500

	Outlet elevation (m)
	{782.500}

	Slope
	0.09837


C103

	Start node
	J104

	End node
	J105

	Shape
	D   0.2

	Inlet elevation (m)
	782.500

	Outlet elevation (m)
	{782.400}

	Slope
	0.00524


C104

	Start node
	J105

	End node
	J106

	Shape
	D   0.2

	Inlet elevation (m)
	782.400

	Outlet elevation (m)
	{778.500}

	Slope
	0.20125


C105

	Start node
	J106

	End node
	J107

	Shape
	D   0.2

	Inlet elevation (m)
	778.500

	Outlet elevation (m)
	{774.500}

	Slope
	0.06532


C106

	Start node
	J107

	End node
	J108

	Shape
	D   0.2

	Inlet elevation (m)
	774.500

	Outlet elevation (m)
	{770.500}

	Slope
	0.11273


C107

	Start node
	J108

	End node
	J109

	Shape
	D   0.2

	Inlet elevation (m)
	770.500

	Outlet elevation (m)
	{770.400}

	Slope
	0.00518


C108

	Start node
	J109

	End node
	J110

	Shape
	D   0.2

	Inlet elevation (m)
	770.400

	Outlet elevation (m)
	{766.500}

	Slope
	0.26841


C109

	Start node
	J110

	End node
	J111

	Shape
	D   0.2

	Inlet elevation (m)
	766.500

	Outlet elevation (m)
	{766.400}

	Slope
	0.00615


C110

	Start node
	J111

	End node
	J112

	Shape
	D   0.2

	Inlet elevation (m)
	766.400

	Outlet elevation (m)
	{758.500}

	Slope
	0.07742


C111

	Start node
	J112

	End node
	J113

	Shape
	D   0.2

	Inlet elevation (m)
	758.500

	Outlet elevation (m)
	{754.500}

	Slope
	0.05382


C112

	Start node
	J113

	End node
	J114

	Shape
	D   0.2

	Inlet elevation (m)
	754.500

	Outlet elevation (m)
	{750.500}

	Slope
	0.12804


C113

	Start node
	J114

	End node
	A4

	Shape
	D   0.2

	Inlet elevation (m)
	750.500

	Outlet elevation (m)
	738.550

	Slope
	0.10475


C114

	Start node
	A4

	End node
	J115

	Shape
	D   0.25

	Inlet elevation (m)
	738.500

	Outlet elevation (m)
	{734.500}

	Slope
	0.06358


C115

	Start node
	J115

	End node
	J116

	Shape
	{D   0.25}

	Inlet elevation (m)
	734.500

	Outlet elevation (m)
	{734.130}

	Slope
	0.00253


C116

	Start node
	J116

	End node
	J117

	Shape
	{D   0.25}

	Inlet elevation (m)
	{734.130}

	Outlet elevation (m)
	{733.816}

	Slope
	0.00253


C117

	Start node
	J117

	End node
	J118

	Shape
	{D   0.25}

	Inlet elevation (m)
	{733.816}

	Outlet elevation (m)
	{733.624}

	Slope
	0.00253


C118

	Start node
	J118

	End node
	J119

	Shape
	{D   0.25}

	Inlet elevation (m)
	{733.624}

	Outlet elevation (m)
	{733.383}

	Slope
	0.00253


C119

	Start node
	J119

	End node
	J120

	Shape
	{D   0.25}

	Inlet elevation (m)
	{733.383}

	Outlet elevation (m)
	{733.271}

	Slope
	0.00253


C120

	Start node
	J120

	End node
	J121

	Shape
	{D   0.25}

	Inlet elevation (m)
	{733.271}

	Outlet elevation (m)
	{733.000}

	Slope
	0.00253


C121

	Start node
	J121

	End node
	J122

	Shape
	{D   0.25}

	Inlet elevation (m)
	733.000

	Outlet elevation (m)
	{730.500}

	Slope
	0.01567


C122

	Start node
	J122

	End node
	J123

	Shape
	{D   0.25}

	Inlet elevation (m)
	730.500

	Outlet elevation (m)
	{730.098}

	Slope
	0.00248


C123

	Start node
	J123

	End node
	J124

	Shape
	{D   0.25}

	Inlet elevation (m)
	{730.098}

	Outlet elevation (m)
	{729.967}

	Slope
	0.00248


C124

	Start node
	J124

	End node
	J125

	Shape
	{D   0.25}

	Inlet elevation (m)
	{729.967}

	Outlet elevation (m)
	{729.329}

	Slope
	0.00248


C125

	Start node
	J125

	End node
	J126

	Shape
	{D   0.25}

	Inlet elevation (m)
	{729.329}

	Outlet elevation (m)
	{729.000}

	Slope
	0.00248


C126

	Start node
	J126

	End node
	J127

	Shape
	{D   0.25}

	Inlet elevation (m)
	729.000

	Outlet elevation (m)
	{726.500}

	Slope
	0.00844


C127

	Start node
	J127

	End node
	J128

	Shape
	{D   0.25}

	Inlet elevation (m)
	726.500

	Outlet elevation (m)
	{726.382}

	Slope
	0.00159


C128

	Start node
	J128

	End node
	J129

	Shape
	{D   0.25}

	Inlet elevation (m)
	{726.382}

	Outlet elevation (m)
	{726.105}

	Slope
	0.00159


C129

	Start node
	J129

	End node
	J130

	Shape
	{D   0.25}

	Inlet elevation (m)
	{726.105}

	Outlet elevation (m)
	{725.998}

	Slope
	0.00159


C130

	Start node
	J130

	End node
	J131

	Shape
	{D   0.25}

	Inlet elevation (m)
	{725.998}

	Outlet elevation (m)
	{725.737}

	Slope
	0.00159


C131

	Start node
	J131

	End node
	J132

	Shape
	{D   0.25}

	Inlet elevation (m)
	{725.737}

	Outlet elevation (m)
	{725.598}

	Slope
	0.00159


C132

	Start node
	J132

	End node
	J133

	Shape
	{D   0.25}

	Inlet elevation (m)
	{725.598}

	Outlet elevation (m)
	{725.500}

	Slope
	0.00159


C133

	Start node
	J133

	End node
	A6

	Shape
	{D   0.25}

	Inlet elevation (m)
	725.500

	Outlet elevation (m)
	{718.500}

	Slope
	0.03689


C134

	Start node
	A6

	End node
	J135

	Shape
	{D   0.25}

	Inlet elevation (m)
	718.500

	Outlet elevation (m)
	{718.000}

	Slope
	0.01049


C135

	Start node
	J135

	End node
	J136

	Shape
	{D   0.25}

	Inlet elevation (m)
	718.000

	Outlet elevation (m)
	{714.500}

	Slope
	0.05601


C136

	Start node
	J136

	End node
	J137

	Shape
	{D   0.25}

	Inlet elevation (m)
	714.500

	Outlet elevation (m)
	{710.500}

	Slope
	0.08848


C137

	Start node
	J137

	End node
	J138

	Shape
	{D   0.25}

	Inlet elevation (m)
	710.500

	Outlet elevation (m)
	{702.500}

	Slope
	0.07622


C138

	Start node
	J138

	End node
	J139

	Shape
	{D   0.25}

	Inlet elevation (m)
	702.500

	Outlet elevation (m)
	{690.500}

	Slope
	0.08277


C139

	Start node
	J139

	End node
	J140

	Shape
	{D   0.25}

	Inlet elevation (m)
	690.500

	Outlet elevation (m)
	{686.500}

	Slope
	0.09535


C140

	Start node
	J140

	End node
	J141

	Shape
	{D   0.25}

	Inlet elevation (m)
	686.500

	Outlet elevation (m)
	{686.062}

	Slope
	0.00386


C141

	Start node
	J141

	End node
	J142

	Shape
	{D   0.25}

	Inlet elevation (m)
	{686.062}

	Outlet elevation (m)
	{685.939}

	Slope
	0.00386


C142

	Start node
	J142

	End node
	J143

	Shape
	{D   0.25}

	Inlet elevation (m)
	{685.939}

	Outlet elevation (m)
	{685.500}

	Slope
	0.00386


C143

	Start node
	J143

	End node
	J144

	Shape
	{D   0.25}

	Inlet elevation (m)
	685.500

	Outlet elevation (m)
	{682.500}

	Slope
	0.02798


C144

	Start node
	J144

	End node
	J145

	Shape
	{D   0.25}

	Inlet elevation (m)
	682.500

	Outlet elevation (m)
	{681.500}

	Slope
	0.00331


C145

	Start node
	J145

	End node
	A7

	Shape
	{D   0.25}

	Inlet elevation (m)
	681.500

	Outlet elevation (m)
	674.500

	Slope
	0.04623


Pipes Specifications

D   0.2

	Shape data

	Type
	Circular

	Diameter (m)
	0.2

	Material
	PVC

	Thickness (m)
	0.020

	Hydraulic data

	Manning coefficient
	0.0160

	Darcy-Weisbach coefficient
	0.0000

	Hazen-Williams coefficient
	0.0000

	Maximum capacity
	0.50

	Maximum velocity (m/s)
	3.00

	Construction


D   0.25

	Shape data

	Type
	Circular

	Diameter (m)
	0.25

	Material
	PVC

	Thickness (m)
	0.025

	Hydraulic data

	Manning coefficient
	0.0160

	Darcy-Weisbach coefficient
	0.0000

	Hazen-Williams coefficient
	0.0000

	Maximum capacity
	0.50

	Maximum velocity (m/s)
	3.00

	Construction


D   0.315

	Shape data

	Type
	Circular

	Diameter (m)
	0.315

	Material
	PVC

	Thickness (m)
	0.030

	Hydraulic data

	Manning coefficient
	0.0160

	Darcy-Weisbach coefficient
	0.0000

	Hazen-Williams coefficient
	0.0000

	Maximum capacity
	0.50

	Maximum velocity (m/s)
	3.00

	Construction


D   0.4

	Shape data

	Type
	Circular

	Diameter (m)
	0.4

	Material
	PVC

	Thickness (m)
	0.040

	Hydraulic data

	Manning coefficient
	0.0160

	Darcy-Weisbach coefficient
	0.0000

	Hazen-Williams coefficient
	0.0000

	Maximum capacity
	0.50

	Maximum velocity (m/s)
	3.00

	Construction


Inflows: Direct

Junction: A1

	Constituent
	Flow

	Baseline
	6.66

	Scale factor
	0


Junction: A3

	Constituent
	Flow

	Baseline
	2.75

	Scale factor
	0


Junction: A2

	Constituent
	Flow

	Baseline
	-1.11

	Scale factor
	0


Junction: A5

	Constituent
	Flow

	Baseline
	1.31

	Scale factor
	0


Junction: A4

	Constituent
	Flow

	Baseline
	-0.56

	Scale factor
	0


Junction: A6

	Constituent
	Flow

	Baseline
	3.22

	Scale factor
	0


Results

Node results

00:15 29/12/2008

	Node
	Depth (m)
	Head (m)
	Volume (m³)
	Lateral inflow (L/s)
	Total inflow (L/s)
	Flooding (L/s)

	A1
	0.044
	938.544
	0.000
	6.660
	6.660
	0.000

	J2
	0.044
	934.544
	0.000
	0.000
	6.660
	0.000

	J3
	0.041
	930.541
	0.000
	0.000
	6.660
	0.000

	J4
	0.094
	926.594
	0.000
	0.000
	6.660
	0.000

	J5
	0.094
	926.490
	0.000
	0.000
	6.660
	0.000

	J6
	0.094
	926.292
	0.000
	0.000
	6.660
	0.000

	J7
	0.094
	926.094
	0.000
	0.000
	6.660
	0.000

	J8
	0.046
	922.547
	0.000
	0.000
	6.660
	0.000

	J9
	0.045
	918.545
	0.000
	0.000
	6.660
	0.000

	J10
	0.040
	910.540
	0.000
	0.000
	6.660
	0.000

	J11
	0.038
	902.538
	0.000
	0.000
	6.660
	0.000

	J12
	0.085
	898.585
	0.000
	0.000
	6.660
	0.000

	J13
	0.085
	898.498
	0.000
	0.000
	6.660
	0.000

	J14
	0.085
	898.189
	0.000
	0.000
	6.660
	0.000

	J15
	0.085
	898.085
	0.000
	0.000
	6.660
	0.000

	J16
	0.046
	894.546
	0.000
	0.000
	6.660
	0.000

	J17
	0.042
	886.542
	0.000
	0.000
	6.660
	0.000

	J18
	0.044
	882.544
	0.000
	0.000
	6.660
	0.000

	J19
	0.064
	878.764
	0.000
	0.000
	6.660
	0.000

	J20
	0.064
	878.362
	0.000
	0.000
	6.660
	0.000

	J21
	0.064
	878.064
	0.000
	0.000
	6.660
	0.000

	J22
	0.040
	870.540
	0.000
	0.000
	6.660
	0.000

	J23
	0.040
	866.540
	0.000
	0.000
	6.660
	0.000

	J24
	0.044
	862.544
	0.000
	0.000
	6.660
	0.000

	J25
	0.044
	858.544
	0.000
	0.000
	6.660
	0.000

	J26
	0.040
	854.540
	0.000
	0.000
	6.660
	0.000

	J27
	0.039
	846.539
	0.000
	0.000
	6.660
	0.000

	J28
	0.045
	842.545
	0.000
	0.000
	6.660
	0.000

	J29
	0.063
	838.563
	0.000
	0.000
	6.660
	0.000

	J30
	0.063
	838.063
	0.000
	0.000
	6.660
	0.000

	J31
	0.044
	830.544
	0.000
	0.000
	6.660
	0.000

	J32
	0.044
	826.544
	0.000
	0.000
	6.660
	0.000

	J33
	0.042
	818.542
	0.000
	0.000
	6.660
	0.000

	A2
	0.099
	810.599
	0.000
	-1.110
	8.300
	0.000

	A3
	0.026
	854.526
	0.000
	2.750
	2.750
	0.000

	J36
	0.027
	850.527
	0.000
	0.000
	2.750
	0.000

	J37
	0.029
	842.529
	0.000
	0.000
	2.750
	0.000

	J38
	0.035
	838.535
	0.000
	0.000
	2.750
	0.000

	J39
	0.035
	830.535
	0.000
	0.000
	2.750
	0.000

	J40
	0.024
	826.524
	0.000
	0.000
	2.750
	0.000

	J41
	0.099
	810.399
	0.000
	0.000
	8.300
	0.000

	J42
	0.061
	806.561
	0.000
	0.000
	8.300
	0.000

	J43
	0.043
	802.543
	0.000
	0.000
	8.300
	0.000

	J44
	0.046
	798.546
	0.000
	0.000
	8.300
	0.000

	J45
	0.050
	794.550
	0.000
	0.000
	8.300
	0.000

	J46
	0.050
	778.550
	0.000
	0.000
	8.300
	0.000

	J47
	0.053
	770.553
	0.000
	0.000
	8.300
	0.000

	J48
	0.053
	766.553
	0.000
	0.000
	8.300
	0.000

	J49
	0.051
	762.551
	0.000
	0.000
	8.300
	0.000

	J50
	0.051
	754.551
	0.000
	0.000
	8.300
	0.000

	J51
	0.046
	750.546
	0.000
	0.000
	8.300
	0.000

	A4
	0.067
	738.567
	0.000
	-0.560
	9.050
	0.000

	A5
	0.017
	1098.517
	0.000
	1.310
	1.310
	0.000

	J54
	0.017
	1078.517
	0.000
	0.000
	1.310
	0.000

	J55
	0.024
	1058.524
	0.000
	0.000
	1.310
	0.000

	J56
	0.024
	1054.524
	0.000
	0.000
	1.310
	0.000

	J57
	0.020
	1038.520
	0.000
	0.000
	1.310
	0.000

	J58
	0.020
	1034.520
	0.000
	0.000
	1.310
	0.000

	J59
	0.017
	1018.517
	0.000
	0.000
	1.310
	0.000

	J60
	0.025
	990.525
	0.000
	0.000
	1.310
	0.000

	J61
	0.025
	988.525
	0.000
	0.000
	1.310
	0.000

	J62
	0.038
	978.538
	0.000
	0.000
	1.310
	0.000

	J63
	0.038
	978.338
	0.000
	0.000
	1.310
	0.000

	J64
	0.044
	970.544
	0.000
	0.000
	1.310
	0.000

	J65
	0.044
	970.344
	0.000
	0.000
	1.310
	0.000

	J66
	0.039
	966.539
	0.000
	0.000
	1.310
	0.000

	J67
	0.039
	966.325
	0.000
	0.000
	1.310
	0.000

	J68
	0.039
	966.186
	0.000
	0.000
	1.310
	0.000

	J69
	0.039
	966.039
	0.000
	0.000
	1.310
	0.000

	J70
	0.023
	962.523
	0.000
	0.000
	1.310
	0.000

	J71
	0.019
	958.519
	0.000
	0.000
	1.310
	0.000

	J72
	0.042
	938.542
	0.000
	0.000
	1.310
	0.000

	J73
	0.042
	938.242
	0.000
	0.000
	1.310
	0.000

	J74
	0.017
	922.517
	0.000
	0.000
	1.310
	0.000

	J75
	0.033
	914.533
	0.000
	0.000
	1.310
	0.000

	J76
	0.033
	914.433
	0.000
	0.000
	1.310
	0.000

	J77
	0.019
	910.519
	0.000
	0.000
	1.310
	0.000

	J78
	0.019
	902.519
	0.000
	0.000
	1.310
	0.000

	J79
	0.016
	898.516
	0.000
	0.000
	1.310
	0.000

	J80
	0.035
	894.535
	0.000
	0.000
	1.310
	0.000

	J81
	0.035
	894.235
	0.000
	0.000
	1.310
	0.000

	J82
	0.016
	890.516
	0.000
	0.000
	1.310
	0.000

	J83
	0.017
	886.517
	0.000
	0.000
	1.310
	0.000

	J84
	0.020
	882.520
	0.000
	0.000
	1.310
	0.000

	J85
	0.020
	878.520
	0.000
	0.000
	1.310
	0.000

	J86
	0.020
	874.520
	0.000
	0.000
	1.310
	0.000

	J87
	0.020
	870.520
	0.000
	0.000
	1.310
	0.000

	J88
	0.019
	866.519
	0.000
	0.000
	1.310
	0.000

	J89
	0.036
	862.536
	0.000
	0.000
	1.310
	0.000

	J90
	0.036
	862.436
	0.000
	0.000
	1.310
	0.000

	J91
	0.019
	858.519
	0.000
	0.000
	1.310
	0.000

	J92
	0.018
	854.518
	0.000
	0.000
	1.310
	0.000

	J93
	0.019
	850.519
	0.000
	0.000
	1.310
	0.000

	J94
	0.020
	838.520
	0.000
	0.000
	1.310
	0.000

	J95
	0.020
	834.520
	0.000
	0.000
	1.310
	0.000

	J96
	0.035
	830.535
	0.000
	0.000
	1.310
	0.000

	J97
	0.035
	830.435
	0.000
	0.000
	1.310
	0.000

	J98
	0.018
	826.518
	0.000
	0.000
	1.310
	0.000

	J99
	0.035
	822.535
	0.000
	0.000
	1.310
	0.000

	J100
	0.035
	822.335
	0.000
	0.000
	1.310
	0.000

	J101
	0.019
	798.519
	0.000
	0.000
	1.310
	0.000

	J102
	0.019
	790.519
	0.000
	0.000
	1.310
	0.000

	J103
	0.019
	786.519
	0.000
	0.000
	1.310
	0.000

	J104
	0.036
	782.536
	0.000
	0.000
	1.310
	0.000

	J105
	0.036
	782.436
	0.000
	0.000
	1.310
	0.000

	J106
	0.020
	778.520
	0.000
	0.000
	1.310
	0.000

	J107
	0.020
	774.520
	0.000
	0.000
	1.310
	0.000

	J108
	0.036
	770.536
	0.000
	0.000
	1.310
	0.000

	J109
	0.036
	770.436
	0.000
	0.000
	1.310
	0.000

	J110
	0.034
	766.534
	0.000
	0.000
	1.310
	0.000

	J111
	0.034
	766.434
	0.000
	0.000
	1.310
	0.000

	J112
	0.021
	758.521
	0.000
	0.000
	1.310
	0.000

	J113
	0.021
	754.521
	0.000
	0.000
	1.310
	0.000

	J114
	0.017
	750.517
	0.000
	0.000
	1.310
	0.000

	J115
	0.106
	734.606
	0.000
	0.000
	9.050
	0.000

	J116
	0.106
	734.236
	0.000
	0.000
	9.050
	0.000

	J117
	0.106
	733.922
	0.000
	0.000
	9.050
	0.000

	J118
	0.106
	733.730
	0.000
	0.000
	9.050
	0.000

	J119
	0.106
	733.489
	0.000
	0.000
	9.050
	0.000

	J120
	0.106
	733.377
	0.000
	0.000
	9.050
	0.000

	J121
	0.106
	733.106
	0.000
	0.000
	9.050
	0.000

	J122
	0.106
	730.606
	0.000
	0.000
	9.050
	0.000

	J123
	0.106
	730.204
	0.000
	0.000
	9.050
	0.000

	J124
	0.106
	730.073
	0.000
	0.000
	9.050
	0.000

	J125
	0.106
	729.435
	0.000
	0.000
	9.050
	0.000

	J126
	0.106
	729.106
	0.000
	0.000
	9.050
	0.000

	J127
	0.121
	726.621
	0.000
	0.000
	9.050
	0.000

	J128
	0.121
	726.503
	0.000
	0.000
	9.050
	0.000

	J129
	0.121
	726.226
	0.000
	0.000
	9.050
	0.000

	J130
	0.121
	726.119
	0.000
	0.000
	9.050
	0.000

	J131
	0.121
	725.858
	0.000
	0.000
	9.050
	0.000

	J132
	0.121
	725.719
	0.000
	0.000
	9.050
	0.000

	J133
	0.121
	725.621
	0.000
	0.000
	9.050
	0.000

	A6
	0.085
	718.585
	0.000
	3.220
	12.270
	0.000

	J135
	0.085
	718.085
	0.000
	0.000
	12.270
	0.000

	J136
	0.055
	714.555
	0.000
	0.000
	12.270
	0.000

	J137
	0.051
	710.551
	0.000
	0.000
	12.270
	0.000

	J138
	0.051
	702.551
	0.000
	0.000
	12.270
	0.000

	J139
	0.050
	690.550
	0.000
	0.000
	12.270
	0.000

	J140
	0.111
	686.611
	0.000
	0.000
	12.270
	0.000

	J141
	0.112
	686.174
	0.000
	0.000
	12.270
	0.000

	J142
	0.112
	686.051
	0.000
	0.000
	12.270
	0.000

	J143
	0.111
	685.611
	0.000
	0.000
	12.270
	0.000

	J144
	0.116
	682.616
	0.000
	0.000
	12.270
	0.000

	J145
	0.116
	681.616
	0.000
	0.000
	12.270
	0.000

	A7
	1.500
	676.000
	0.000
	0.000
	12.270
	0.000


Link results

00:15 29/12/2008

	Link
	Flow rate L/s
	Flow depth (m)
	Velocity (m/s)
	Froude
	Capacity

	C1
	6.660
	0.044
	1.15
	2.10
	0.18

	C2
	6.660
	0.037
	1.46
	2.91
	0.15

	C3
	6.660
	0.041
	1.27
	2.41
	0.16

	C4
	6.660
	0.094
	0.39
	0.47
	0.38

	C5
	6.660
	0.094
	0.39
	0.47
	0.38

	C6
	6.660
	0.094
	0.39
	0.47
	0.38

	C7
	6.660
	0.046
	1.06
	1.88
	0.19

	C8
	6.660
	0.045
	1.11
	2.00
	0.18

	C9
	6.660
	0.040
	1.30
	2.47
	0.16

	C10
	6.660
	0.038
	1.40
	2.74
	0.15

	C11
	6.660
	0.032
	1.83
	3.95
	0.13

	C12
	6.660
	0.085
	0.45
	0.58
	0.34

	C13
	6.660
	0.085
	0.45
	0.58
	0.34

	C14
	6.660
	0.085
	0.45
	0.58
	0.34

	C15
	6.660
	0.046
	1.08
	1.94
	0.18

	C16
	6.660
	0.042
	1.21
	2.26
	0.17

	C17
	6.660
	0.039
	1.36
	2.63
	0.16

	C18
	6.660
	0.044
	1.13
	2.06
	0.18

	C19
	6.660
	0.064
	0.66
	0.99
	0.26

	C20
	6.660
	0.064
	0.66
	0.99
	0.26

	C21
	6.660
	0.036
	1.51
	3.05
	0.15

	C22
	6.660
	0.040
	1.31
	2.51
	0.16

	C23
	6.660
	0.037
	1.48
	2.95
	0.15

	C24
	6.660
	0.044
	1.13
	2.04
	0.18

	C25
	6.660
	0.040
	1.31
	2.52
	0.16

	C26
	6.660
	0.037
	1.46
	2.92
	0.15

	C27
	6.660
	0.039
	1.37
	2.66
	0.16

	C28
	6.660
	0.045
	1.11
	1.99
	0.18

	C29
	6.660
	0.063
	0.69
	1.03
	0.25

	C30
	6.660
	0.044
	1.13
	2.05
	0.18

	C31
	6.660
	0.044
	1.13
	2.06
	0.18

	C32
	6.660
	0.042
	1.21
	2.26
	0.17

	C33
	6.660
	0.042
	1.23
	2.30
	0.17

	C34
	2.750
	0.026
	1.14
	2.73
	0.13

	C35
	2.750
	0.027
	1.11
	2.61
	0.13

	C36
	2.750
	0.029
	0.97
	2.19
	0.15

	C37
	2.750
	0.035
	0.76
	1.55
	0.17

	C38
	2.750
	0.023
	1.38
	3.51
	0.11

	C39
	2.750
	0.024
	1.26
	3.12
	0.12

	C40
	8.300
	0.099
	0.46
	0.54
	0.39

	C41
	8.300
	0.061
	0.90
	1.38
	0.24

	C42
	8.300
	0.042
	1.53
	2.86
	0.17

	C43
	8.300
	0.043
	1.45
	2.67
	0.17

	C44
	8.300
	0.046
	1.33
	2.37
	0.18

	C45
	8.300
	0.050
	1.19
	2.03
	0.20

	C46
	8.300
	0.045
	1.38
	2.50
	0.18

	C47
	8.300
	0.053
	1.09
	1.80
	0.21

	C48
	8.300
	0.042
	1.54
	2.90
	0.17

	C49
	8.300
	0.051
	1.15
	1.95
	0.20

	C50
	8.300
	0.046
	1.33
	2.37
	0.18

	C51
	8.300
	0.041
	1.58
	2.99
	0.16

	C52
	1.310
	0.017
	0.99
	2.89
	0.09

	C53
	1.310
	0.017
	1.05
	3.15
	0.08

	C54
	1.310
	0.024
	0.63
	1.58
	0.12

	C55
	1.310
	0.020
	0.83
	2.28
	0.10

	C56
	1.310
	0.020
	0.80
	2.19
	0.10

	C57
	1.310
	0.017
	1.00
	2.95
	0.09

	C58
	1.310
	0.014
	1.31
	4.24
	0.07

	C59
	1.310
	0.025
	0.57
	1.37
	0.13

	C60
	1.310
	0.021
	0.74
	1.97
	0.11

	C61
	1.310
	0.038
	0.32
	0.63
	0.19

	C62
	1.310
	0.019
	0.88
	2.46
	0.09

	C63
	1.310
	0.044
	0.26
	0.47
	0.22

	C64
	1.310
	0.019
	0.84
	2.35
	0.10

	C65
	1.310
	0.039
	0.30
	0.57
	0.20

	C66
	1.310
	0.039
	0.30
	0.57
	0.20

	C67
	1.310
	0.039
	0.30
	0.57
	0.20

	C68
	1.310
	0.023
	0.67
	1.70
	0.11

	C69
	1.310
	0.019
	0.87
	2.45
	0.09

	C70
	1.310
	0.014
	1.40
	4.63
	0.07

	C71
	1.310
	0.042
	0.27
	0.51
	0.21

	C72
	1.310
	0.013
	1.47
	4.94
	0.07

	C73
	1.310
	0.017
	1.05
	3.16
	0.08

	C74
	1.310
	0.033
	0.38
	0.81
	0.17

	C75
	1.310
	0.013
	1.54
	5.27
	0.06

	C76
	1.310
	0.019
	0.85
	2.38
	0.10

	C77
	1.310
	0.016
	1.07
	3.24
	0.08

	C78
	1.310
	0.015
	1.21
	3.79
	0.08

	C79
	1.310
	0.035
	0.36
	0.74
	0.17

	C80
	1.310
	0.015
	1.19
	3.71
	0.08

	C81
	1.310
	0.016
	1.14
	3.53
	0.08

	C82
	1.310
	0.017
	1.00
	2.94
	0.09

	C83
	1.310
	0.020
	0.80
	2.20
	0.10

	C84
	1.310
	0.016
	1.16
	3.60
	0.08

	C85
	1.310
	0.020
	0.81
	2.24
	0.10

	C86
	1.310
	0.019
	0.85
	2.36
	0.10

	C87
	1.310
	0.013
	1.51
	5.12
	0.06

	C88
	1.310
	0.036
	0.33
	0.67
	0.18

	C89
	1.310
	0.019
	0.89
	2.53
	0.09

	C90
	1.310
	0.015
	1.22
	3.86
	0.07

	C91
	1.310
	0.018
	0.93
	2.67
	0.09

	C92
	1.310
	0.019
	0.83
	2.30
	0.10

	C93
	1.310
	0.020
	0.83
	2.28
	0.10

	C94
	1.310
	0.019
	0.88
	2.48
	0.09

	C95
	1.310
	0.035
	0.36
	0.74
	0.17

	C96
	1.310
	0.018
	0.94
	2.72
	0.09

	C97
	1.310
	0.018
	0.94
	2.71
	0.09

	C98
	1.310
	0.035
	0.36
	0.74
	0.17

	C99
	1.310
	0.016
	1.09
	3.30
	0.08

	C100
	1.310
	0.019
	0.88
	2.47
	0.09

	C101
	1.310
	0.019
	0.85
	2.37
	0.10

	C102
	1.310
	0.018
	0.97
	2.83
	0.09

	C103
	1.310
	0.036
	0.35
	0.70
	0.18

	C104
	1.310
	0.015
	1.26
	4.03
	0.07

	C105
	1.310
	0.020
	0.82
	2.27
	0.10

	C106
	1.310
	0.017
	1.03
	3.06
	0.08

	C107
	1.310
	0.036
	0.34
	0.70
	0.18

	C108
	1.310
	0.014
	1.40
	4.63
	0.07

	C109
	1.310
	0.034
	0.37
	0.76
	0.17

	C110
	1.310
	0.019
	0.88
	2.49
	0.09

	C111
	1.310
	0.021
	0.76
	2.02
	0.10

	C112
	1.310
	0.016
	1.08
	3.26
	0.08

	C113
	1.310
	0.017
	1.00
	2.93
	0.09

	C114
	9.050
	0.046
	1.46
	2.60
	0.18

	C115
	9.050
	0.106
	0.46
	0.52
	0.42

	C116
	9.050
	0.106
	0.46
	0.52
	0.42

	C117
	9.050
	0.106
	0.46
	0.52
	0.42

	C118
	9.050
	0.106
	0.46
	0.52
	0.42

	C119
	9.050
	0.106
	0.46
	0.52
	0.42

	C120
	9.050
	0.106
	0.46
	0.52
	0.42

	C121
	9.050
	0.065
	0.89
	1.31
	0.26

	C122
	9.050
	0.106
	0.46
	0.51
	0.42

	C123
	9.050
	0.106
	0.45
	0.51
	0.43

	C124
	9.050
	0.106
	0.46
	0.51
	0.42

	C125
	9.050
	0.106
	0.46
	0.51
	0.42

	C126
	9.050
	0.077
	0.71
	0.96
	0.31

	C127
	9.050
	0.121
	0.39
	0.40
	0.48

	C128
	9.050
	0.121
	0.39
	0.40
	0.48

	C129
	9.050
	0.121
	0.39
	0.40
	0.48

	C130
	9.050
	0.121
	0.39
	0.40
	0.48

	C131
	9.050
	0.121
	0.39
	0.40
	0.48

	C132
	9.050
	0.121
	0.39
	0.40
	0.48

	C133
	9.050
	0.053
	1.20
	1.99
	0.21

	C134
	12.270
	0.085
	0.83
	1.07
	0.34

	C135
	12.270
	0.055
	1.52
	2.46
	0.22

	C136
	12.270
	0.049
	1.79
	3.08
	0.20

	C137
	12.270
	0.051
	1.70
	2.87
	0.20

	C138
	12.270
	0.050
	1.75
	2.98
	0.20

	C139
	12.270
	0.048
	1.84
	3.20
	0.19

	C140
	12.270
	0.111
	0.58
	0.64
	0.45

	C141
	12.270
	0.112
	0.58
	0.63
	0.45

	C142
	12.270
	0.111
	0.58
	0.64
	0.45

	C143
	12.270
	0.066
	1.19
	1.75
	0.26

	C144
	12.270
	0.116
	0.55
	0.58
	0.47

	C145
	12.270
	0.058
	1.41
	2.23
	0.23


System results

	Date
	Temperature (°C)
	Rainfall (mm/h)
	Snow depth (mm)
	Losses (mm/h)
	Runoff (L/s)

	00:15 29/12/2008
	0.0
	0.00
	0.00
	0.00
	0.000


	Date
	Dry weather inflow (L/s)
	Groundwater inflow (L/s)
	RDII inflow (L/s)
	Direct inflow (L/s)
	Total inflow (L/s)

	00:15 29/12/2008
	0.000
	0.000
	0.000
	12.270
	12.270


	Date
	Flooding (L/s)
	Outfalls (L/s)
	Stored (m³)

	00:15 29/12/2008
	0.000
	12.270
	106.724


[image: image2.png]AN W

Orkﬂ 0



  Sewer Networks - Calculations Report
Page: 73/7

[image: image2.png]