Ύδρευση Οικισμού

	Water Networks v8.0 - Calculations Report
[image: image1.png]AN W

Orkﬂ 0




Copyright ©1996-2009 TechnoLogismiki

www.technologismiki.com


Contents
3Project information


3Pipes Specifications


3D63


3D90


4D110


4D125


5D160


5D200


6Nodes


9Tanks


9Pipes


12Pumps


13Valves


13Energy


13Status


13Reactions


13Mixing


13General options


14Times


14Coordinates


17Background


17Results


17Time instant :01/01/2009 - 00:00:00


17Junctions


20Pipes


23Tanks


24Pumps




Project information

	Project title
	Ύδρευση Οικισμού

	Firm
	Γιώργος Οικονόμου

	Project file
	C:\Temp\ROGDIA-YDREYSH.m511

	Date and time:
	24/03/2009 15:36


Pipes Specifications

D63

	Shape data

	Type
	Circular

	Inner diameter (m)
	0.055

	Barrels
	1

	Available quantity
	Unlimited

	Material
	HDPE

	Thickness (m)
	0.010

	Hydraulics

	Manning coefficient
	0.0000

	Darcy-Weisbach coefficient
	0.0006

	Hazen-Williams coefficient
	0.0000

	Minimum velocity (m/s)
	0.50

	Maximum velocity (m/s)
	1.50

	Pipe class
	10 atm

	Minimum pressure (m)
	15.00

	Maximum pressure (m)
	60.00

	Max. pressure increase (hammer) (%)
	0.0000


D90

	Shape data

	Type
	Circular

	Inner diameter (m)
	0.079

	Barrels
	1

	Available quantity
	Unlimited

	Material
	HDPE

	Thickness (m)
	0.010

	Hydraulics

	Manning coefficient
	0.0000

	Darcy-Weisbach coefficient
	0.0006

	Hazen-Williams coefficient
	0.0000

	Minimum velocity (m/s)
	0.50

	Maximum velocity (m/s)
	1.50

	Pipe class
	10 atm

	Minimum pressure (m)
	15.00

	Maximum pressure (m)
	60.00

	Max. pressure increase (hammer) (%)
	0.0000


D110

	Shape data

	Type
	Circular

	Inner diameter (m)
	0.1

	Barrels
	1

	Available quantity
	Unlimited

	Material
	HDPE

	Thickness (m)
	0.010

	Hydraulics

	Manning coefficient
	0.0000

	Darcy-Weisbach coefficient
	0.0006

	Hazen-Williams coefficient
	0.0000

	Minimum velocity (m/s)
	0.50

	Maximum velocity (m/s)
	1.50

	Pipe class
	10 atm

	Minimum pressure (m)
	15.00

	Maximum pressure (m)
	60.00

	Max. pressure increase (hammer) (%)
	0.0000


D125

	Shape data

	Type
	Circular

	Inner diameter (m)
	0.11

	Barrels
	1

	Available quantity
	Unlimited

	Material
	HDPE

	Thickness (m)
	0.010

	Hydraulics

	Manning coefficient
	0.0000

	Darcy-Weisbach coefficient
	0.0006

	Hazen-Williams coefficient
	0.0000

	Minimum velocity (m/s)
	0.50

	Maximum velocity (m/s)
	1.50

	Pipe class
	10 atm

	Minimum pressure (m)
	15.00

	Maximum pressure (m)
	60.00

	Max. pressure increase (hammer) (%)
	0.0000


D160

	Shape data

	Type
	Circular

	Inner diameter (m)
	0.141

	Barrels
	1

	Available quantity
	Unlimited

	Material
	HDPE

	Thickness (m)
	0.010

	Hydraulics

	Manning coefficient
	0.0000

	Darcy-Weisbach coefficient
	0.0006

	Hazen-Williams coefficient
	0.0000

	Minimum velocity (m/s)
	0.50

	Maximum velocity (m/s)
	1.50

	Pipe class
	10 atm

	Minimum pressure (m)
	15.00

	Maximum pressure (m)
	60.00

	Max. pressure increase (hammer) (%)
	0.0000


D200

	Shape data

	Type
	Circular

	Inner diameter (m)
	0.18

	Barrels
	1

	Available quantity
	Unlimited

	Material
	HDPE

	Thickness (m)
	0.010

	Hydraulics

	Manning coefficient
	0.0000

	Darcy-Weisbach coefficient
	0.0006

	Hazen-Williams coefficient
	0.0000

	Minimum velocity (m/s)
	0.50

	Maximum velocity (m/s)
	1.50

	Pipe class
	10 atm

	Minimum pressure (m)
	15.00

	Maximum pressure (m)
	60.00

	Max. pressure increase (hammer) (%)
	0.0000


Nodes

	Name
	Axis elevation (m)
	Demand (L/s)
	Demand curve
	Description

	N1
	298.530
	0.09
	(No Curve)
	

	N101
	326.630
	0.15
	(No Curve)
	

	N106
	318.060
	0.15
	(No Curve)
	

	N107
	304.900
	0.25
	(No Curve)
	

	N109
	317.900
	0.12
	(No Curve)
	

	N115
	295.040
	0.11
	(No Curve)
	

	N117
	295.300
	0.10
	(No Curve)
	

	N118
	296.190
	0.16
	(No Curve)
	

	N12
	343.120
	1.04
	(No Curve)
	

	N120
	309.910
	0.11
	(No Curve)
	

	N121
	311.650
	0.17
	(No Curve)
	

	N123
	311.360
	0.05
	(No Curve)
	

	N125
	289.520
	0.09
	(No Curve)
	

	N127
	291.830
	0.09
	(No Curve)
	

	N128
	285.410
	0.13
	(No Curve)
	

	N129
	282.700
	0.10
	(No Curve)
	

	N132
	295.920
	0.10
	(No Curve)
	

	N133
	295.670
	0.16
	(No Curve)
	

	N135
	300.480
	0.14
	(No Curve)
	

	N136
	318.220
	0.08
	(No Curve)
	

	N137
	316.550
	0.13
	(No Curve)
	

	N138
	318.400
	0.10
	(No Curve)
	

	N139
	328.500
	0.22
	(No Curve)
	

	N143
	312.700
	0.01
	(No Curve)
	

	N146
	306.070
	0.12
	(No Curve)
	

	N150
	305.970
	0.03
	(No Curve)
	

	N151
	305.720
	0.15
	(No Curve)
	

	N154
	308.360
	0.13
	(No Curve)
	

	N158
	312.660
	0.12
	(No Curve)
	

	N159
	321.400
	0.13
	(No Curve)
	

	N161
	316.850
	0.12
	(No Curve)
	

	N162
	321.220
	0.15
	(No Curve)
	

	N163
	305.860
	0.13
	(No Curve)
	

	N164
	292.340
	0.03
	(No Curve)
	

	N165
	292.280
	0.13
	(No Curve)
	

	N167
	302.700
	0.18
	(No Curve)
	

	N168
	295.550
	0.05
	(No Curve)
	

	N174
	290.330
	0.06
	(No Curve)
	

	N176
	284.900
	0.19
	(No Curve)
	

	N177
	298.580
	0.10
	(No Curve)
	

	N178
	298.300
	0.09
	(No Curve)
	

	N18
	310.440
	0.44
	(No Curve)
	

	N182
	304.820
	0.15
	(No Curve)
	

	N183
	285.400
	0.12
	(No Curve)
	

	N185
	289.530
	0.05
	(No Curve)
	

	N186
	291.680
	0.12
	(No Curve)
	

	N189
	295.530
	0.07
	(No Curve)
	

	N190
	294.490
	0.04
	(No Curve)
	

	N192
	297.900
	0.06
	(No Curve)
	

	N195
	304.540
	0.17
	(No Curve)
	

	N197
	299.020
	0.11
	(No Curve)
	

	N20
	318.990
	0.34
	(No Curve)
	

	N202
	308.910
	0.18
	(No Curve)
	

	N203
	316.050
	0.06
	(No Curve)
	

	N205
	304.470
	0.17
	(No Curve)
	

	N207
	297.300
	0.22
	(No Curve)
	

	N208
	289.950
	0.20
	(No Curve)
	

	N209
	300.300
	0.06
	(No Curve)
	

	N210
	291.950
	0.01
	(No Curve)
	

	N212
	286.600
	0.36
	(No Curve)
	

	N215
	284.600
	0.60
	(No Curve)
	

	N218
	277.700
	0.19
	(No Curve)
	

	N22
	298.950
	0.29
	(No Curve)
	

	N221
	272.000
	0.21
	(No Curve)
	

	N223
	295.290
	0.08
	(No Curve)
	

	N224
	284.910
	0.05
	(No Curve)
	

	N233
	264.780
	0.26
	(No Curve)
	

	N239
	329.140
	0.13
	(No Curve)
	

	N24
	292.250
	0.25
	(No Curve)
	

	N240
	265.400
	0.20
	(No Curve)
	

	N241
	318.200
	0.36
	(No Curve)
	

	N26
	297.080
	0.30
	(No Curve)
	

	N28
	287.700
	0.16
	(No Curve)
	

	N3
	335.490
	0.24
	(No Curve)
	

	N30
	295.280
	0.12
	(No Curve)
	

	N34
	280.510
	0.13
	(No Curve)
	

	N36
	290.500
	0.09
	(No Curve)
	

	N38
	295.580
	0.11
	(No Curve)
	

	N39
	297.800
	0.14
	(No Curve)
	

	N4
	329.140
	1.41
	(No Curve)
	

	N40
	295.280
	0.09
	(No Curve)
	

	N41
	277.700
	0.15
	(No Curve)
	

	N43
	333.600
	1.28
	(No Curve)
	

	N44
	331.880
	0.07
	(No Curve)
	

	N45
	298.600
	0.11
	(No Curve)
	

	N48
	241.350
	0.15
	(No Curve)
	

	N5
	334.240
	0.08
	(No Curve)
	

	N51
	250.100
	0.18
	(No Curve)
	

	N53
	277.750
	0.14
	(No Curve)
	

	N55
	264.500
	0.14
	(No Curve)
	

	N57
	256.600
	0.79
	(No Curve)
	

	N61
	254.400
	0.06
	(No Curve)
	

	N63
	264.290
	0.14
	(No Curve)
	

	N65
	259.832
	0.16
	(No Curve)
	

	N67
	271.300
	0.30
	(No Curve)
	

	N68
	288.980
	0.22
	(No Curve)
	

	N70
	305.300
	0.16
	(No Curve)
	

	N71
	290.520
	0.12
	(No Curve)
	

	N73
	327.220
	0.54
	(No Curve)
	

	N75
	317.060
	0.02
	(No Curve)
	

	N77
	310.700
	0.11
	(No Curve)
	

	N78
	319.260
	0.21
	(No Curve)
	

	N80
	305.270
	0.15
	(No Curve)
	

	N82
	283.150
	0.19
	(No Curve)
	

	N84
	292.400
	0.27
	(No Curve)
	

	N86
	279.900
	0.15
	(No Curve)
	

	N9
	340.850
	0.19
	(No Curve)
	

	N93
	275.250
	1.07
	(No Curve)
	

	N95
	287.350
	0.13
	(No Curve)
	

	N98
	277.940
	0.69
	(No Curve)
	


Tanks

	Name
	Ground elevation (m)
	Initial level (m)
	Minimum level (m)
	Maximum level (m)
	Tank diameter (m)
	Minimum volume (m³)
	Volume curve

	N100
	335.600
	0.000
	0.000
	0.000
	0.000
	0.000
	(No Curve)


Pipes

	Name
	Start node
	End node
	Length (m)
	Pipe specification
	Initial status

	P1
	N1
	N212
	57.262
	D63
	Open

	P100
	N107
	N84
	47.114
	D63
	Open

	P102
	N106
	N109
	23.185
	D160
	Open

	P103
	N106
	N107
	59.048
	D63
	Open

	P109
	N84
	N115
	38.869
	D90
	Open

	P111
	N95
	N115
	24.864
	D63
	Open

	P113
	N117
	N115
	7.127
	D90
	Open

	P114
	N117
	N118
	11.303
	D90
	Open

	P115
	N117
	N120
	47.498
	D63
	Open

	P116
	N120
	N121
	15.596
	D63
	Open

	P118
	N123
	N120
	14.639
	D63
	Open

	P12
	N4
	N20
	124.994
	D90
	Open

	P120
	N95
	N125
	23.851
	D63
	Open

	P122
	N125
	N128
	33.155
	D63
	Open

	P123
	N127
	N125
	7.972
	D63
	Open

	P125
	N128
	N129
	24.547
	D90
	Open

	P126
	N127
	N128
	33.395
	D90
	Open

	P128
	N118
	N127
	21.776
	D90
	Open

	P129
	N132
	N118
	38.641
	D63
	Open

	P131
	N132
	N133
	34.700
	D63
	Open

	P132
	N118
	N135
	38.081
	D63
	Open

	P135
	N136
	N137
	18.795
	D125
	Open

	P136
	N136
	N138
	21.911
	D125
	Open

	P137
	N139
	N138
	43.963
	D63
	Open

	P138
	N138
	N109
	5.775
	D160
	Open

	P139
	N109
	N121
	58.779
	D90
	Open

	P142
	N121
	N146
	38.123
	D63
	Open

	P143
	N143
	N121
	7.421
	D63
	Open

	P147
	N146
	N135
	31.421
	D63
	Open

	P150
	N135
	N133
	27.397
	D63
	Open

	P152
	N150
	N151
	22.770
	D63
	Open

	P153
	N154
	N151
	35.077
	D63
	Open

	P156
	N146
	N154
	12.719
	D63
	Open

	P157
	N137
	N154
	45.242
	D63
	Open

	P161
	N137
	N158
	26.911
	D125
	Open

	P163
	N159
	N161
	45.773
	D63
	Open

	P165
	N162
	N161
	21.287
	D63
	Open

	P166
	N161
	N158
	18.936
	D63
	Open

	P167
	N158
	N163
	38.173
	D125
	Open

	P168
	N164
	N165
	10.258
	D63
	Open

	P169
	N151
	N163
	13.866
	D63
	Open

	P170
	N151
	N168
	35.786
	D63
	Open

	P171
	N163
	N167
	40.850
	D125
	Open

	P173
	N168
	N133
	6.402
	D63
	Open

	P174
	N168
	N40
	12.004
	D63
	Open

	P175
	N133
	N165
	42.285
	D63
	Open

	P178
	N165
	N129
	38.606
	D63
	Open

	P181
	N129
	N53
	11.066
	D90
	Open

	P182
	N98
	N53
	12.612
	D63
	Open

	P183
	N53
	N41
	32.676
	D63
	Open

	P184
	N41
	N176
	68.371
	D63
	Open

	P185
	N174
	N39
	38.898
	D63
	Open

	P188
	N39
	N177
	17.700
	D63
	Open

	P19
	N22
	N18
	118.724
	D63
	Open

	P190
	N177
	N178
	15.858
	D110
	Open

	P191
	N177
	N167
	36.349
	D110
	Open

	P193
	N167
	N182
	51.322
	D63
	Open

	P196
	N176
	N183
	24.771
	D63
	Open

	P197
	N183
	N28
	33.537
	D63
	Open

	P198
	N185
	N28
	35.357
	D63
	Open

	P2
	N3
	N4
	70.859
	D63
	Open

	P200
	N183
	N186
	23.478
	D63
	Open

	P201
	N186
	N176
	42.750
	D63
	Open

	P204
	N186
	N189
	16.885
	D63
	Open

	P205
	N190
	N189
	25.583
	D63
	Open

	P207
	N189
	N192
	9.112
	D63
	Open

	P208
	N192
	N45
	18.038
	D110
	Open

	P209
	N192
	N178
	14.616
	D110
	Open

	P21
	N26
	N24
	98.945
	D90
	Open

	P210
	N178
	N182
	32.806
	D63
	Open

	P213
	N182
	N195
	21.437
	D63
	Open

	P214
	N195
	N197
	34.494
	D63
	Open

	P216
	N195
	N202
	64.775
	D63
	Open

	P221
	N203
	N202
	42.620
	D63
	Open

	P223
	N205
	N202
	15.822
	D63
	Open

	P225
	N205
	N197
	36.633
	D63
	Open

	P227
	N197
	N45
	6.447
	D63
	Open

	P228
	N24
	N207
	36.578
	D90
	Open

	P229
	N24
	N208
	38.376
	D90
	Open

	P230
	N209
	N207
	40.669
	D63
	Open

	P231
	N208
	N210
	10.043
	D63
	Open

	P232
	N208
	N212
	91.443
	D63
	Open

	P236
	N212
	N215
	46.075
	D63
	Open

	P238
	N215
	N218
	114.669
	D63
	Open

	P24
	N30
	N28
	44.835
	D63
	Open

	P241
	N218
	N221
	94.701
	D63
	Open

	P244
	N221
	N223
	93.820
	D63
	Open

	P246
	N224
	N221
	59.687
	D63
	Open

	P247
	N233
	N48
	86.590
	D63
	Open

	P257
	N18
	N207
	75.740
	D90
	Open

	P261
	N4
	N239
	70.554
	D63
	Open

	P264
	N239
	N12
	86.210
	D63
	Open

	P27
	N26
	N30
	40.181
	D63
	Open

	P271
	N84
	N93
	58.880
	D63
	Open

	P272
	N106
	N241
	28.103
	D160
	Open

	P28
	N26
	N45
	53.782
	D110
	Open

	P3
	N5
	N3
	54.252
	D63
	Open

	P30
	N36
	N34
	33.020
	D63
	Open

	P33
	N38
	N36
	29.304
	D63
	Open

	P35
	N38
	N39
	42.397
	D63
	Open

	P36
	N38
	N40
	6.545
	D63
	Open

	P37
	N34
	N41
	17.719
	D63
	Open

	P38
	N34
	N40
	41.611
	D63
	Open

	P39
	N43
	N44
	11.426
	D63
	Open

	P4
	N3
	N9
	118.501
	D63
	Open

	P41
	N22
	N26
	17.954
	D63
	Open

	P42
	N205
	N22
	65.041
	D63
	Open

	P44
	N48
	N51
	91.565
	D63
	Open

	P50
	N57
	N55
	64.106
	D90
	Open

	P52
	N57
	N51
	55.475
	D63
	Open

	P54
	N57
	N63
	58.549
	D63
	Open

	P55
	N61
	N51
	66.271
	D63
	Open

	P57
	N233
	N63
	111.168
	D63
	Open

	P59
	N67
	N65
	185.277
	D63
	Open

	P62
	N68
	N82
	94.635
	D63
	Open

	P63
	N68
	N70
	41.056
	D90
	Open

	P64
	N71
	N68
	27.798
	D90
	Open

	P65
	N159
	N73
	48.891
	D63
	Open

	P67
	N75
	N136
	14.194
	D63
	Open

	P68
	N77
	N78
	53.514
	D110
	Open

	P69
	N70
	N77
	32.330
	D110
	Open

	P71
	N70
	N80
	37.866
	D63
	Open

	P72
	N80
	N107
	66.785
	D63
	Open

	P74
	N71
	N84
	59.235
	D90
	Open

	P76
	N82
	N86
	82.617
	D63
	Open

	P78
	N86
	N67
	97.662
	D63
	Open

	P8
	N9
	N12
	110.242
	D63
	Open

	P80
	N67
	N240
	73.307
	D63
	Open

	P83
	N240
	N93
	156.164
	D63
	Open

	P86
	N93
	N95
	58.814
	D63
	Open

	P88
	N93
	N98
	121.308
	D63
	Open

	P91
	N44
	N100
	22.897
	D200
	Open

	P93
	N101
	N44
	48.881
	D200
	Open

	P94
	N101
	N78
	125.567
	D200
	Open

	P98
	N241
	N78
	42.419
	D160
	Open


Pumps

	Name
	Start node
	End node
	Pump curve
	Power (kW)
	Speed
	Speed curve
	Description

	U1
	N18
	N20
	(No Curve)
	1.800
	1.0000
	(No Curve)
	


Valves

	Name
	Start node
	End node
	Diameter (mm)
	Type
	Settings
	Losses coefficient
	Description

	V1
	N53
	N55
	79.00
	PRV
	38.0000
	0.000
	


Energy

	Pump efficiency (%)
	75.00


	Energy price (€/kWh)
	0.00

	Demand charge (€)
	0.00


Status

	Speed Pump U1
	1.0000

	Initial status Pump U1
	On

	Initial status Valve V1
	(None)


Reactions

	Bulk reaction order
	0

	Wall reaction order
	

	Global bulk coefficient
	0

	Global wall coefficient
	0

	Limiting concentration
	0

	Wall coefficient correlation
	0


Mixing

	Tank
	Mixing model
	Mixing fraction

	N100
	Fully Mixed
	0


General options

	Formula
	Darcy-Weisbach

	Kinematic viscosity (m²/s)
	0.00000131

	Fluid density (kg/m³)
	999.75

	Constant emitter coefficient k
	0.9

	Pressure exponent x
	0.5

	Demand multiplier
	1

	Molecular diffusion (m²/day)
	0

	Quality type check
	None


Times

	Start date
	01-01-2009

	Start time
	00:00:00

	Total simulation duration
	00:00:00

	Hydraulic solver step
	01:00:00

	Quality solver step
	00:05:00

	Start time frame
	00:00:00

	Report time step
	01:00:00

	Start time frame
	00:00:00

	Pattern time step
	01:00:00


Coordinates

	Name
	X coordinate
	Y coordinate

	Node N1
	592791.8754833
	3913418.00469

	Node N101
	592356.19585088
	3913928.35571192

	Node N106
	592479.37924467
	3913814.33685471

	Node N107
	592525.04534193
	3913824.8621069

	Node N109
	592489.72807933
	3913793.59066986

	Node N115
	592584.33338654
	3913790.04748285

	Node N117
	592583.72275013
	3913782.95146685

	Node N118
	592582.25692878
	3913771.77900259

	Node N12
	592615.4392397
	3913254.84982687

	Node N120
	592541.30522202
	3913793.84559739

	Node N121
	592541.56220501
	3913778.34901504

	Node N123
	592532.40091149
	3913804.24080861

	Node N125
	592608.97013007
	3913776.95556612

	Node N127
	592603.59032143
	3913771.54500896

	Node N128
	592620.10451006
	3913757.41119961

	Node N129
	592628.70922327
	3913734.58246594

	Node N132
	592588.45900817
	3913734.43927907

	Node N133
	592561.69891449
	3913712.35077058

	Node N135
	592569.80700125
	3913737.88079507

	Node N136
	592502.08264097
	3913768.84198861

	Node N137
	592510.33514962
	3913752.03851216

	Node N138
	592492.42399337
	3913788.5085972

	Node N139
	592456.1604096
	3913765.80079281

	Node N143
	592534.51459983
	3913780.42138203

	Node N146
	592549.92724032
	3913744.08966832

	Node N150
	592544.07208845
	3913725.29244774

	Node N151
	592527.19078729
	3913710.01396096

	Node N154
	592544.7967322
	3913732.67860921

	Node N158
	592506.54655722
	3913725.68150129

	Node N159
	592506.84489016
	3913696.73110763

	Node N161
	592494.74766283
	3913739.88746051

	Node N162
	592476.71037577
	3913750.31387479

	Node N163
	592530.16200506
	3913696.47105452

	Node N164
	592603.29193129
	3913735.67673218

	Node N165
	592598.00787403
	3913726.88500855

	Node N167
	592550.84363768
	3913661.38519641

	Node N168
	592561.21559312
	3913705.96770967

	Node N174
	592586.20338796
	3913661.12193625

	Node N176
	592615.26012436
	3913630.46010874

	Node N177
	592562.85661024
	3913627.42421381

	Node N178
	592566.84635178
	3913612.07863618

	Node N18
	592681.96768596
	3913451.39596285

	Node N182
	592540.42124418
	3913611.61608477

	Node N183
	592616.66377004
	3913605.73431473

	Node N185
	592623.6514858
	3913538.3763196

	Node N186
	592594.35932893
	3913601.95665043

	Node N189
	592578.15389052
	3913599.18859005

	Node N190
	592574.98028207
	3913624.12089888

	Node N192
	592569.48067426
	3913597.70711293

	Node N195
	592533.11460447
	3913591.46454842

	Node N197
	592564.51256466
	3913579.08368446

	Node N20
	592578.36652962
	3913460.26093915

	Node N202
	592544.07078593
	3913536.71122354

	Node N203
	592529.98729297
	3913509.26945269

	Node N205
	592555.63535185
	3913546.5546657

	Node N207
	592704.5525087
	3913474.61151946

	Node N208
	592713.69421111
	3913490.04206212

	Node N209
	592743.63952766
	3913463.78604246

	Node N210
	592715.73936235
	3913480.4155559

	Node N212
	592799.79007155
	3913463.26684508

	Node N215
	592817.97122142
	3913425.42296858

	Node N218
	592794.62016297
	3913323.98246746

	Node N22
	592581.35904625
	3913512.68611078

	Node N221
	592866.20444588
	3913286.29289768

	Node N223
	592915.87516485
	3913214.33323219

	Node N224
	592841.4244306
	3913233.55019689

	Node N233
	592825.3868026
	3913507.26386894

	Node N239
	592631.97591831
	3913325.85635896

	Node N24
	592676.01031719
	3913496.92194094

	Node N240
	592556.77855282
	3913991.88765536

	Node N241
	592457.66547032
	3913832.17639741

	Node N26
	592588.08784536
	3913529.2260079

	Node N28
	592623.34543296
	3913573.68430707

	Node N3
	592590.12301507
	3913408.22212002

	Node N30
	592584.05012499
	3913568.67931578

	Node N34
	592600.09294177
	3913697.28146489

	Node N36
	592581.50283601
	3913678.32742738

	Node N38
	592561.55410548
	3913687.43165255

	Node N39
	592562.50305814
	3913645.10389429

	Node N4
	592658.29971906
	3913389.98560745

	Node N40
	592561.46467993
	3913693.96946694

	Node N41
	592617.56830144
	3913698.09515099

	Node N43
	592298.39260506
	3913942.62623624

	Node N44
	592308.46986312
	3913937.52402839

	Node N45
	592570.91230622
	3913579.74009866

	Node N48
	592822.43895814
	3913562.61384946

	Node N5
	592544.18121335
	3913437.04980955

	Node N51
	592732.51407004
	3913559.09735374

	Node N53
	592634.09832875
	3913726.28178514

	Node N55
	592647.29641574
	3913625.80915657

	Node N57
	592681.18949327
	3913573.34478661

	Node N61
	592795.25689027
	3913539.35522449

	Node N63
	592719.1957086
	3913536.10276253

	Node N65
	592633.25402533
	3914172.7725539

	Node N67
	592541.58635294
	3914043.9932038

	Node N68
	592529.91777796
	3913890.10248323

	Node N70
	592497.54617451
	3913909.37179976

	Node N71
	592522.52718846
	3913863.3492232

	Node N73
	592490.00775958
	3913699.35801449

	Node N75
	592507.97445219
	3913779.70749648

	Node N77
	592470.45018366
	3913921.82383583

	Node N78
	592448.79217892
	3913873.64302588

	Node N80
	592484.10959001
	3913873.97047486

	Node N82
	592513.52045715
	3913975.75813598

	Node N84
	592563.15298166
	3913821.76956673

	Node N86
	592449.90388747
	3914012.13051

	Node N9
	592552.98636293
	3913335.80394967

	Node N93
	592611.91235898
	3913854.33464151

	Node N95
	592606.39678615
	3913797.54742882

	Node N98
	592638.45339093
	3913738.11623384

	Tank N100
	592319.87158
	3913921.208227


Background

	Units
	Meters


Results

Time instant :01/01/2009 - 00:00:00

Junctions

	#
	Name
	Pressure elevation (m)
	Pressure height (m)
	Real demand (L/s)
	Quality

	1
	N1
	327.069
	28.531
	0.09
	0.000

	2
	N101
	335.203
	8.571
	0.15
	0.000

	3
	N106
	333.836
	15.773
	0.15
	0.000

	4
	N107
	333.398
	28.491
	0.25
	0.000

	5
	N109
	333.644
	15.740
	0.12
	0.000

	6
	N115
	332.319
	37.270
	0.11
	0.000

	7
	N117
	332.300
	36.990
	0.10
	0.000

	8
	N118
	332.208
	36.009
	0.16
	0.000

	9
	N12
	379.839
	36.710
	1.04
	0.000

	10
	N120
	332.850
	22.934
	0.11
	0.000

	11
	N121
	333.076
	21.420
	0.17
	0.000

	12
	N123
	332.850
	21.484
	0.05
	0.000

	13
	N125
	332.098
	42.567
	0.09
	0.000

	14
	N127
	332.103
	40.263
	0.09
	0.000

	15
	N128
	331.994
	46.572
	0.13
	0.000

	16
	N129
	331.859
	49.147
	0.10
	0.000

	17
	N132
	332.098
	36.169
	0.10
	0.000

	18
	N133
	332.027
	36.348
	0.16
	0.000

	19
	N135
	332.210
	31.722
	0.14
	0.000

	20
	N136
	333.250
	15.026
	0.08
	0.000

	21
	N137
	332.942
	16.388
	0.13
	0.000

	22
	N138
	333.616
	15.212
	0.10
	0.000

	23
	N139
	333.599
	5.098
	0.22
	0.000

	24
	N143
	333.076
	20.371
	0.01
	0.000

	25
	N146
	332.536
	26.460
	0.12
	0.000

	26
	N150
	332.238
	26.261
	0.03
	0.000

	27
	N151
	332.238
	26.512
	0.15
	0.000

	28
	N154
	332.536
	24.170
	0.13
	0.000

	29
	N158
	332.607
	19.942
	0.12
	0.000

	30
	N159
	332.350
	10.948
	0.13
	0.000

	31
	N161
	332.493
	15.640
	0.12
	0.000

	32
	N162
	332.491
	11.268
	0.15
	0.000

	33
	N163
	332.239
	26.372
	0.13
	0.000

	34
	N164
	331.916
	39.566
	0.03
	0.000

	35
	N165
	331.916
	39.626
	0.13
	0.000

	36
	N167
	331.862
	29.155
	0.18
	0.000

	37
	N168
	332.002
	36.443
	0.05
	0.000

	38
	N174
	331.543
	41.203
	0.06
	0.000

	39
	N176
	331.162
	46.250
	0.19
	0.000

	40
	N177
	331.503
	32.915
	0.10
	0.000

	41
	N178
	331.321
	33.012
	0.09
	0.000

	42
	N18
	328.131
	17.686
	0.44
	0.000

	43
	N182
	331.311
	26.485
	0.15
	0.000

	44
	N183
	331.099
	45.688
	0.12
	0.000

	45
	N185
	330.888
	41.347
	0.05
	0.000

	46
	N186
	331.139
	39.449
	0.12
	0.000

	47
	N189
	331.153
	35.615
	0.07
	0.000

	48
	N190
	331.153
	36.654
	0.04
	0.000

	49
	N192
	331.167
	33.259
	0.06
	0.000

	50
	N195
	331.066
	26.519
	0.17
	0.000

	51
	N197
	331.001
	31.973
	0.11
	0.000

	52
	N20
	381.667
	62.661
	0.34
	0.000

	53
	N202
	330.884
	21.968
	0.18
	0.000

	54
	N203
	330.882
	14.828
	0.06
	0.000

	55
	N205
	330.865
	26.389
	0.17
	0.000

	56
	N207
	328.479
	31.171
	0.22
	0.000

	57
	N208
	328.567
	38.607
	0.20
	0.000

	58
	N209
	328.478
	28.171
	0.06
	0.000

	59
	N210
	328.567
	36.608
	0.01
	0.000

	60
	N212
	327.072
	40.461
	0.36
	0.000

	61
	N215
	326.679
	42.068
	0.60
	0.000

	62
	N218
	326.449
	48.736
	0.19
	0.000

	63
	N22
	330.463
	31.505
	0.29
	0.000

	64
	N221
	326.366
	54.352
	0.21
	0.000

	65
	N223
	326.362
	31.064
	0.08
	0.000

	66
	N224
	326.364
	41.444
	0.05
	0.000

	67
	N233
	302.243
	37.454
	0.26
	0.000

	68
	N239
	380.144
	50.992
	0.13
	0.000

	69
	N24
	328.692
	36.433
	0.25
	0.000

	70
	N240
	332.045
	66.628
	0.20
	0.000

	71
	N241
	334.112
	15.908
	0.36
	0.000

	72
	N26
	330.600
	33.512
	0.30
	0.000

	73
	N28
	330.888
	43.178
	0.16
	0.000

	74
	N3
	380.152
	44.651
	0.24
	0.000

	75
	N30
	330.713
	35.424
	0.12
	0.000

	76
	N34
	331.703
	51.180
	0.13
	0.000

	77
	N36
	331.706
	41.196
	0.09
	0.000

	78
	N38
	331.720
	36.131
	0.11
	0.000

	79
	N39
	331.544
	33.736
	0.14
	0.000

	80
	N4
	380.489
	51.336
	1.41
	0.000

	81
	N40
	331.775
	36.486
	0.09
	0.000

	82
	N41
	331.670
	53.957
	0.15
	0.000

	83
	N43
	335.339
	1.738
	1.28
	0.000

	84
	N44
	335.463
	3.582
	0.07
	0.000

	85
	N45
	331.007
	32.399
	0.11
	0.000

	86
	N48
	302.245
	60.880
	0.15
	0.000

	87
	N5
	380.149
	45.898
	0.08
	0.000

	88
	N51
	302.269
	52.156
	0.18
	0.000

	89
	N53
	331.780
	54.016
	0.14
	0.000

	90
	N55
	302.509
	38.000
	0.14
	0.000

	91
	N57
	302.344
	45.733
	0.79
	0.000

	92
	N61
	302.267
	47.855
	0.06
	0.000

	93
	N63
	302.287
	37.988
	0.14
	0.000

	94
	N65
	332.030
	72.180
	0.16
	0.000

	95
	N67
	332.057
	60.742
	0.30
	0.000

	96
	N68
	333.265
	44.274
	0.22
	0.000

	97
	N70
	333.905
	28.598
	0.16
	0.000

	98
	N71
	333.047
	42.517
	0.12
	0.000

	99
	N73
	332.249
	5.028
	0.54
	0.000

	100
	N75
	333.250
	16.186
	0.02
	0.000

	101
	N77
	334.140
	23.435
	0.11
	0.000

	102
	N78
	334.547
	15.283
	0.21
	0.000

	103
	N80
	333.681
	28.403
	0.15
	0.000

	104
	N82
	332.668
	49.506
	0.19
	0.000

	105
	N84
	332.621
	40.211
	0.27
	0.000

	106
	N86
	332.326
	52.413
	0.15
	0.000

	107
	N9
	379.927
	39.067
	0.19
	0.000

	108
	N93
	332.048
	56.784
	1.07
	0.000

	109
	N95
	332.136
	44.774
	0.13
	0.000

	110
	N98
	331.779
	53.825
	0.69
	0.000


Pipes

	#
	Name
	Velocity (m/s)
	Flow (L/s)
	Losses (m/km)
	Friction
	Quality
	Reaction rate (M/L/day)
	Final status

	1
	P1
	0.04
	-0.09
	0.050
	0.0390
	0.000
	0.0000
	Open

	2
	P100
	0.66
	1.59
	16.492
	0.0414
	0.000
	0.0000
	Open

	3
	P102
	0.87
	13.60
	8.294
	0.0303
	0.000
	0.0000
	Open

	4
	P103
	0.44
	1.05
	7.426
	0.0424
	0.000
	0.0000
	Open

	5
	P109
	0.57
	2.80
	7.764
	0.0370
	0.000
	0.0000
	Open

	6
	P111
	0.44
	-1.05
	7.385
	0.0424
	0.000
	0.0000
	Open

	7
	P113
	0.33
	-1.64
	2.756
	0.0383
	0.000
	0.0000
	Open

	8
	P114
	0.58
	2.86
	8.121
	0.0370
	0.000
	0.0000
	Open

	9
	P115
	0.55
	-1.32
	11.590
	0.0418
	0.000
	0.0000
	Open

	10
	P116
	0.62
	-1.48
	14.469
	0.0415
	0.000
	0.0000
	Open

	11
	P118
	0.02
	-0.05
	0.028
	0.0707
	0.000
	0.0000
	Open

	12
	P12
	0.63
	-3.09
	9.428
	0.0368
	0.000
	0.0000
	Open

	13
	P120
	0.19
	0.47
	1.572
	0.0458
	0.000
	0.0000
	Open

	14
	P122
	0.28
	0.67
	3.148
	0.0440
	0.000
	0.0000
	Open

	15
	P123
	0.12
	0.30
	0.677
	0.0487
	0.000
	0.0000
	Open

	16
	P125
	0.48
	2.34
	5.475
	0.0374
	0.000
	0.0000
	Open

	17
	P126
	0.37
	1.79
	3.287
	0.0381
	0.000
	0.0000
	Open

	18
	P128
	0.44
	2.18
	4.789
	0.0376
	0.000
	0.0000
	Open

	19
	P129
	0.26
	-0.64
	2.834
	0.0441
	0.000
	0.0000
	Open

	20
	P131
	0.22
	0.54
	2.049
	0.0449
	0.000
	0.0000
	Open

	21
	P132
	0.05
	-0.12
	0.064
	0.0302
	0.000
	0.0000
	Open

	22
	P135
	1.04
	9.93
	16.385
	0.0324
	0.000
	0.0000
	Open

	23
	P136
	1.06
	-10.03
	16.711
	0.0324
	0.000
	0.0000
	Open

	24
	P137
	0.09
	-0.22
	0.394
	0.0514
	0.000
	0.0000
	Open

	25
	P138
	0.66
	-10.35
	4.858
	0.0306
	0.000
	0.0000
	Open

	26
	P139
	0.64
	3.13
	9.671
	0.0368
	0.000
	0.0000
	Open

	27
	P142
	0.61
	1.47
	14.148
	0.0416
	0.000
	0.0000
	Open

	28
	P143
	0.00
	-0.01
	0.005
	0.3168
	0.000
	0.0000
	Open

	29
	P147
	0.52
	1.25
	10.381
	0.0419
	0.000
	0.0000
	Open

	30
	P150
	0.41
	1.00
	6.680
	0.0426
	0.000
	0.0000
	Open

	31
	P152
	0.01
	-0.03
	0.016
	0.1147
	0.000
	0.0000
	Open

	32
	P153
	0.47
	1.13
	8.479
	0.0422
	0.000
	0.0000
	Open

	33
	P156
	0.04
	0.10
	0.053
	0.0361
	0.000
	0.0000
	Open

	34
	P157
	0.48
	1.16
	8.981
	0.0421
	0.000
	0.0000
	Open

	35
	P161
	0.91
	8.64
	12.463
	0.0326
	0.000
	0.0000
	Open

	36
	P163
	0.28
	-0.67
	3.126
	0.0440
	0.000
	0.0000
	Open

	37
	P165
	0.06
	-0.15
	0.119
	0.0334
	0.000
	0.0000
	Open

	38
	P166
	0.39
	-0.94
	5.979
	0.0428
	0.000
	0.0000
	Open

	39
	P167
	0.80
	7.58
	9.641
	0.0328
	0.000
	0.0000
	Open

	40
	P168
	0.01
	-0.03
	0.015
	0.1019
	0.000
	0.0000
	Open

	41
	P169
	0.02
	-0.04
	0.024
	0.0792
	0.000
	0.0000
	Open

	42
	P170
	0.41
	0.99
	6.614
	0.0426
	0.000
	0.0000
	Open

	43
	P171
	0.78
	7.40
	9.212
	0.0328
	0.000
	0.0000
	Open

	44
	P173
	0.32
	-0.76
	3.993
	0.0435
	0.000
	0.0000
	Open

	45
	P174
	0.71
	1.70
	18.907
	0.0412
	0.000
	0.0000
	Open

	46
	P175
	0.25
	0.61
	2.621
	0.0444
	0.000
	0.0000
	Open

	47
	P178
	0.19
	0.45
	1.476
	0.0459
	0.000
	0.0000
	Open

	48
	P181
	0.55
	2.69
	7.182
	0.0371
	0.000
	0.0000
	Open

	49
	P182
	0.05
	-0.13
	0.083
	0.0305
	0.000
	0.0000
	Open

	50
	P183
	0.29
	0.70
	3.360
	0.0439
	0.000
	0.0000
	Open

	51
	P184
	0.44
	1.05
	7.434
	0.0424
	0.000
	0.0000
	Open

	52
	P185
	0.02
	-0.06
	0.033
	0.0588
	0.000
	0.0000
	Open

	53
	P188
	0.24
	0.58
	2.342
	0.0447
	0.000
	0.0000
	Open

	54
	P19
	0.72
	1.74
	19.641
	0.0412
	0.000
	0.0000
	Open

	55
	P190
	0.82
	6.43
	11.492
	0.0337
	0.000
	0.0000
	Open

	56
	P191
	0.76
	-5.95
	9.886
	0.0338
	0.000
	0.0000
	Open

	57
	P193
	0.53
	1.27
	10.732
	0.0419
	0.000
	0.0000
	Open

	58
	P196
	0.25
	0.60
	2.537
	0.0445
	0.000
	0.0000
	Open

	59
	P197
	0.40
	0.96
	6.275
	0.0427
	0.000
	0.0000
	Open

	60
	P198
	0.02
	-0.05
	0.027
	0.0692
	0.000
	0.0000
	Open

	61
	P2
	0.35
	-0.83
	4.756
	0.0432
	0.000
	0.0000
	Open

	62
	P200
	0.20
	-0.48
	1.688
	0.0456
	0.000
	0.0000
	Open

	63
	P201
	0.11
	-0.26
	0.543
	0.0498
	0.000
	0.0000
	Open

	64
	P204
	0.14
	-0.34
	0.881
	0.0478
	0.000
	0.0000
	Open

	65
	P205
	0.02
	-0.04
	0.023
	0.0919
	0.000
	0.0000
	Open

	66
	P207
	0.19
	-0.45
	1.482
	0.0460
	0.000
	0.0000
	Open

	67
	P208
	0.72
	5.63
	8.876
	0.0339
	0.000
	0.0000
	Open

	68
	P209
	0.78
	-6.14
	10.521
	0.0338
	0.000
	0.0000
	Open

	69
	P21
	0.91
	4.45
	19.278
	0.0362
	0.000
	0.0000
	Open

	70
	P210
	0.08
	0.19
	0.281
	0.0477
	0.000
	0.0000
	Open

	71
	P213
	0.55
	1.32
	11.450
	0.0418
	0.000
	0.0000
	Open

	72
	P214
	0.21
	0.51
	1.873
	0.0453
	0.000
	0.0000
	Open

	73
	P216
	0.26
	0.63
	2.816
	0.0442
	0.000
	0.0000
	Open

	74
	P221
	0.02
	-0.06
	0.033
	0.0582
	0.000
	0.0000
	Open

	75
	P223
	0.16
	-0.39
	1.150
	0.0468
	0.000
	0.0000
	Open

	76
	P225
	0.30
	-0.73
	3.713
	0.0436
	0.000
	0.0000
	Open

	77
	P227
	0.14
	-0.33
	0.837
	0.0480
	0.000
	0.0000
	Open

	78
	P228
	0.49
	2.41
	5.837
	0.0373
	0.000
	0.0000
	Open

	79
	P229
	0.37
	1.79
	3.275
	0.0381
	0.000
	0.0000
	Open

	80
	P230
	0.02
	-0.06
	0.034
	0.0594
	0.000
	0.0000
	Open

	81
	P231
	0.00
	0.01
	0.007
	0.4682
	0.000
	0.0000
	Open

	82
	P232
	0.66
	1.58
	16.352
	0.0414
	0.000
	0.0000
	Open

	83
	P236
	0.47
	1.13
	8.529
	0.0422
	0.000
	0.0000
	Open

	84
	P238
	0.22
	0.53
	2.005
	0.0451
	0.000
	0.0000
	Open

	85
	P24
	0.31
	-0.75
	3.915
	0.0435
	0.000
	0.0000
	Open

	86
	P241
	0.14
	0.34
	0.874
	0.0478
	0.000
	0.0000
	Open

	87
	P244
	0.03
	0.08
	0.045
	0.0442
	0.000
	0.0000
	Open

	88
	P246
	0.02
	-0.05
	0.028
	0.0709
	0.000
	0.0000
	Open

	89
	P247
	0.02
	-0.04
	0.022
	0.0889
	0.000
	0.0000
	Open

	90
	P257
	0.44
	-2.13
	4.598
	0.0376
	0.000
	0.0000
	Open

	91
	P261
	0.35
	0.85
	4.879
	0.0431
	0.000
	0.0000
	Open

	92
	P264
	0.30
	0.72
	3.545
	0.0437
	0.000
	0.0000
	Open

	93
	P27
	0.26
	-0.63
	2.813
	0.0442
	0.000
	0.0000
	Open

	94
	P271
	0.50
	1.21
	9.733
	0.0420
	0.000
	0.0000
	Open

	95
	P272
	0.95
	-14.80
	9.793
	0.0302
	0.000
	0.0000
	Open

	96
	P28
	0.66
	-5.19
	7.566
	0.0340
	0.000
	0.0000
	Open

	97
	P3
	0.03
	-0.08
	0.045
	0.0440
	0.000
	0.0000
	Open

	98
	P30
	0.06
	0.15
	0.110
	0.0324
	0.000
	0.0000
	Open

	99
	P33
	0.10
	0.24
	0.451
	0.0508
	0.000
	0.0000
	Open

	100
	P35
	0.32
	0.78
	4.132
	0.0434
	0.000
	0.0000
	Open

	101
	P36
	0.47
	-1.12
	8.414
	0.0422
	0.000
	0.0000
	Open

	102
	P37
	0.21
	0.51
	1.844
	0.0454
	0.000
	0.0000
	Open

	103
	P38
	0.20
	-0.49
	1.728
	0.0455
	0.000
	0.0000
	Open

	104
	P39
	0.53
	-1.28
	10.857
	0.0419
	0.000
	0.0000
	Open

	105
	P4
	0.21
	0.51
	1.895
	0.0453
	0.000
	0.0000
	Open

	106
	P41
	0.44
	-1.07
	7.651
	0.0424
	0.000
	0.0000
	Open

	107
	P42
	0.40
	0.96
	6.194
	0.0427
	0.000
	0.0000
	Open

	108
	P44
	0.08
	-0.19
	0.264
	0.0465
	0.000
	0.0000
	Open

	109
	P50
	0.32
	-1.58
	2.577
	0.0385
	0.000
	0.0000
	Open

	110
	P52
	0.18
	0.43
	1.350
	0.0463
	0.000
	0.0000
	Open

	111
	P54
	0.15
	0.36
	0.974
	0.0474
	0.000
	0.0000
	Open

	112
	P55
	0.02
	-0.06
	0.033
	0.0586
	0.000
	0.0000
	Open

	113
	P57
	0.09
	-0.22
	0.395
	0.0514
	0.000
	0.0000
	Open

	114
	P59
	0.07
	0.16
	0.148
	0.0364
	0.000
	0.0000
	Open

	115
	P62
	0.40
	0.97
	6.306
	0.0427
	0.000
	0.0000
	Open

	116
	P63
	0.82
	-4.00
	15.581
	0.0364
	0.000
	0.0000
	Open

	117
	P64
	0.57
	-2.81
	7.833
	0.0370
	0.000
	0.0000
	Open

	118
	P65
	0.22
	0.54
	2.077
	0.0450
	0.000
	0.0000
	Open

	119
	P67
	0.01
	-0.02
	0.010
	0.1656
	0.000
	0.0000
	Open

	120
	P68
	0.66
	-5.20
	7.601
	0.0340
	0.000
	0.0000
	Open

	121
	P69
	0.65
	-5.09
	7.291
	0.0341
	0.000
	0.0000
	Open

	122
	P71
	0.39
	0.94
	5.919
	0.0428
	0.000
	0.0000
	Open

	123
	P72
	0.33
	0.79
	4.231
	0.0434
	0.000
	0.0000
	Open

	124
	P74
	0.55
	2.69
	7.196
	0.0371
	0.000
	0.0000
	Open

	125
	P76
	0.32
	0.78
	4.142
	0.0434
	0.000
	0.0000
	Open

	126
	P78
	0.26
	0.63
	2.751
	0.0443
	0.000
	0.0000
	Open

	127
	P8
	0.13
	0.32
	0.801
	0.0481
	0.000
	0.0000
	Open

	128
	P80
	0.07
	0.17
	0.169
	0.0386
	0.000
	0.0000
	Open

	129
	P83
	0.01
	-0.03
	0.019
	0.1052
	0.000
	0.0000
	Open

	130
	P86
	0.19
	-0.45
	1.491
	0.0459
	0.000
	0.0000
	Open

	131
	P88
	0.23
	0.56
	2.218
	0.0448
	0.000
	0.0000
	Open

	132
	P91
	0.87
	-22.07
	6.001
	0.0282
	0.000
	0.0000
	Open

	133
	P93
	0.81
	-20.72
	5.302
	0.0283
	0.000
	0.0000
	Open

	134
	P94
	0.81
	20.57
	5.226
	0.0283
	0.000
	0.0000
	Open

	135
	P98
	0.97
	-15.16
	10.267
	0.0301
	0.000
	0.0000
	Open


Tanks

	#
	Name
	Pressure height (m)
	Pressure elevation (m)
	Net Inflow (L/s)
	Quality

	1
	N100
	335.6
	0
	-22.07
	0


Pumps

	#
	Name
	Real speed
	Flow rate (L/s)
	Losses (m/km)
	Quality
	Final status

	1
	U1
	1.00
	3.43
	-53.536
	0.000
	


[image: image2.png]AN W

Orkﬂ 0



  Water Networks - Calculations Report
Page: 3/24

[image: image2.png]