ΥΔΡΕΥΣΗ Δ.Δ. ΜΕΤΑΜΟΡΦΩΣΗΣ

	Water Networks v8.0 - Quantities calculation
[image: image1.png]AN W

Orkﬂ 0




Copyright ©1996-2009 TechnoLogismiki

www.technologismiki.com


Contents
3Project information


31. Pipe Excavations


82. Excavation volume


82.1. Pipe excavations


82.1.1. Total


82.1.2. Soft soil excavation


82.1.3. Rock excavations


82.2. Trench backfill


82.2.1.Total backfill volume


82.2.2. Restoration (asphalt)


82.2.3. Restoration (gravel)


92.3. Augmented soil volume to be transported


92.4. Transportation of soil volume


92.5. Trench support


92.6. Water pumping


92.7. Dislocation of public utilities


93. Pipe Sections


93.1. Section : D65.8 x .0001


103.2. Section : D79 x .0001


143.3. Section : D97 x .0001


143.4. Section : D123.6 x .0001


154. Marking grid


155. Manholes (per type)


155.1. Manhole specification : ΤΥΠΟΥ Α


155.2. Manhole specification : ΤΥΠΟΥ Β


155.3. Manhole specification : ΜΕΙΩΤΕΣ ΠΙΕΣΗΣ


156. Manholes


156.1. Manhole specification : ΤΥΠΟΥ Α


166.2. Manhole specification : ΤΥΠΟΥ Β


166.3. Manhole specification : ΜΕΙΩΤΕΣ ΠΙΕΣΗΣ


167. Trenches


167.1. Trench : Φ75-110 ΧΩΜ ΕΝΤΟΣ (Type V)


177.2. Trench : Φ75-110 ΑΣΦ ΕΝΤΟΣ (Type V)


217.3. Trench : ΔΙΠΛΟΣ ΑΣΦ ΕΝΤΟΣ (Type V)


217.4. Trench : Φ75-110 ΧΩΜ ΕΚΤΟΣ (Type V)


227.5. Trench : Φ75-110 ΑΣΦ ΕΚΤΟΣ (Type V)


227.6. Trench : ΔΙΠΛΟΣ ΑΣΦ ΕΚΤΟΣ (Type V)


237.7. Trench : ΔΙΠΛΟΣ ΧΩΜ ΕΚΤΟΣ (Type V)


238. Special Devices Count




Project information

	Project title
	ΥΔΡΕΥΣΗ Δ.Δ. ΜΕΤΑΜΟΡΦΩΣΗΣ

	Firm
	ΦΩΤΙΟΣ Σ. ΦΩΤΟΠΟΥΛΟΣ

	Comments
	ΣΕΝΑΡΙΟ ΚΑΝΟΝΙΚΗΣ ΛΕΙΤΟΥΡΓΙΑΣ


1. Pipe Excavations

	#
	Name
	Length (m)
	Trench
	Soil Volume (m³)
	Rock Volume (m³)
	Excavation Volume (m³)

	1
	R1:K1
	282.869
	ΔΙΠΛΟΣ ΧΩΜ ΕΚΤΟΣ
	153.072
	38.268
	191.340

	2
	K4:K5
	51.913
	ΔΙΠΛΟΣ ΑΣΦ ΕΝΤΟΣ
	27.262
	6.815
	34.077

	3
	K7:K10
	4.624
	ΔΙΠΛΟΣ ΑΣΦ ΕΝΤΟΣ
	2.456
	0.614
	3.070

	4
	K10:K66
	43.658
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	18.792
	4.698
	23.489

	5
	K61:K62
	58.904
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	25.340
	6.335
	31.675

	6
	K60:K61
	40.376
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	17.372
	4.343
	21.715

	7
	K64:K70
	43.824
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	18.845
	4.711
	23.557

	8
	K180:K71
	41.354
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	17.783
	4.446
	22.229

	9
	K62:K63
	41.009
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	17.635
	4.409
	22.043

	10
	K75:K80
	48.994
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	21.068
	5.267
	26.335

	11
	K97:K98
	36.179
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	15.558
	3.889
	19.447

	12
	K72:K92
	39.277
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	16.897
	4.224
	21.122

	13
	K92:K93
	49.104
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	21.132
	5.283
	26.415

	14
	K108:K109
	32.423
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	13.943
	3.486
	17.428

	15
	K82:K83
	34.307
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	14.753
	3.688
	18.441

	16
	K83:K84
	15.110
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	6.518
	1.629
	8.147

	17
	K84:K85
	23.309
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	10.036
	2.509
	12.545

	18
	K98:K100
	14.871
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	6.395
	1.599
	7.993

	19
	K98:K81
	31.417
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	13.530
	3.382
	16.912

	20
	K100:K82
	26.691
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	11.478
	2.869
	14.347

	21
	K82:K88
	49.234
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	21.172
	5.293
	26.465

	22
	K87:K88
	46.348
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	19.930
	4.983
	24.913

	23
	K80:K81
	20.466
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	8.814
	2.203
	11.017

	24
	K81:K82
	47.215
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	20.309
	5.077
	25.387

	25
	K85:K111
	53.373
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	22.952
	5.738
	28.689

	26
	K111:K56
	52.698
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	22.661
	5.665
	28.326

	27
	K56:K112
	20.260
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	8.725
	2.181
	10.906

	28
	K112:K113
	26.953
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	11.602
	2.901
	14.503

	29
	K113:K130
	24.892
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	10.715
	2.679
	13.394

	30
	K132:K147
	42.072
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	18.092
	4.523
	22.614

	31
	K143:K142
	14.532
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	6.249
	1.562
	7.811

	32
	K142:K141
	11.048
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	4.751
	1.188
	5.938

	33
	K140:K141
	42.491
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	18.272
	4.568
	22.840

	34
	K138:K139
	53.177
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	22.867
	5.717
	28.584

	35
	K85:K86
	10.581
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	4.550
	1.138
	5.688

	36
	K139:K165
	47.362
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	20.367
	5.092
	25.458

	37
	K166:K175
	26.373
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	11.341
	2.835
	14.176

	38
	K173:K174
	33.572
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	14.447
	3.612
	18.059

	39
	K176:K173
	43.421
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	18.672
	4.668
	23.340

	40
	K141:K157
	42.885
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	18.441
	4.610
	23.052

	41
	K161:K160
	35.838
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	15.411
	3.853
	19.264

	42
	K160:K162
	32.554
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	13.999
	3.500
	17.499

	43
	K160:K159
	11.120
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	4.782
	1.195
	5.977

	44
	K66:K67
	49.514
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	21.292
	5.323
	26.615

	45
	K46:K47
	23.336
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	10.035
	2.509
	12.544

	46
	K75:K78
	32.497
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	13.974
	3.494
	17.468

	47
	K96:K75
	55.207
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	23.740
	5.935
	29.675

	48
	K71:K72
	12.181
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	5.238
	1.310
	6.548

	49
	K66:K64
	16.239
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	6.983
	1.746
	8.729

	50
	K125:K134
	21.115
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	9.080
	2.270
	11.350

	51
	K134:K149
	44.127
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	18.975
	4.744
	23.719

	52
	K148:K150
	41.418
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	17.810
	4.453
	22.263

	53
	K143:K144
	39.636
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	17.058
	4.265
	21.323

	54
	K151:K144
	58.060
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	24.978
	6.245
	31.223

	55
	K154:K155
	38.416
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	16.536
	4.134
	20.670

	56
	K166:K167
	41.036
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	17.646
	4.412
	22.058

	57
	K168:K164
	36.006
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	15.496
	3.874
	19.370

	58
	K168:K169
	22.806
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	9.815
	2.454
	12.268

	59
	K144:K145
	44.326
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	19.076
	4.769
	23.845

	60
	K155:K156
	72.682
	Φ75-110 ΑΣΦ ΕΚΤΟΣ
	31.278
	7.820
	39.098

	61
	K47:K48
	40.532
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	17.430
	4.357
	21.787

	62
	K79:K50
	42.870
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	18.435
	4.609
	23.044

	63
	K76:K78
	47.790
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	20.575
	5.144
	25.719

	64
	K47:K76
	46.015
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	19.805
	4.951
	24.756

	65
	K43:K46
	13.007
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	5.593
	1.398
	6.992

	66
	K43:K44
	38.995
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	16.768
	4.192
	20.961

	67
	K23:K24
	52.659
	Φ75-110 ΑΣΦ ΕΚΤΟΣ
	22.644
	5.661
	28.306

	68
	K26:K30
	40.417
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	17.398
	4.349
	21.747

	69
	K51:K31
	20.864
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	8.972
	2.243
	11.215

	70
	K50:K51
	9.060
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	3.896
	0.974
	4.870

	71
	K174:K179
	15.234
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	6.556
	1.639
	8.195

	72
	K114:K115
	32.838
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	14.131
	3.533
	17.663

	73
	K55:K56
	16.079
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	6.922
	1.731
	8.653

	74
	K171:K109
	36.765
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	15.810
	3.952
	19.762

	75
	K173:K172
	13.192
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	5.691
	1.423
	7.113

	76
	K172:K177
	48.224
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	20.753
	5.188
	25.941

	77
	K133:K134
	45.326
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	19.491
	4.873
	24.364

	78
	K90:K91
	36.320
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	15.630
	3.908
	19.538

	79
	K89:K83
	47.706
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	20.515
	5.129
	25.643

	80
	K88:K89
	8.660
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	3.724
	0.931
	4.655


	81
	K84:K110
	40.214
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	17.306
	4.326
	21.632

	82
	K10:K11
	43.991
	ΔΙΠΛΟΣ ΑΣΦ ΕΝΤΟΣ
	23.121
	5.780
	28.901

	83
	K16:K20
	11.893
	ΔΙΠΛΟΣ ΑΣΦ ΕΚΤΟΣ
	6.270
	1.568
	7.838

	84
	K20:K21
	109.575
	ΔΙΠΛΟΣ ΑΣΦ ΕΚΤΟΣ
	57.591
	14.398
	71.988

	85
	K16:K17
	35.739
	Φ75-110 ΧΩΜ ΕΚΤΟΣ
	15.380
	3.845
	19.225

	86
	K26:K27
	106.363
	Φ75-110 ΧΩΜ ΕΝΤΟΣ
	45.773
	11.443
	57.216

	87
	K42:K43
	49.649
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	21.350
	5.337
	26.687

	88
	K120:K121
	59.254
	Φ75-110 ΑΣΦ ΕΚΤΟΣ
	25.480
	6.370
	31.850

	89
	K81:K99
	32.527
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	13.998
	3.499
	17.497

	90
	K76:K77
	54.703
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	23.541
	5.885
	29.427

	91
	K8:K9
	26.831
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	11.547
	2.887
	14.433

	92
	K127:K128
	45.365
	Φ75-110 ΧΩΜ ΕΝΤΟΣ
	19.522
	4.881
	24.403

	93
	K130:K135
	38.263
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	16.466
	4.117
	20.583

	94
	K55:K58
	24.008
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	10.332
	2.583
	12.914

	95
	K112:K126
	26.355
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	11.342
	2.835
	14.177

	96
	K54:K57
	7.775
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	3.346
	0.836
	4.182

	97
	K111:K90
	23.955
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	10.315
	2.579
	12.893

	98
	K61:K65
	59.818
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	25.742
	6.436
	32.178

	99
	K53:K54
	47.841
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	20.580
	5.145
	25.725

	100
	K54:K55
	17.699
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	7.627
	1.907
	9.533

	101
	K155:K152
	48.237
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	20.758
	5.189
	25.947

	102
	K150:K143
	33.506
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	14.408
	3.602
	18.010

	103
	K147:K148
	48.745
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	20.961
	5.240
	26.202

	104
	K132:K133
	50.939
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	21.905
	5.476
	27.381

	105
	K142:K161
	29.601
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	12.729
	3.182
	15.911

	106
	K157:K158
	38.587
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	16.593
	4.148
	20.742

	107
	K158:K159
	36.766
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	15.810
	3.953
	19.763

	108
	K139:K140
	47.275
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	20.329
	5.082
	25.411

	109
	K167:K168
	51.533
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	22.172
	5.543
	27.715

	110
	K165:K166
	42.702
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	18.363
	4.591
	22.954

	111
	K175:K174
	36.420
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	15.671
	3.918
	19.588

	112
	K139:K176
	52.065
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	22.389
	5.597
	27.986

	113
	K145:K146
	46.635
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	20.069
	5.017
	25.086

	114
	K125:K153
	36.229
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	15.579
	3.895
	19.474

	115
	K153:K154
	48.262
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	20.754
	5.188
	25.942

	116
	K149:K148
	31.668
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	13.618
	3.405
	17.023

	117
	K86:K137
	54.057
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	23.246
	5.811
	29.057

	118
	K137:K138
	52.770
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	22.692
	5.673
	28.365

	119
	K177:K178
	48.082
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	20.692
	5.173
	25.865

	120
	K172:K171
	38.459
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	16.548
	4.137
	20.686

	121
	K106:K107
	43.022
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	18.500
	4.625
	23.125

	122
	K105:K106
	37.096
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	15.952
	3.988
	19.940

	123
	K104:K105
	46.631
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	20.052
	5.013
	25.065

	124
	K107:K108
	12.510
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	5.379
	1.345
	6.724

	125
	K113:K114
	45.325
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	19.491
	4.873
	24.364

	126
	K115:K127
	29.441
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	12.670
	3.167
	15.837

	127
	K131:K132
	39.035
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	16.786
	4.196
	20.982

	128
	K130:K131
	49.661
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	21.366
	5.342
	26.708

	129
	K103:K104
	41.638
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	17.905
	4.476
	22.382

	130
	K102:K103
	45.072
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	19.382
	4.845
	24.227

	131
	K101:K102
	38.541
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	16.573
	4.143
	20.717

	132
	K100:K101
	40.383
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	17.366
	4.341
	21.707

	133
	K69:K46
	53.552
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	23.028
	5.757
	28.785

	134
	K68:K69
	48.546
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	20.876
	5.219
	26.094

	135
	K67:K68
	46.600
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	20.039
	5.010
	25.049

	136
	K70:K71
	47.212
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	20.302
	5.075
	25.377

	137
	K62:K180
	46.539
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	20.013
	5.003
	25.016

	138
	K63:K64
	40.097
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	17.243
	4.311
	21.553

	139
	K78:K79
	45.597
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	19.608
	4.902
	24.509

	140
	K48:K49
	41.239
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	17.734
	4.433
	22.167

	141
	K49:K50
	27.444
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	11.801
	2.950
	14.752

	142
	K51:K52
	43.403
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	18.664
	4.666
	23.330

	143
	K52:K53
	48.983
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	21.064
	5.266
	26.330

	144
	K80:K87
	52.401
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	22.533
	5.633
	28.167

	145
	K152:K151
	46.776
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	20.115
	5.029
	25.143

	146
	K93:K94
	59.577
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	25.639
	6.410
	32.048

	147
	K4:K59
	49.796
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	21.395
	5.349
	26.744

	148
	K59:K60
	43.183
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	18.554
	4.638
	23.192

	149
	K6:K7
	48.432
	ΔΙΠΛΟΣ ΑΣΦ ΕΝΤΟΣ
	25.468
	6.367
	31.835

	150
	K5:K6
	53.378
	ΔΙΠΛΟΣ ΑΣΦ ΕΝΤΟΣ
	28.031
	7.008
	35.039

	151
	K72:K95
	35.820
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	15.403
	3.851
	19.254

	152
	K95:K96
	28.068
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	12.070
	3.018
	15.088

	153
	K135:K136
	32.520
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	13.995
	3.499
	17.494

	154
	K30:K31
	32.055
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	13.784
	3.446
	17.230

	155
	K92:K97
	31.548
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	13.573
	3.393
	16.966

	156
	K7:K8
	33.748
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	14.523
	3.631
	18.154

	157
	K159:K163
	24.808
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	10.668
	2.667
	13.335

	158
	K164:K170
	51.429
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	22.132
	5.533
	27.665

	159
	K163:K181
	9.770
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	4.201
	1.050
	5.251

	160
	K181:K164
	13.486
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	5.818
	1.454
	7.272

	161
	K162:K163
	42.831
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	18.418
	4.605
	23.023

	162
	K120:K119
	167.736
	Φ75-110 ΑΣΦ ΕΚΤΟΣ
	72.141
	18.035
	90.176

	163
	K119:K129
	88.073
	Φ75-110 ΧΩΜ ΕΚΤΟΣ
	37.902
	9.475
	47.377

	164
	K119:K118
	15.113
	Φ75-110 ΑΣΦ ΕΚΤΟΣ
	6.505
	1.626
	8.131

	165
	K38:K39
	96.772
	Φ75-110 ΑΣΦ ΕΚΤΟΣ
	41.614
	10.404
	52.018

	166
	K34:K35
	35.588
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	15.304
	3.826
	19.130

	167
	K33:K34
	65.248
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	28.058
	7.014
	35.072

	168
	K35:K36
	129.759
	Φ75-110 ΑΣΦ ΕΚΤΟΣ
	55.799
	13.950
	69.749

	169
	K37:K38
	98.190
	Φ75-110 ΑΣΦ ΕΚΤΟΣ
	42.224
	10.556
	52.780

	170
	K124:K125
	96.728
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	41.595
	10.399
	51.994

	171
	K123:K124
	43.872
	Φ75-110 ΑΣΦ ΕΚΤΟΣ
	18.866
	4.716
	23.582

	172
	K122:K123
	67.984
	Φ75-110 ΑΣΦ ΕΚΤΟΣ
	29.234
	7.309
	36.543

	173
	K121:K122
	57.472
	Φ75-110 ΑΣΦ ΕΚΤΟΣ
	24.714
	6.179
	30.893

	174
	K116:K117
	40.720
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	17.510
	4.378
	21.888

	175
	K115:K116
	49.792
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	21.427
	5.357
	26.784

	176
	K13:K14
	56.019
	ΔΙΠΛΟΣ ΑΣΦ ΕΚΤΟΣ
	29.443
	7.361
	36.803

	177
	K11:K12
	45.888
	ΔΙΠΛΟΣ ΑΣΦ ΕΝΤΟΣ
	24.118
	6.029
	30.147

	178
	K12:K13
	42.105
	ΔΙΠΛΟΣ ΑΣΦ ΕΝΤΟΣ
	22.129
	5.532
	27.662

	179
	K24:K25
	101.961
	Φ75-110 ΑΣΦ ΕΚΤΟΣ
	43.845
	10.961
	54.807

	180
	K41:K42
	44.754
	Φ75-110 ΧΩΜ ΕΚΤΟΣ
	19.245
	4.811
	24.057

	181
	K20:K40
	138.567
	Φ75-110 ΧΩΜ ΕΚΤΟΣ
	59.587
	14.897
	74.483

	182
	K40:K41
	55.182
	Φ75-110 ΧΩΜ ΕΚΤΟΣ
	23.729
	5.932
	29.661

	183
	K17:K18
	142.143
	Φ75-110 ΧΩΜ ΕΚΤΟΣ
	61.171
	15.293
	76.463

	184
	K14:K15
	39.062
	ΔΙΠΛΟΣ ΑΣΦ ΕΚΤΟΣ
	20.530
	5.132
	25.662

	185
	K15:K16
	92.739
	ΔΙΠΛΟΣ ΑΣΦ ΕΚΤΟΣ
	48.762
	12.191
	60.953

	186
	K1:K2
	44.759
	ΔΙΠΛΟΣ ΑΣΦ ΕΝΤΟΣ
	24.456
	6.114
	30.570

	187
	K2:K3
	55.075
	ΔΙΠΛΟΣ ΑΣΦ ΕΝΤΟΣ
	30.092
	7.523
	37.616

	188
	K22:K23
	62.715
	Φ75-110 ΑΣΦ ΕΚΤΟΣ
	26.969
	6.742
	33.711

	189
	K118:K117
	44.048
	Φ75-110 ΑΣΦ ΕΚΤΟΣ
	18.942
	4.735
	23.677

	190
	K45:K23
	155.732
	Φ75-110 ΑΣΦ ΕΚΤΟΣ
	66.968
	16.742
	83.710

	191
	K27:K28
	212.639
	Φ75-110 ΧΩΜ ΕΚΤΟΣ
	91.508
	22.877
	114.385

	192
	K28:K29
	101.283
	Φ75-110 ΧΩΜ ΕΚΤΟΣ
	43.586
	10.897
	54.483

	193
	K36:K37
	92.485
	Φ75-110 ΑΣΦ ΕΚΤΟΣ
	39.771
	9.943
	49.713

	194
	K21:K22
	125.535
	ΔΙΠΛΟΣ ΑΣΦ ΕΚΤΟΣ
	65.978
	16.495
	82.473

	195
	K18:K19
	162.098
	Φ75-110 ΧΩΜ ΕΚΤΟΣ
	69.758
	17.439
	87.197

	196
	K44:K45
	33.613
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	14.454
	3.614
	18.068

	197
	K25:K26
	124.543
	Φ75-110 ΑΣΦ ΕΚΤΟΣ
	53.566
	13.391
	66.957

	198
	K89:K90
	2.849
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	1.229
	0.307
	1.536

	199
	K32:K33
	58.886
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	25.322
	6.331
	31.653

	200
	K86:K109
	7.333
	Φ75-110 ΑΣΦ ΕΝΤΟΣ
	3.153
	0.788
	3.942

	201
	R1:K1
	144.348
	ΔΙΠΛΟΣ ΑΣΦ ΕΚΤΟΣ
	78.871
	19.718
	98.588

	202
	K54:K57
	22.925
	Φ75-110 ΧΩΜ ΕΝΤΟΣ
	9.866
	2.466
	12.332

	203
	K55:K58
	25.122
	Φ75-110 ΧΩΜ ΕΝΤΟΣ
	10.811
	2.703
	13.514

	204
	K115:K127
	25.661
	Φ75-110 ΧΩΜ ΕΝΤΟΣ
	11.043
	2.761
	13.804

	205
	K21:K22
	41.730
	Φ75-110 ΑΣΦ ΕΚΤΟΣ
	17.945
	4.486
	22.431

	
	Total
	9786.226
	Total
	4338.500
	1084.625
	5423.124


2. Excavation volume

2.1. Pipe excavations

2.1.1. Total

	From excavation matrix (m³)
	5423.124


2.1.2. Soft soil excavation

	From excavation matrix (m³)
	4338.500


2.1.3. Rock excavations

	From excavation matrix (m³)
	1084.625


2.2. Trench backfill

2.2.1.Total backfill volume

	Total volume (m³)
	1507.312


2.2.2. Restoration (asphalt)

	Total length (m)
	8297.441

	Total area (m²)
	3830.7820

	Total volume (m³)
	1149.235

	Mean thickness (m)
	0.300


2.2.3. Restoration (gravel)

	Total length (m)
	1488.785

	Total area (m²)
	698.2401

	Total volume (m³)
	139.648

	Mean thickness (m)
	0.200


2.3. Augmented soil volume to be transported

	Augmented soil volume to be transported (m³)
	4729.281

	Unagmented soil volume to be transported (m³)
	3915.812

	Mean augmentation factor
	1.1500


2.4. Transportation of soil volume

	Mean transportation distance (m)
	10000.000

	Total (km.m³)
	47293


2.5. Trench support

	Total support area (m²)
	0.0000


2.6. Water pumping

	Number of pumps
	0

	Pump diameter (inch)
	2

	Pump operation time (h)
	0.00


2.7. Dislocation of public utilities

	Expected dislocation of public utilities (m)
	0.000


3. Pipe Sections

3.1. Section : D65.8 x .0001

	#
	From Node
	To Node
	Pipe Name
	Length (m)

	1
	K92
	K93
	K92:K93
	49.104

	2
	K168
	K169
	K168:K169
	22.806

	3
	K144
	K145
	K144:K145
	44.326

	4
	K155
	K156
	K155:K156
	72.682

	5
	K174
	K179
	K174:K179
	15.234

	6
	K172
	K177
	K172:K177
	48.224

	7
	K90
	K91
	K90:K91
	36.320

	8
	K84
	K110
	K84:K110
	40.214

	9
	K16
	K17
	K16:K17
	35.739

	10
	K26
	K27
	K26:K27
	106.363

	11
	K81
	K99
	K81:K99
	32.527

	12
	K76
	K77
	K76:K77
	54.703

	13
	K8
	K9
	K8:K9
	26.831

	14
	K127
	K128
	K127:K128
	45.365

	15
	K130
	K135
	K130:K135
	38.263

	16
	K55
	K58/55
	K55:K58
	24.008

	17
	K112
	K126
	K112:K126
	26.355

	18
	K54
	K54/K57
	K54:K57
	7.775

	19
	K61
	K65
	K61:K65
	59.818

	20
	K145
	K146
	K145:K146
	46.635

	21
	K177
	K178
	K177:K178
	48.082

	22
	K115
	K127/K115
	K115:K127
	29.441

	23
	K93
	K94
	K93:K94
	59.577

	24
	K135
	K136
	K135:K136
	32.520

	25
	K7
	K8
	K7:K8
	33.748

	26
	K164
	K170
	K164:K170
	51.429

	27
	K119
	K129
	K119:K129
	88.073

	28
	K17
	K18
	K17:K18
	142.143

	29
	K27
	K28
	K27:K28
	212.639

	30
	K28
	K29
	K28:K29
	101.283

	31
	K18
	K19
	K18:K19
	162.098

	32
	K54/K57
	K57
	K54:K57
	22.925

	33
	K58/55
	K58
	K55:K58
	25.122

	34
	K127/K115
	K127
	K115:K127
	25.661

	
	
	
	Total
	1868.034


3.2. Section : D79 x .0001

	#
	From Node
	To Node
	Pipe Name
	Length (m)

	1
	K64
	K70
	K64:K70
	43.824

	2
	K180
	K71
	K180:K71
	41.354

	3
	K62
	K63
	K62:K63
	41.009

	4
	K75
	K80
	K75:K80
	48.994

	5
	K97
	K98
	K97:K98
	36.179

	6
	K72
	K92
	K72:K92
	39.277

	7
	K108
	K109
	K108:K109
	32.423

	8
	K82
	K83
	K82:K83
	34.307

	9
	K83
	K84
	K83:K84
	15.110

	10
	K84
	K85
	K84:K85
	23.309

	11
	K98
	K100
	K98:K100
	14.871

	12
	K98
	K81
	K98:K81
	31.417

	13
	K100
	K82
	K100:K82
	26.691

	14
	K82
	K88
	K82:K88
	49.234

	15
	K87
	K88
	K87:K88
	46.348

	16
	K80
	K81
	K80:K81
	20.466

	17
	K81
	K82
	K81:K82
	47.215

	18
	K85
	K111
	K85:K111
	53.373

	19
	K111
	K56
	K111:K56
	52.698

	20
	K56
	K112
	K56:K112
	20.260

	21
	K112
	K113
	K112:K113
	26.953

	22
	K113
	K130
	K113:K130
	24.892

	23
	K132
	K147
	K132:K147
	42.072

	24
	K143
	K142
	K143:K142
	14.532

	25
	K142
	K141
	K142:K141
	11.048

	26
	K140
	K141
	K140:K141
	42.491

	27
	K138
	K139
	K138:K139
	53.177

	28
	K85
	K86
	K85:K86
	10.581

	29
	K139
	K165
	K139:K165
	47.362

	30
	K166
	K175
	K166:K175
	26.373

	31
	K173
	K174
	K173:K174
	33.572

	32
	K176
	K173
	K176:K173
	43.421

	33
	K141
	K157
	K141:K157
	42.885

	34
	K161
	K160
	K161:K160
	35.838

	35
	K160
	K162
	K160:K162
	32.554

	36
	K160
	K159
	K160:K159
	11.120

	37
	K66
	K67
	K66:K67
	49.514

	38
	K46
	K47
	K46:K47
	23.336

	39
	K75
	K78
	K75:K78
	32.497

	40
	K96
	K75
	K96:K75
	55.207

	41
	K71
	K72
	K71:K72
	12.181

	42
	K66
	K64
	K66:K64
	16.239

	43
	K125
	K134
	K125:K134
	21.115

	44
	K134
	K149
	K134:K149
	44.127

	45
	K148
	K150
	K148:K150
	41.418

	46
	K143
	K144
	K143:K144
	39.636

	47
	K151
	K144
	K151:K144
	58.060

	48
	K154
	K155
	K154:K155
	38.416

	49
	K166
	K167
	K166:K167
	41.036

	50
	K168
	K164
	K168:K164
	36.006

	51
	K47
	K48
	K47:K48
	40.532

	52
	K79
	K50
	K79:K50
	42.870

	53
	K76
	K78
	K76:K78
	47.790

	54
	K47
	K76
	K47:K76
	46.015

	55
	K43
	K46
	K43:K46
	13.007

	56
	K43
	K44
	K43:K44
	38.995

	57
	K23
	K24
	K23:K24
	52.659

	58
	K26
	K30
	K26:K30
	40.417

	59
	K51
	K31
	K51:K31
	20.864

	60
	K50
	K51
	K50:K51
	9.060

	61
	K114
	K115
	K114:K115
	32.838

	62
	K55
	K56
	K55:K56
	16.079

	63
	K171
	K109
	K171:K109
	36.765

	64
	K173
	K172
	K173:K172
	13.192

	65
	K133
	K134
	K133:K134
	45.326

	66
	K89
	K83
	K89:K83
	47.706

	67
	K88
	K89
	K88:K89
	8.660

	68
	K10
	K11
	K10:K11
	43.991

	69
	K16
	K20
	K16:K20
	11.893

	70
	K20
	K21
	K20:K21
	109.575

	71
	K42
	K43
	K42:K43
	49.649

	72
	K120
	K121
	K120:K121
	59.254

	73
	K111
	K90
	K111:K90
	23.955

	74
	K53
	K54
	K53:K54
	47.841

	75
	K54
	K55
	K54:K55
	17.699

	76
	K155
	K152
	K155:K152
	48.237

	77
	K150
	K143
	K150:K143
	33.506

	78
	K147
	K148
	K147:K148
	48.745

	79
	K132
	K133
	K132:K133
	50.939

	80
	K142
	K161
	K142:K161
	29.601

	81
	K157
	K158
	K157:K158
	38.587

	82
	K158
	K159
	K158:K159
	36.766

	83
	K139
	K140
	K139:K140
	47.275

	84
	K167
	K168
	K167:K168
	51.533

	85
	K165
	K166
	K165:K166
	42.702

	86
	K175
	K174
	K175:K174
	36.420

	87
	K139
	K176
	K139:K176
	52.065

	88
	K125
	K153
	K125:K153
	36.229

	89
	K153
	K154
	K153:K154
	48.262

	90
	K149
	K148
	K149:K148
	31.668

	91
	K86
	K137
	K86:K137
	54.057

	92
	K137
	K138
	K137:K138
	52.770

	93
	K172
	K171
	K172:K171
	38.459

	94
	K106
	K107
	K106:K107
	43.022

	95
	K105
	K106
	K105:K106
	37.096

	96
	K104
	K105
	K104:K105
	46.631

	97
	K107
	K108
	K107:K108
	12.510

	98
	K113
	K114
	K113:K114
	45.325

	99
	K131
	K132
	K131:K132
	39.035

	100
	K130
	K131
	K130:K131
	49.661

	101
	K103
	K104
	K103:K104
	41.638

	102
	K102
	K103
	K102:K103
	45.072

	103
	K101
	K102
	K101:K102
	38.541

	104
	K100
	K101
	K100:K101
	40.383

	105
	K69
	K46
	K69:K46
	53.552

	106
	K68
	K69
	K68:K69
	48.546

	107
	K67
	K68
	K67:K68
	46.600

	108
	K70
	K71
	K70:K71
	47.212

	109
	K62
	K180
	K62:K180
	46.539

	110
	K63
	K64
	K63:K64
	40.097

	111
	K78
	K79
	K78:K79
	45.597

	112
	K48
	K49
	K48:K49
	41.239

	113
	K49
	K50
	K49:K50
	27.444

	114
	K51
	K52
	K51:K52
	43.403

	115
	K52
	K53
	K52:K53
	48.983

	116
	K80
	K87
	K80:K87
	52.401

	117
	K152
	K151
	K152:K151
	46.776

	118
	K72
	K95
	K72:K95
	35.820

	119
	K95
	K96
	K95:K96
	28.068

	120
	K30
	K31
	K30:K31
	32.055

	121
	K92
	K97
	K92:K97
	31.548

	122
	K159
	K163
	K159:K163
	24.808

	123
	K163
	K181
	K163:K181
	9.770

	124
	K181
	K164
	K181:K164
	13.486

	125
	K162
	K163
	K162:K163
	42.831

	126
	K120
	K119
	K120:K119
	167.736

	127
	K119
	K118
	K119:K118
	15.113

	128
	K38
	K39
	K38:K39
	96.772

	129
	K34
	K35
	K34:K35
	35.588

	130
	K33
	K34
	K33:K34
	65.248

	131
	K35
	K36
	K35:K36
	129.759

	132
	K37
	K38
	K37:K38
	98.190

	133
	K124
	K125
	K124:K125
	96.728

	134
	K123
	K124
	K123:K124
	43.872

	135
	K122
	K123
	K122:K123
	67.984

	136
	K121
	K122
	K121:K122
	57.472

	137
	K116
	K117
	K116:K117
	40.720

	138
	K115
	K116
	K115:K116
	49.792

	139
	K13
	K14
	K13:K14
	56.019

	140
	K11
	K12
	K11:K12
	45.888

	141
	K12
	K13
	K12:K13
	42.105

	142
	K24
	K25
	K24:K25
	101.961

	143
	K41
	K42
	K41:K42
	44.754

	144
	K20
	K40
	K20:K40
	138.567

	145
	K40
	K41
	K40:K41
	55.182

	146
	K14
	K15
	K14:K15
	39.062

	147
	K15
	K16
	K15:K16
	92.739

	148
	K22
	K23
	K22:K23
	62.715

	149
	K118
	K117
	K118:K117
	44.048

	150
	K45
	K23
	K45:K23
	155.732

	151
	K36
	K37
	K36:K37
	92.485

	152
	K21
	K21/K22
	K21:K22
	125.535

	153
	K44
	K45
	K44:K45
	33.613

	154
	K25
	K26
	K25:K26
	124.543

	155
	K89
	K90
	K89:K90
	2.849

	156
	K32
	K33
	K32:K33
	58.886

	157
	K86
	K109
	K86:K109
	7.333

	158
	K21/K22
	K22
	K21:K22
	41.730

	
	
	
	Total
	6996.877


3.3. Section : D97 x .0001

	#
	From Node
	To Node
	Pipe Name
	Length (m)

	1
	K4
	K5
	K4:K5
	51.913

	2
	K7
	K10
	K7:K10
	4.624

	3
	K10
	K66
	K10:K66
	43.658

	4
	K61
	K62
	K61:K62
	58.904

	5
	K60
	K61
	K60:K61
	40.376

	6
	K4
	K59
	K4:K59
	49.796

	7
	K59
	K60
	K59:K60
	43.183

	8
	K6
	K7
	K6:K7
	48.432

	9
	K5
	K6
	K5:K6
	53.378

	10
	ΑΝΤΛ
	R1
	ΚΑΤΑΘΛΙΠΤΙΚΟΣ
	1263.289

	
	
	
	Total
	1657.554


3.4. Section : D123.6 x .0001

	#
	From Node
	To Node
	Pipe Name
	Length (m)

	1
	R1
	R1/K1
	R1:K1
	282.869

	2
	K1
	K2
	K1:K2
	44.759

	3
	K2
	K3
	K2:K3
	55.075

	4
	R1/K1
	K1
	R1:K1
	144.348

	
	
	
	Total
	527.051


4. Marking grid

	Total length (m)
	9786.226


5. Manholes (per type)

5.1. Manhole specification : ΤΥΠΟΥ Α

	Number of nodes
	12


5.2. Manhole specification : ΤΥΠΟΥ Β

	Number of nodes
	8


5.3. Manhole specification : ΜΕΙΩΤΕΣ ΠΙΕΣΗΣ

	Number of nodes
	2


6. Manholes

6.1. Manhole specification : ΤΥΠΟΥ Α

	#
	Node
	Neck height (m)
	Concrete volume C16/20  (m³)
	Bottom concrete volume C8/10  (m³)
	Sublayer concrete volume C8/10  (m³)
	Wood forms (m²)
	Asphalt (m²)

	1
	K100
	0.000
	1.690
	0.240
	0.224
	16.7340
	9.9670

	2
	K111
	0.000
	1.690
	0.240
	0.224
	16.7340
	9.9670

	3
	K125
	0.000
	1.690
	0.240
	0.224
	16.7340
	9.9670

	4
	K143
	0.000
	1.690
	0.240
	0.224
	16.7340
	9.9670

	5
	K23
	0.000
	1.690
	0.240
	0.224
	16.7340
	9.9670

	6
	K43
	0.000
	1.690
	0.240
	0.224
	16.7340
	9.9670

	7
	K75
	0.000
	1.690
	0.240
	0.224
	16.7340
	9.9670

	8
	K80
	0.000
	1.690
	0.240
	0.224
	16.7340
	9.9670

	9
	K85
	0.000
	1.690
	0.240
	0.224
	16.7340
	9.9670

	10
	K86
	0.000
	1.690
	0.240
	0.224
	16.7340
	9.9670

	11
	K89
	0.000
	1.690
	0.240
	0.224
	16.7340
	9.9670

	12
	K92
	0.000
	1.698
	0.240
	0.224
	16.8240
	10.0120

	
	
	Total
	20.291
	2.880
	2.688
	200.8980
	119.6490


6.2. Manhole specification : ΤΥΠΟΥ Β

	#
	Node
	Neck height (m)
	Concrete volume C16/20  (m³)
	Bottom concrete volume C8/10  (m³)
	Sublayer concrete volume C8/10  (m³)
	Wood forms (m²)
	Asphalt (m²)

	1
	K10
	0.000
	2.359
	0.450
	0.361
	22.0632
	13.6366

	2
	K109
	0.000
	2.347
	0.450
	0.361
	21.9264
	13.5682

	3
	K139
	0.000
	2.347
	0.450
	0.361
	21.9264
	13.5682

	4
	K166
	0.000
	2.347
	0.450
	0.361
	21.9264
	13.5682

	5
	K46
	0.000
	2.347
	0.450
	0.361
	21.9264
	13.5682

	6
	K51
	0.000
	2.347
	0.450
	0.361
	21.9264
	13.5682

	7
	K72
	0.000
	2.347
	0.450
	0.361
	21.9264
	13.5682

	8
	K82
	0.000
	2.347
	0.450
	0.361
	21.9264
	13.5682

	
	
	Total
	18.784
	3.600
	2.888
	175.5480
	108.6140


6.3. Manhole specification : ΜΕΙΩΤΕΣ ΠΙΕΣΗΣ

	#
	Node
	Neck height (m)
	Concrete volume C16/20  (m³)
	Bottom concrete volume C8/10  (m³)
	Sublayer concrete volume C8/10  (m³)
	Wood forms (m²)
	Asphalt (m²)

	1
	K31
	0.000
	3.797
	1.008
	0.704
	33.0012
	21.4606

	2
	K4
	0.000
	3.795
	1.008
	0.704
	32.9796
	21.4498

	
	
	Total
	7.592
	2.016
	1.408
	65.9808
	42.9104


7. Trenches

7.1. Trench : Φ75-110 ΧΩΜ ΕΝΤΟΣ (Type V)

	#
	Pipe
	Length (m)
	Base Quarry sand  (m³)
	Confinement Quarry sand  (m³)
	Cover Quarry sand  (m³)

	1
	K26:K27
	106.363
	9.573
	2.689
	14.359

	2
	K127:K128
	45.365
	4.083
	1.147
	6.124

	3
	K54:K57
	22.925
	2.063
	0.580
	3.095

	4
	K55:K58
	25.122
	2.261
	0.635
	3.392

	5
	K115:K127
	25.661
	2.310
	0.649
	3.464

	
	Σύνολο:
	225.437
	20.289
	5.699
	30.434


7.2. Trench : Φ75-110 ΑΣΦ ΕΝΤΟΣ (Type V)

	#
	Pipe
	Length (m)
	Base Quarry sand  (m³)
	Confinement Quarry sand  (m³)
	Cover Quarry sand  (m³)

	1
	K10:K66
	43.658
	3.929
	1.495
	5.894

	2
	K61:K62
	58.904
	5.301
	2.017
	7.952

	3
	K60:K61
	40.376
	3.634
	1.383
	5.451

	4
	K64:K70
	43.824
	3.944
	1.284
	5.916

	5
	K180:K71
	41.354
	3.722
	1.212
	5.583

	6
	K62:K63
	41.009
	3.691
	1.202
	5.536

	7
	K75:K80
	48.994
	4.409
	1.436
	6.614

	8
	K97:K98
	36.179
	3.256
	1.060
	4.884

	9
	K72:K92
	39.277
	3.535
	1.151
	5.302

	10
	K92:K93
	49.104
	4.419
	1.241
	6.629

	11
	K108:K109
	32.423
	2.918
	0.950
	4.377

	12
	K82:K83
	34.307
	3.088
	1.005
	4.631

	13
	K83:K84
	15.110
	1.360
	0.443
	2.040

	14
	K84:K85
	23.309
	2.098
	0.683
	3.147

	15
	K98:K100
	14.871
	1.338
	0.436
	2.008

	16
	K98:K81
	31.417
	2.828
	0.921
	4.241

	17
	K100:K82
	26.691
	2.402
	0.782
	3.603

	18
	K82:K88
	49.234
	4.431
	1.443
	6.647

	19
	K87:K88
	46.348
	4.171
	1.358
	6.257

	20
	K80:K81
	20.466
	1.842
	0.600
	2.763

	21
	K81:K82
	47.215
	4.249
	1.384
	6.374

	22
	K85:K111
	53.373
	4.804
	1.564
	7.205

	23
	K111:K56
	52.698
	4.743
	1.545
	7.114

	24
	K56:K112
	20.260
	1.823
	0.594
	2.735

	25
	K112:K113
	26.953
	2.426
	0.790
	3.639

	26
	K113:K130
	24.892
	2.240
	0.730
	3.360

	27
	K132:K147
	42.072
	3.786
	1.233
	5.680

	28
	K143:K142
	14.532
	1.308
	0.426
	1.962

	29
	K142:K141
	11.048
	0.994
	0.324
	1.491

	30
	K140:K141
	42.491
	3.824
	1.245
	5.736

	31
	K138:K139
	53.177
	4.786
	1.559
	7.179

	32
	K85:K86
	10.581
	0.952
	0.310
	1.428

	33
	K139:K165
	47.362
	4.263
	1.388
	6.394

	34
	K166:K175
	26.373
	2.374
	0.773
	3.560

	35
	K173:K174
	33.572
	3.021
	0.984
	4.532

	36
	K176:K173
	43.421
	3.908
	1.273
	5.862

	37
	K141:K157
	42.885
	3.860
	1.257
	5.789

	38
	K161:K160
	35.838
	3.225
	1.050
	4.838

	39
	K160:K162
	32.554
	2.930
	0.954
	4.395

	40
	K160:K159
	11.120
	1.001
	0.326
	1.501

	41
	K66:K67
	49.514
	4.456
	1.451
	6.684

	42
	K46:K47
	23.336
	2.100
	0.684
	3.150

	43
	K75:K78
	32.497
	2.925
	0.952
	4.387

	44
	K96:K75
	55.207
	4.969
	1.618
	7.453

	45
	K71:K72
	12.181
	1.096
	0.357
	1.644

	46
	K66:K64
	16.239
	1.462
	0.476
	2.192

	47
	K125:K134
	21.115
	1.900
	0.619
	2.851

	48
	K134:K149
	44.127
	3.971
	1.293
	5.957

	49
	K148:K150
	41.418
	3.728
	1.214
	5.591

	50
	K143:K144
	39.636
	3.567
	1.162
	5.351

	51
	K151:K144
	58.060
	5.225
	1.702
	7.838

	52
	K154:K155
	38.416
	3.457
	1.126
	5.186

	53
	K166:K167
	41.036
	3.693
	1.203
	5.540

	54
	K168:K164
	36.006
	3.241
	1.055
	4.861

	55
	K168:K169
	22.806
	2.053
	0.577
	3.079

	56
	K144:K145
	44.326
	3.989
	1.121
	5.984

	57
	K47:K48
	40.532
	3.648
	1.188
	5.472

	58
	K79:K50
	42.870
	3.858
	1.256
	5.787

	59
	K76:K78
	47.790
	4.301
	1.401
	6.452

	60
	K47:K76
	46.015
	4.141
	1.349
	6.212

	61
	K43:K46
	13.007
	1.171
	0.381
	1.756

	62
	K43:K44
	38.995
	3.510
	1.143
	5.264

	63
	K26:K30
	40.417
	3.638
	1.185
	5.456

	64
	K51:K31
	20.864
	1.878
	0.611
	2.817

	65
	K50:K51
	9.060
	0.815
	0.266
	1.223

	66
	K174:K179
	15.234
	1.371
	0.385
	2.057

	67
	K114:K115
	32.838
	2.955
	0.962
	4.433

	68
	K55:K56
	16.079
	1.447
	0.471
	2.171

	69
	K171:K109
	36.765
	3.309
	1.078
	4.963

	70
	K173:K172
	13.192
	1.187
	0.387
	1.781

	71
	K172:K177
	48.224
	4.340
	1.219
	6.510

	72
	K133:K134
	45.326
	4.079
	1.328
	6.119

	73
	K90:K91
	36.320
	3.269
	0.918
	4.903

	74
	K89:K83
	47.706
	4.294
	1.398
	6.440

	75
	K88:K89
	8.660
	0.779
	0.254
	1.169

	76
	K84:K110
	40.214
	3.619
	1.017
	5.429

	77
	K42:K43
	49.649
	4.468
	1.455
	6.703

	78
	K81:K99
	32.527
	2.927
	0.822
	4.391

	79
	K76:K77
	54.703
	4.923
	1.383
	7.385

	80
	K8:K9
	26.831
	2.415
	0.678
	3.622

	81
	K130:K135
	38.263
	3.444
	0.967
	5.165

	82
	K55:K58
	24.008
	2.161
	0.607
	3.241

	83
	K112:K126
	26.355
	2.372
	0.666
	3.558

	84
	K54:K57
	7.775
	0.700
	0.197
	1.050

	85
	K111:K90
	23.955
	2.156
	0.702
	3.234

	86
	K61:K65
	59.818
	5.384
	1.512
	8.075

	87
	K53:K54
	47.841
	4.306
	1.402
	6.458

	88
	K54:K55
	17.699
	1.593
	0.519
	2.389

	89
	K155:K152
	48.237
	4.341
	1.414
	6.512

	90
	K150:K143
	33.506
	3.016
	0.982
	4.523

	91
	K147:K148
	48.745
	4.387
	1.429
	6.581

	92
	K132:K133
	50.939
	4.585
	1.493
	6.877

	93
	K142:K161
	29.601
	2.664
	0.868
	3.996

	94
	K157:K158
	38.587
	3.473
	1.131
	5.209

	95
	K158:K159
	36.766
	3.309
	1.078
	4.963

	96
	K139:K140
	47.275
	4.255
	1.386
	6.382

	97
	K167:K168
	51.533
	4.638
	1.510
	6.957

	98
	K165:K166
	42.702
	3.843
	1.252
	5.765

	99
	K175:K174
	36.420
	3.278
	1.067
	4.917

	100
	K139:K176
	52.065
	4.686
	1.526
	7.029

	101
	K145:K146
	46.635
	4.197
	1.179
	6.296

	102
	K125:K153
	36.229
	3.261
	1.062
	4.891

	103
	K153:K154
	48.262
	4.344
	1.415
	6.515

	104
	K149:K148
	31.668
	2.850
	0.928
	4.275

	105
	K86:K137
	54.057
	4.865
	1.584
	7.298

	106
	K137:K138
	52.770
	4.749
	1.547
	7.124

	107
	K177:K178
	48.082
	4.327
	1.216
	6.491

	108
	K172:K171
	38.459
	3.461
	1.127
	5.192

	109
	K106:K107
	43.022
	3.872
	1.261
	5.808

	110
	K105:K106
	37.096
	3.339
	1.087
	5.008

	111
	K104:K105
	46.631
	4.197
	1.367
	6.295

	112
	K107:K108
	12.510
	1.126
	0.367
	1.689

	113
	K113:K114
	45.325
	4.079
	1.328
	6.119

	114
	K115:K127
	29.441
	2.650
	0.744
	3.974

	115
	K131:K132
	39.035
	3.513
	1.144
	5.270

	116
	K130:K131
	49.661
	4.469
	1.456
	6.704

	117
	K103:K104
	41.638
	3.747
	1.220
	5.621

	118
	K102:K103
	45.072
	4.056
	1.321
	6.085

	119
	K101:K102
	38.541
	3.469
	1.130
	5.203

	120
	K100:K101
	40.383
	3.635
	1.184
	5.452

	121
	K69:K46
	53.552
	4.820
	1.570
	7.229

	122
	K68:K69
	48.546
	4.369
	1.423
	6.554

	123
	K67:K68
	46.600
	4.194
	1.366
	6.291

	124
	K70:K71
	47.212
	4.249
	1.384
	6.374

	125
	K62:K180
	46.539
	4.188
	1.364
	6.283

	126
	K63:K64
	40.097
	3.609
	1.175
	5.413

	127
	K78:K79
	45.597
	4.104
	1.336
	6.156

	128
	K48:K49
	41.239
	3.712
	1.209
	5.567

	129
	K49:K50
	27.444
	2.470
	0.804
	3.705

	130
	K51:K52
	43.403
	3.906
	1.272
	5.859

	131
	K52:K53
	48.983
	4.408
	1.436
	6.613

	132
	K80:K87
	52.401
	4.716
	1.536
	7.074

	133
	K152:K151
	46.776
	4.210
	1.371
	6.315

	134
	K93:K94
	59.577
	5.362
	1.506
	8.043

	135
	K4:K59
	49.796
	4.482
	1.705
	6.722

	136
	K59:K60
	43.183
	3.886
	1.479
	5.830

	137
	K72:K95
	35.820
	3.224
	1.050
	4.836

	138
	K95:K96
	28.068
	2.526
	0.823
	3.789

	139
	K135:K136
	32.520
	2.927
	0.822
	4.390

	140
	K30:K31
	32.055
	2.885
	0.940
	4.327

	141
	K92:K97
	31.548
	2.839
	0.925
	4.259

	142
	K7:K8
	33.748
	3.037
	0.853
	4.556

	143
	K159:K163
	24.808
	2.233
	0.727
	3.349

	144
	K164:K170
	51.429
	4.629
	1.300
	6.943

	145
	K163:K181
	9.770
	0.879
	0.286
	1.319

	146
	K181:K164
	13.486
	1.214
	0.395
	1.821

	147
	K162:K163
	42.831
	3.855
	1.255
	5.782

	148
	K34:K35
	35.588
	3.203
	1.043
	4.804

	149
	K33:K34
	65.248
	5.872
	1.912
	8.808

	150
	K124:K125
	96.728
	8.706
	2.835
	13.058

	151
	K116:K117
	40.720
	3.665
	1.193
	5.497

	152
	K115:K116
	49.792
	4.481
	1.459
	6.722

	153
	K44:K45
	33.613
	3.025
	0.985
	4.538

	154
	K89:K90
	2.849
	0.256
	0.083
	0.385

	155
	K32:K33
	58.886
	5.300
	1.726
	7.950

	156
	K86:K109
	7.333
	0.660
	0.215
	0.990

	
	Σύνολο:
	5843.399
	525.906
	169.092
	788.859


7.3. Trench : ΔΙΠΛΟΣ ΑΣΦ ΕΝΤΟΣ (Type V)

	#
	Pipe
	Length (m)
	Base Quarry sand  (m³)
	Confinement Quarry sand  (m³)
	Cover Quarry sand  (m³)

	1
	K4:K5
	51.913
	5.710
	2.281
	8.566

	2
	K7:K10
	4.624
	0.509
	0.203
	0.763

	3
	K10:K11
	43.991
	4.839
	1.637
	7.259

	4
	K6:K7
	48.432
	5.327
	2.128
	7.991

	5
	K5:K6
	53.378
	5.872
	2.345
	8.807

	6
	K11:K12
	45.888
	5.048
	1.707
	7.572

	7
	K12:K13
	42.105
	4.632
	1.567
	6.947

	8
	K1:K2
	44.759
	4.923
	2.359
	7.385

	9
	K2:K3
	55.075
	6.058
	2.903
	9.087

	
	Σύνολο:
	390.165
	42.918
	17.130
	64.377


7.4. Trench : Φ75-110 ΧΩΜ ΕΚΤΟΣ (Type V)

	#
	Pipe
	Length (m)
	Base Quarry sand  (m³)
	Confinement Quarry sand  (m³)
	Cover Quarry sand  (m³)

	1
	K16:K17
	35.739
	3.217
	0.903
	4.825

	2
	K119:K129
	88.073
	7.927
	2.227
	11.890

	3
	K41:K42
	44.754
	4.028
	1.312
	6.042

	4
	K20:K40
	138.567
	12.471
	4.061
	18.707

	5
	K40:K41
	55.182
	4.966
	1.617
	7.450

	6
	K17:K18
	142.143
	12.793
	3.593
	19.189

	7
	K27:K28
	212.639
	19.138
	5.376
	28.706

	8
	K28:K29
	101.283
	9.115
	2.560
	13.673

	9
	K18:K19
	162.098
	14.589
	4.098
	21.883

	
	Σύνολο:
	980.479
	88.243
	25.748
	132.365


7.5. Trench : Φ75-110 ΑΣΦ ΕΚΤΟΣ (Type V)

	#
	Pipe
	Length (m)
	Base Quarry sand  (m³)
	Confinement Quarry sand  (m³)
	Cover Quarry sand  (m³)

	1
	K155:K156
	72.682
	6.541
	1.837
	9.812

	2
	K23:K24
	52.659
	4.739
	1.543
	7.109

	3
	K120:K121
	59.254
	5.333
	1.737
	7.999

	4
	K120:K119
	167.736
	15.096
	4.916
	22.644

	5
	K119:K118
	15.113
	1.360
	0.443
	2.040

	6
	K38:K39
	96.772
	8.710
	2.836
	13.064

	7
	K35:K36
	129.759
	11.678
	3.803
	17.517

	8
	K37:K38
	98.190
	8.837
	2.878
	13.256

	9
	K123:K124
	43.872
	3.948
	1.286
	5.923

	10
	K122:K123
	67.984
	6.119
	1.993
	9.178

	11
	K121:K122
	57.472
	5.172
	1.684
	7.759

	12
	K24:K25
	101.961
	9.176
	2.988
	13.765

	13
	K22:K23
	62.715
	5.644
	1.838
	8.467

	14
	K118:K117
	44.048
	3.964
	1.291
	5.946

	15
	K45:K23
	155.732
	14.016
	4.564
	21.024

	16
	K36:K37
	92.485
	8.324
	2.711
	12.486

	17
	K25:K26
	124.543
	11.209
	3.650
	16.813

	18
	K21:K22
	41.730
	3.756
	1.223
	5.634

	
	Σύνολο:
	1484.708
	133.624
	43.222
	200.436


7.6. Trench : ΔΙΠΛΟΣ ΑΣΦ ΕΚΤΟΣ (Type V)

	#
	Pipe
	Length (m)
	Base Quarry sand  (m³)
	Confinement Quarry sand  (m³)
	Cover Quarry sand  (m³)

	1
	K16:K20
	11.893
	1.308
	0.443
	1.962

	2
	K20:K21
	109.575
	12.053
	4.077
	18.080

	3
	K13:K14
	56.019
	6.162
	2.084
	9.243

	4
	K14:K15
	39.062
	4.297
	1.453
	6.445

	5
	K15:K16
	92.739
	10.201
	3.451
	15.302

	6
	K21:K22
	125.535
	13.809
	4.671
	20.713

	7
	R1:K1
	144.348
	15.878
	7.608
	23.817

	
	Σύνολο:
	579.170
	63.709
	23.787
	95.563


7.7. Trench : ΔΙΠΛΟΣ ΧΩΜ ΕΚΤΟΣ (Type V)

	#
	Pipe
	Length (m)
	Base Quarry sand  (m³)
	Confinement Quarry sand  (m³)
	Cover Quarry sand  (m³)

	1
	R1:K1
	282.869
	31.116
	14.908
	46.673

	
	Σύνολο:
	282.869
	31.116
	14.908
	46.673


8. Special Devices Count

	No
	Type
	Number

	1
	Vacuum valves
	7

	2
	Air release valves
	8

	3
	Pipe valves
	0

	4
	Fire hydrants
	10

	5
	Pressure release valves
	0


[image: image2.png]AN W

Orkﬂ 0



  Water Networks - Quantities calculation
Page: 3/23

[image: image2.png]