Construction Noise v4.0 - Calculations Report Copyright ©1996-2010 TechnoLogismiki www.technologismiki.com

Contents

Project information	3

Data	3

Noise Metric	3

Noise Limit Criteria	3

N-231 in C17A6	4

Equipment	4

Original	4

Equipment	4

Results	5

N-231 in C17A6	5

Noise limits (dBA)	5

Noise limit exceedance (dBA)	5

Original	5

Noise limits (dBA)	6

Noise limit exceedance (dBA)	6

# Project information

# Data

## Noise Metric

| Use Leq to estimate noise | No |
| --- | --- |
| Use L10 to estimate noise | Yes |
| L10 = Leq + | 3.0 |

## Noise Limit Criteria

| Lmax (dBA) | Residential | Day | Impact | Value [90.0] |
| --- | --- | --- | --- | --- |
| Lmax (dBA) | Residential | Day | Non-Impact | Value [85.0] |
| Lmax (dBA) | Residential | Evening | Impact | Value [85.0] |
| Lmax (dBA) | Residential | Evening | Non-Impact | Value [85.0] |
| Lmax (dBA) | Residential | Night | Impact | Value [80.0] |
| Lmax (dBA) | Residential | Night | Non-Impact | Value [80.0] |
| Lmax (dBA) | Commercial | Day | Impact | N/A |
| Lmax (dBA) | Commercial | Day | Non-Impact | N/A |
| Lmax (dBA) | Commercial | Evening | Impact | N/A |
| Lmax (dBA) | Commercial | Evening | Non-Impact | N/A |
| Lmax (dBA) | Commercial | Night | Impact | N/A |
| Lmax (dBA) | Commercial | Night | Non-Impact | N/A |
| Lmax (dBA) | Industrial | Day | Impact | N/A |
| Lmax (dBA) | Industrial | Day | Non-Impact | N/A |
| Lmax (dBA) | Industrial | Evening | Impact | N/A |
| Lmax (dBA) | Industrial | Evening | Non-Impact | N/A |
| Lmax (dBA) | Industrial | Night | Impact | N/A |
| Lmax (dBA) | Industrial | Night | Non-Impact | N/A |
| L10 (dBA) | Residential | Day | Impact | Exempt |
| L10 (dBA) | Residential | Day | Non-Impact | Maximum [75.0/5.0] |
| L10 (dBA) | Residential | Evening | Impact | Baseline [5.0] |
| L10 (dBA) | Residential | Evening | Non-Impact | Baseline [5.0] |
| L10 (dBA) | Residential | Night | Impact | Conditional [70.0/5.0/3.0] |
| L10 (dBA) | Residential | Night | Non-Impact | Conditional [70.0/5.0/3.0] |
| L10 (dBA) | Commercial | Day | Impact | Exempt |
| L10 (dBA) | Commercial | Day | Non-Impact | Maximum [75.0/5.0] |
| L10 (dBA) | Commercial | Evening | Impact | N/A |
| L10 (dBA) | Commercial | Evening | Non-Impact | N/A |
| L10 (dBA) | Commercial | Night | Impact | N/A |
| L10 (dBA) | Commercial | Night | Non-Impact | N/A |
| L10 (dBA) | Industrial | Day | Impact | Exempt |
| L10 (dBA) | Industrial | Day | Non-Impact | Maximum [75.0/5.0] |
| L10 (dBA) | Industrial | Evening | Impact | N/A |
| L10 (dBA) | Industrial | Evening | Non-Impact | N/A |
| L10 (dBA) | Industrial | Night | Impact | N/A |
| L10 (dBA) | Industrial | Night | Non-Impact | N/A |

## N-231 in C17A6

| Active | Yes |
| --- | --- |
| Land use | Residential |
| Daytime baseline (dBA) | 78.0 |
| Evening baseline (dBA) | 75.0 |
| Nighttime baseline (dBA) | 71.0 |

### Equipment

| Name | Active | Spec / Actual | Distance (m) | Shielding (dBA) |
| --- | --- | --- | --- | --- |
| 1. Blasting | Yes | Spec | 15.240 | 0.0 |
| 2. Jackhammer | Yes | Actual | 15.240 | 0.0 |
| 3. Blasting | Yes | Spec | 15.240 | 0.0 |
| 4. Blasting | Yes | Spec | 15.240 | 0.0 |
| 5. Jackhammer | Yes | Actual | 15.240 | 0.0 |

## Original

| Active | Yes |
| --- | --- |
| Land use | Residential |
| Daytime baseline (dBA) | 78.0 |
| Evening baseline (dBA) | 75.0 |
| Nighttime baseline (dBA) | 71.0 |

### Equipment

| Name | Active | Spec / Actual | Distance (m) | Shielding (dBA) |
| --- | --- | --- | --- | --- |
| 1. Compactor (ground) | Yes | Actual | 15.240 | 0.0 |
| 2. Concrete Saw | Yes | Actual | 15.240 | 0.0 |
| 3. Dozer | Yes | Actual | 15.240 | 0.0 |
| 4. Flat Bed Truck | Yes | Actual | 15.240 | 0.0 |
| 5. Excavator | Yes | Actual | 15.240 | 0.0 |

# Results

## N-231 in C17A6

| No | Equipment | Calculated (dBA)/Lmax | Calculated (dBA)/L10 |
| --- | --- | --- | --- |
| * | Total | 94.0 | 88.9 |
| 1 | Blasting | 94.0 | 77.0 |
| 2 | Jackhammer | 88.9 | 84.9 |
| 3 | Blasting | 94.0 | 77.0 |
| 4 | Blasting | 94.0 | 77.0 |
| 5 | Jackhammer | 88.9 | 84.9 |

### Noise limits (dBA)

| Import equipment from file... | Day/Lmax | Day/L10 | Evening/Lmax | Evening/L10 | Night/Lmax | Night/L10 |
| --- | --- | --- | --- | --- | --- | --- |
| * | 90.0 | Exempt | 85.0 | 80.0 | 80.0 | 74.0 |
| 1. | 90.0 | Exempt | 85.0 | 80.0 | 80.0 | 74.0 |
| 2. | 90.0 | Exempt | 85.0 | 80.0 | 80.0 | 74.0 |
| 3. | 90.0 | Exempt | 85.0 | 80.0 | 80.0 | 74.0 |
| 4. | 90.0 | Exempt | 85.0 | 80.0 | 80.0 | 74.0 |
| 5. | 90.0 | Exempt | 85.0 | 80.0 | 80.0 | 74.0 |

### Noise limit exceedance (dBA)

| Import equipment from file... | Day/Lmax | Day/L10 | Evening/Lmax | Evening/L10 | Night/Lmax | Night/L10 |
| --- | --- | --- | --- | --- | --- | --- |
| * | 90.0 | Exempt | 85.0 | 80.0 | 80.0 | 74.0 |
| 1. | 4.0 | Exempt | 9.0 | None | 14.0 | 3.0 |
| 2. | None | Exempt | 3.9 | 4.9 | 8.9 | 10.9 |
| 3. | 4.0 | Exempt | 9.0 | None | 14.0 | 3.0 |
| 4. | 4.0 | Exempt | 9.0 | None | 14.0 | 3.0 |
| 5. | None | Exempt | 3.9 | 4.9 | 8.9 | 10.9 |

## Original

| No | Equipment | Calculated (dBA)/Lmax | Calculated (dBA)/L10 |
| --- | --- | --- | --- |
| * | Total | 89.6 | 88.3 |
| 1 | Compactor (ground) | 83.2 | 79.2 |
| 2 | Concrete Saw | 89.6 | 85.6 |
| 3 | Dozer | 81.7 | 80.7 |
| 4 | Flat Bed Truck | 74.2 | 73.3 |
| 5 | Excavator | 80.7 | 79.7 |

### Noise limits (dBA)

| Import equipment from file... | Day/Lmax | Day/L10 | Evening/Lmax | Evening/L10 | Night/Lmax | Night/L10 |
| --- | --- | --- | --- | --- | --- | --- |
| * | 85.0 | 83.0 | 85.0 | 80.0 | 80.0 | 74.0 |
| 1. | 85.0 | 83.0 | 85.0 | 80.0 | 80.0 | 74.0 |
| 2. | 85.0 | 83.0 | 85.0 | 80.0 | 80.0 | 74.0 |
| 3. | 85.0 | 83.0 | 85.0 | 80.0 | 80.0 | 74.0 |
| 4. | 85.0 | 83.0 | 85.0 | 80.0 | 80.0 | 74.0 |
| 5. | 85.0 | 83.0 | 85.0 | 80.0 | 80.0 | 74.0 |

### Noise limit exceedance (dBA)

| Import equipment from file... | Day/Lmax | Day/L10 | Evening/Lmax | Evening/L10 | Night/Lmax | Night/L10 |
| --- | --- | --- | --- | --- | --- | --- |
| * | 85.0 | 83.0 | 85.0 | 80.0 | 80.0 | 74.0 |
| 1. | None | None | None | None | 3.2 | 5.2 |
| 2. | 4.6 | 2.6 | 4.6 | 5.6 | 9.6 | 11.6 |
| 3. | None | None | None | 0.7 | 1.7 | 6.7 |
| 4. | None | None | None | None | None | None |
| 5. | None | None | None | None | 0.7 | 5.7 |