Sewer Networks v9.0 - Copyright ©1996-2010 TechnoLogismiki www.technologismiki.com

Contents

Project information	3

1. Conduit Excavations	3

2. Excavation volume	10

2.1. Conduit excavations	10

2.1.1. Total	10

2.1.2. Soft soil excavation	11

2.1.3. Rock excavations	11

2.2. Trench backfill	11

2.2.1.Total backfill volume	11

2.2.2. Restoration (asphalt)	11

2.2.3. Restoration (concrete)	11

2.2.4. Restoration (gravel)	11

2.3. Augmented soil volume to be transported	11

2.4. Transportation of soil volume	11

2.5. Trench support	11

2.6. Water pumping	12

2.7. Dislocation of public utilities	12

3. Conduit Sections	12

3.1. Section : D   0.2	12

3.2. Section : D   0.25	18

4. Marking grid	20

5. Manholes (per type)	20

5.1. Manhole specification : Τυπικό φρεάτιο	20

6. Manholes	20

6.1. Manhole specification : Τυπικό φρεάτιο	20

7. Trenches	28

7.1. Trench : Φ200-250 ΧΩΜ (Type V)	28

7.2. Trench : Φ200-250 ΑΣΦ (Type V)	28

7.3. Trench : Φ200-250 ΤΣΙΜ (Type V)	35

# Project information

# 1. Conduit Excavations

| # | Name | Length (m) | Trench | Soil Volume (m³) | Rock Volume (m³) | Excavation Volume (m³) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | J 1:J 2 | 25.778 | Φ200-250 ΑΣΦ | 27.552 | 6.888 | 34.440 |
| 2 | J 2:J 3 | 31.473 | Φ200-250 ΑΣΦ | 33.638 | 8.410 | 42.048 |
| 3 | J 3:J 4 | 44.420 | Φ200-250 ΑΣΦ | 47.476 | 11.869 | 59.344 |
| 4 | J 4:J 5 | 28.308 | Φ200-250 ΑΣΦ | 30.256 | 7.564 | 37.820 |
| 5 | J 5:J 6 | 34.692 | Φ200-250 ΑΣΦ | 37.079 | 9.270 | 46.349 |
| 6 | J 6:J 7 | 18.634 | Φ200-250 ΑΣΦ | 19.916 | 4.979 | 24.895 |
| 7 | J 7:J 8 | 49.635 | Φ200-250 ΑΣΦ | 53.050 | 13.262 | 66.312 |
| 8 | J 8:J 9 | 55.897 | Φ200-250 ΑΣΦ | 59.743 | 14.936 | 74.679 |
| 9 | J 9:J 10 | 49.587 | Φ200-250 ΑΣΦ | 73.932 | 18.483 | 92.415 |
| 10 | J 10:J 11 | 31.408 | Φ200-250 ΑΣΦ | 62.004 | 15.501 | 77.505 |
| 11 | J 12:J 13 | 23.410 | Φ200-250 ΑΣΦ | 25.020 | 6.255 | 31.276 |
| 12 | J 13:J 14 | 49.182 | Φ200-250 ΑΣΦ | 52.565 | 13.141 | 65.707 |
| 13 | J 15:J 16 | 25.491 | Φ200-250 ΑΣΦ | 27.245 | 6.811 | 34.056 |
| 14 | J 16:J 17 | 21.184 | Φ200-250 ΑΣΦ | 22.641 | 5.660 | 28.301 |
| 15 | J 17:J 14 | 11.903 | Φ200-250 ΑΣΦ | 12.722 | 3.181 | 15.903 |
| 16 | J 14:J 18 | 28.283 | Φ200-250 ΑΣΦ | 30.229 | 7.557 | 37.786 |
| 17 | J 21:J 22 | 42.064 | Φ200-250 ΑΣΦ | 44.958 | 11.239 | 56.197 |
| 18 | J 22:J 23 | 50.527 | Φ200-250 ΑΣΦ | 54.004 | 13.501 | 67.505 |
| 19 | J 23:J 24 | 28.338 | Φ200-250 ΑΣΦ | 30.288 | 7.572 | 37.860 |
| 20 | J 25:J 293 | 45.263 | Φ200-250 ΑΣΦ | 48.377 | 12.094 | 60.472 |
| 21 | J 24:J 26 | 12.780 | Φ200-250 ΑΣΦ | 13.660 | 3.415 | 17.074 |
| 22 | J 26:J 27 | 42.265 | Φ200-250 ΑΣΦ | 45.173 | 11.293 | 56.466 |
| 23 | J 27:J 28 | 49.654 | Φ200-250 ΑΣΦ | 53.070 | 13.267 | 66.337 |
| 24 | J 29:J 30 | 48.795 | Φ200-250 ΑΣΦ | 52.152 | 13.038 | 65.190 |
| 25 | J 30:J 31 | 23.282 | Φ200-250 ΑΣΦ | 24.884 | 6.221 | 31.104 |
| 26 | J 32:J 33 | 64.896 | Φ200-250 ΑΣΦ | 69.361 | 17.340 | 86.701 |
| 27 | J 34:J 33 | 45.621 | Φ200-250 ΑΣΦ | 50.365 | 12.591 | 62.956 |
| 28 | J 33:J 35 | 37.141 | Φ200-250 ΑΣΦ | 41.004 | 10.251 | 51.255 |
| 29 | J 35:J 36 | 38.968 | Φ200-250 ΑΣΦ | 43.021 | 10.755 | 53.776 |
| 30 | J 36:J 37 | 48.212 | Φ200-250 ΑΣΦ | 53.226 | 13.306 | 66.532 |
| 31 | J 37:J 38 | 39.573 | Φ200-250 ΑΣΦ | 43.689 | 10.922 | 54.611 |
| 32 | J 38:J 28 | 30.115 | Φ200-250 ΑΣΦ | 33.247 | 8.312 | 41.559 |
| 33 | J 28:J 31 | 69.383 | Φ200-250 ΑΣΦ | 76.599 | 19.150 | 95.749 |
| 34 | J 31:J 39 | 41.219 | Φ200-250 ΑΣΦ | 45.506 | 11.376 | 56.882 |
| 35 | J 39:J 19 | 39.979 | Φ200-250 ΑΣΦ | 44.137 | 11.034 | 55.171 |
| 36 | J 40:J 41 | 82.768 | Φ200-250 ΑΣΦ | 88.462 | 22.116 | 110.578 |
| 37 | J 41:J 42 | 63.178 | Φ200-250 ΑΣΦ | 67.524 | 16.881 | 84.406 |
| 38 | J 42:J 43 | 42.392 | Φ200-250 ΑΣΦ | 45.309 | 11.327 | 56.636 |
| 39 | J 43:J 44 | 43.328 | Φ200-250 ΑΣΦ | 46.309 | 11.577 | 57.886 |
| 40 | J 45:J 46 | 42.974 | Φ200-250 ΑΣΦ | 47.443 | 11.861 | 59.304 |
| 41 | J 46:J 44 | 35.309 | Φ200-250 ΑΣΦ | 38.981 | 9.745 | 48.726 |
| 42 | J 44:J 47 | 36.553 | Φ200-250 ΑΣΦ | 39.068 | 9.767 | 48.835 |
| 43 | J 47:J 48 | 38.352 | Φ200-250 ΑΣΦ | 40.990 | 10.248 | 51.238 |
| 44 | J 48:J 49 | 58.549 | Φ200-250 ΑΣΦ | 62.577 | 15.644 | 78.222 |
| 45 | J 49:J 50 | 45.044 | Φ200-250 ΑΣΦ | 48.143 | 12.036 | 60.179 |
| 46 | J 51:J 52 | 23.004 | Φ200-250 ΑΣΦ | 26.677 | 6.669 | 33.346 |
| 47 | J 52:J 53 | 53.643 | Φ200-250 ΑΣΦ | 62.214 | 15.553 | 77.767 |
| 48 | J 54:J 55 | 43.476 | Φ200-250 ΑΣΦ | 46.467 | 11.617 | 58.084 |
| 49 | J 55:J 56 | 61.097 | Φ200-250 ΑΣΦ | 65.301 | 16.325 | 81.626 |
| 50 | J 57:J 58 | 61.961 | Φ200-250 ΑΣΦ | 66.223 | 16.556 | 82.779 |
| 51 | J 58:J 56 | 29.567 | Φ200-250 ΑΣΦ | 31.601 | 7.900 | 39.501 |
| 52 | J 56:J 50 | 39.579 | Φ200-250 ΑΣΦ | 42.302 | 10.576 | 52.878 |
| 53 | J 50:J 53 | 29.329 | Φ200-250 ΑΣΦ | 31.347 | 7.837 | 39.183 |
| 54 | J 53:J 59 | 37.144 | Φ200-250 ΑΣΦ | 39.700 | 9.925 | 49.625 |
| 55 | J 59:J 60 | 54.657 | Φ200-250 ΑΣΦ | 70.486 | 17.622 | 88.108 |
| 56 | J 61:J 62 | 58.650 | Φ200-250 ΑΣΦ | 62.685 | 15.671 | 78.356 |
| 57 | J 62:J 63 | 56.921 | Φ200-250 ΑΣΦ | 60.837 | 15.209 | 76.047 |
| 58 | J 63:J 64 | 65.939 | Φ200-250 ΑΣΦ | 70.476 | 17.619 | 88.095 |
| 59 | J 65:J 66 | 40.030 | Φ200-250 ΑΣΦ | 42.784 | 10.696 | 53.480 |
| 60 | J 66:J 67 | 51.814 | Φ200-250 ΑΣΦ | 55.379 | 13.845 | 69.224 |
| 61 | J 68:J 67 | 52.175 | Φ200-250 ΑΣΦ | 55.765 | 13.941 | 69.706 |
| 62 | J 67:J 69 | 33.934 | Φ200-250 ΑΣΦ | 36.269 | 9.067 | 45.336 |
| 63 | J 69:J 70 | 44.504 | Φ200-250 ΑΣΦ | 47.566 | 11.891 | 59.457 |
| 64 | J 70:J 64 | 34.172 | Φ200-250 ΑΣΦ | 36.523 | 9.131 | 45.654 |
| 65 | J 64:J 60 | 56.753 | Φ200-250 ΑΣΦ | 73.188 | 18.297 | 91.485 |
| 66 | J 71:J 72 | 27.850 | Φ200-250 ΑΣΦ | 29.766 | 7.442 | 37.208 |
| 67 | J 72:J 73 | 24.374 | Φ200-250 ΑΣΦ | 26.051 | 6.513 | 32.564 |
| 68 | J 73:J 74 | 32.147 | Φ200-250 ΑΣΦ | 34.359 | 8.590 | 42.948 |
| 69 | J 74:J 75 | 28.783 | Φ200-250 ΑΣΦ | 30.763 | 7.691 | 38.454 |
| 70 | J 75:J 76 | 41.751 | Φ200-250 ΑΣΦ | 44.623 | 11.156 | 55.779 |
| 71 | J 76:J 77 | 37.556 | Φ200-250 ΑΣΦ | 40.140 | 10.035 | 50.175 |
| 72 | J 77:J 78 | 30.743 | Φ200-250 ΑΣΦ | 32.858 | 8.215 | 41.073 |
| 73 | J 79:J 80 | 91.632 | Φ200-250 ΑΣΦ | 97.936 | 24.484 | 122.420 |
| 74 | J 78:J 80 | 77.940 | Φ200-250 ΑΣΦ | 83.303 | 20.826 | 104.128 |
| 75 | J 81:J 82 | 33.965 | Φ200-250 ΑΣΦ | 36.302 | 9.076 | 45.378 |
| 76 | J 82:J 78 | 26.682 | Φ200-250 ΑΣΦ | 28.518 | 7.129 | 35.647 |
| 77 | J 83:J 84 | 80.098 | Φ200-250 ΑΣΦ | 85.608 | 21.402 | 107.010 |
| 78 | J 84:J 85 | 46.848 | Φ200-250 ΑΣΦ | 50.071 | 12.518 | 62.588 |
| 79 | J 85:J 86 | 15.923 | Φ200-250 ΑΣΦ | 17.019 | 4.255 | 21.274 |
| 80 | J 86:J 87 | 42.860 | Φ200-250 ΑΣΦ | 48.963 | 12.241 | 61.204 |
| 81 | J 88:J 89 | 67.230 | Φ200-250 ΑΣΦ | 78.524 | 19.631 | 98.155 |
| 82 | J 90:J 91 | 72.275 | Φ200-250 ΑΣΦ | 77.247 | 19.312 | 96.559 |
| 83 | J 91:J 92 | 47.417 | Φ200-250 ΑΣΦ | 50.680 | 12.670 | 63.350 |
| 84 | J 93:J 127 | 39.193 | Φ200-250 ΑΣΦ | 41.890 | 10.472 | 52.362 |
| 85 | J 95:J 94 | 70.611 | Φ200-250 ΑΣΦ | 75.469 | 18.867 | 94.336 |
| 86 | J 94:J 96 | 55.440 | Φ200-250 ΑΣΦ | 64.029 | 16.007 | 80.036 |
| 87 | J 96:J 97 | 13.411 | Φ200-250 ΑΣΦ | 17.247 | 4.312 | 21.559 |
| 88 | J 98:J 99 | 49.970 | Φ200-250 ΑΣΦ | 53.408 | 13.352 | 66.760 |
| 89 | J 99:J 100 | 24.952 | Φ200-250 ΑΣΦ | 26.669 | 6.667 | 33.336 |
| 90 | J 100:J 101 | 30.686 | Φ200-250 ΑΣΦ | 32.797 | 8.199 | 40.996 |
| 91 | J 102:J 103 | 19.043 | Φ200-250 ΑΣΦ | 20.354 | 5.088 | 25.442 |
| 92 | J 104:J 105 | 24.114 | Φ200-250 ΑΣΦ | 25.773 | 6.443 | 32.217 |
| 93 | J 105:J 106 | 38.189 | Φ200-250 ΑΣΦ | 40.816 | 10.204 | 51.020 |
| 94 | J 106:J 107 | 30.508 | Φ200-250 ΑΣΦ | 32.607 | 8.152 | 40.758 |
| 95 | J 107:J 108 | 38.923 | Φ200-250 ΑΣΦ | 41.601 | 10.400 | 52.001 |
| 96 | J 108:J 109 | 38.998 | Φ200-250 ΑΣΦ | 41.681 | 10.420 | 52.101 |
| 97 | J 110:J 111 | 56.957 | Φ200-250 ΑΣΦ | 60.875 | 15.219 | 76.094 |
| 98 | J 112:J 113 | 25.330 | Φ200-250 ΑΣΦ | 27.072 | 6.768 | 33.840 |
| 99 | J 113:J 114 | 39.191 | Φ200-250 ΑΣΦ | 41.888 | 10.472 | 52.359 |
| 100 | J 114:J 115 | 24.593 | Φ200-250 ΑΣΦ | 26.285 | 6.571 | 32.856 |
| 101 | J 115:J 116 | 34.860 | Φ200-250 ΑΣΦ | 37.259 | 9.315 | 46.573 |
| 102 | J 117:J 118 | 39.755 | Φ200-250 ΑΣΦ | 42.491 | 10.623 | 53.113 |
| 103 | J 118:J 116 | 44.322 | Φ200-250 ΑΣΦ | 47.371 | 11.843 | 59.214 |
| 104 | J 116:J 119 | 24.211 | Φ200-250 ΑΣΦ | 25.876 | 6.469 | 32.346 |
| 105 | J 119:J 101 | 20.921 | Φ200-250 ΑΣΦ | 22.360 | 5.590 | 27.951 |
| 106 | J 101:J 120 | 24.262 | Φ200-250 ΑΣΦ | 25.931 | 6.483 | 32.414 |
| 107 | J 120:J 121 | 21.301 | Φ200-250 ΑΣΦ | 22.767 | 5.692 | 28.458 |
| 108 | J 121:J 103 | 51.760 | Φ200-250 ΑΣΦ | 55.322 | 13.830 | 69.152 |
| 109 | J 103:J 122 | 48.885 | Φ200-250 ΑΣΦ | 52.248 | 13.062 | 65.311 |
| 110 | J 122:J 123 | 62.088 | Φ200-250 ΑΣΦ | 66.359 | 16.590 | 82.949 |
| 111 | J 123:J 124 | 22.525 | Φ200-250 ΑΣΦ | 24.075 | 6.019 | 30.094 |
| 112 | J 124:J 87 | 27.961 | Φ200-250 ΑΣΦ | 31.935 | 7.984 | 39.919 |
| 113 | J 87:J 125 | 16.204 | Φ200-250 ΑΣΦ | 20.067 | 5.017 | 25.083 |
| 114 | J 125:J 89 | 40.523 | Φ200-250 ΑΣΦ | 51.231 | 12.808 | 64.039 |
| 115 | J 89:J 126 | 44.040 | Φ200-250 ΑΣΦ | 51.438 | 12.860 | 64.298 |
| 116 | J 126:J 127 | 38.412 | Φ200-250 ΑΣΦ | 41.055 | 10.264 | 51.319 |
| 117 | J 127:J 128 | 56.513 | Φ200-250 ΑΣΦ | 72.493 | 18.123 | 90.616 |
| 118 | J 128:J 60 | 19.677 | Φ200-250 ΑΣΦ | 29.585 | 7.396 | 36.982 |
| 119 | J 60:J 129 | 60.518 | Φ200-250 ΑΣΦ | 78.044 | 19.511 | 97.555 |
| 120 | J 129:J 130 | 68.010 | Φ200-250 ΑΣΦ | 72.689 | 18.172 | 90.861 |
| 121 | J 131:J 132 | 40.199 | Φ200-250 ΑΣΦ | 44.379 | 11.095 | 55.474 |
| 122 | J 132:J 133 | 43.653 | Φ200-250 ΑΣΦ | 48.193 | 12.048 | 60.241 |
| 123 | J 133:J 134 | 56.364 | Φ200-250 ΑΣΦ | 62.226 | 15.556 | 77.782 |
| 124 | J 134:J 135 | 39.710 | Φ200-250 ΑΣΦ | 43.840 | 10.960 | 54.800 |
| 125 | J 135:J 136 | 40.207 | Φ200-250 ΑΣΦ | 44.389 | 11.097 | 55.486 |
| 126 | J 136:J 137 | 48.010 | Φ200-250 ΑΣΦ | 53.003 | 13.251 | 66.254 |
| 127 | J 137:J 138 | 32.656 | Φ200-250 ΑΣΦ | 36.052 | 9.013 | 45.065 |
| 128 | J 138:J 139 | 39.088 | Φ200-250 ΑΣΦ | 43.154 | 10.788 | 53.942 |
| 129 | J 139:J 140 | 61.638 | Φ200-250 ΑΣΦ | 70.810 | 17.702 | 88.512 |
| 130 | J 140:J 141 | 70.549 | Φ200-250 ΑΣΦ | 81.047 | 20.262 | 101.309 |
| 131 | J 141:J 142 | 38.363 | Φ200-250 ΑΣΦ | 42.353 | 10.588 | 52.941 |
| 132 | J 142:J 111 | 39.155 | Φ200-250 ΑΣΦ | 43.227 | 10.807 | 54.034 |
| 133 | J 111:J 143 | 41.927 | Φ200-250 ΑΣΦ | 46.287 | 11.572 | 57.859 |
| 134 | J 144:J 145 | 49.209 | Φ200-250 ΑΣΦ | 60.783 | 15.196 | 75.979 |
| 135 | J 147:J 148 | 35.082 | Φ200-250 ΑΣΦ | 37.495 | 9.374 | 46.869 |
| 136 | J 148:J 149 | 43.421 | Φ200-250 ΑΣΦ | 46.409 | 11.602 | 58.011 |
| 137 | J 149:J 150 | 65.931 | Φ200-250 ΑΣΦ | 70.467 | 17.617 | 88.084 |
| 138 | J 150:J 145 | 14.575 | Φ200-250 ΑΣΦ | 18.000 | 4.500 | 22.500 |
| 139 | J 145:J 151 | 33.254 | Φ200-250 ΤΣΙΜ | 41.067 | 10.267 | 51.334 |
| 140 | J 151:J 152 | 30.132 | Φ200-250 ΤΣΙΜ | 35.705 | 8.926 | 44.632 |
| 141 | J 152:J 153 | 34.811 | Φ200-250 ΤΣΙΜ | 43.035 | 10.759 | 53.794 |
| 142 | J 153:J 140 | 9.611 | Φ200-250 ΤΣΙΜ | 11.196 | 2.799 | 13.995 |
| 143 | J 154:J 155 | 41.897 | Φ200-250 ΤΣΙΜ | 44.780 | 11.195 | 55.975 |
| 144 | J 156:J 157 | 39.564 | Φ200-250 ΑΣΦ | 42.286 | 10.571 | 52.857 |
| 145 | J 157:J 158 | 41.493 | Φ200-250 ΑΣΦ | 44.347 | 11.087 | 55.434 |
| 146 | J 158:J 159 | 21.830 | Φ200-250 ΑΣΦ | 23.332 | 5.833 | 29.165 |
| 147 | J 160:J 161 | 31.631 | Φ200-250 ΑΣΦ | 33.807 | 8.452 | 42.259 |
| 148 | J 161:J 162 | 28.600 | Φ200-250 ΑΣΦ | 30.567 | 7.642 | 38.209 |
| 149 | J 162:J 163 | 35.478 | Φ200-250 ΑΣΦ | 37.918 | 9.480 | 47.398 |
| 150 | J 163:J 155 | 9.957 | Φ200-250 ΑΣΦ | 10.642 | 2.661 | 13.303 |
| 151 | J 155:J 164 | 33.307 | Φ200-250 ΑΣΦ | 35.599 | 8.900 | 44.499 |
| 152 | J 164:J 165 | 50.646 | Φ200-250 ΑΣΦ | 54.130 | 13.533 | 67.663 |
| 153 | J 166:J 167 | 46.440 | Φ200-250 ΑΣΦ | 49.635 | 12.409 | 62.043 |
| 154 | J 167:J 159 | 14.675 | Φ200-250 ΑΣΦ | 15.684 | 3.921 | 19.606 |
| 155 | J 159:J 168 | 42.505 | Φ200-250 ΑΣΦ | 45.429 | 11.357 | 56.786 |
| 156 | J 168:J 169 | 37.443 | Φ200-250 ΑΣΦ | 40.019 | 10.005 | 50.024 |
| 157 | J 169:J 165 | 53.413 | Φ200-250 ΑΣΦ | 57.088 | 14.272 | 71.360 |
| 158 | J 165:J 170 | 22.063 | Φ200-250 ΑΣΦ | 23.581 | 5.895 | 29.477 |
| 159 | J 170:J 171 | 41.324 | Φ200-250 ΑΣΦ | 44.167 | 11.042 | 55.209 |
| 160 | J 171:J 172 | 27.068 | Φ200-250 ΑΣΦ | 28.930 | 7.233 | 36.163 |
| 161 | J 173:J 174 | 53.938 | Φ200-250 ΑΣΦ | 57.649 | 14.412 | 72.061 |
| 162 | J 174:J 175 | 61.055 | Φ200-250 ΑΣΦ | 65.255 | 16.314 | 81.569 |
| 163 | J 176:J 177 | 26.616 | Φ200-250 ΑΣΦ | 28.447 | 7.112 | 35.559 |
| 164 | J 177:J 178 | 20.585 | Φ200-250 ΑΣΦ | 22.001 | 5.500 | 27.501 |
| 165 | J 178:J 179 | 15.006 | Φ200-250 ΑΣΦ | 16.039 | 4.010 | 20.049 |
| 166 | J 179:J 180 | 14.160 | Φ200-250 ΑΣΦ | 15.134 | 3.784 | 18.918 |
| 167 | J 181:J 182 | 30.677 | Φ200-250 ΑΣΦ | 32.787 | 8.197 | 40.984 |
| 168 | J 182:J 183 | 32.606 | Φ200-250 ΑΣΦ | 34.849 | 8.712 | 43.562 |
| 169 | J 183:J 184 | 44.221 | Φ200-250 ΑΣΦ | 47.263 | 11.816 | 59.079 |
| 170 | J 184:J 180 | 12.368 | Φ200-250 ΑΣΦ | 13.219 | 3.305 | 16.524 |
| 171 | J 180:J 185 | 36.635 | Φ200-250 ΑΣΦ | 39.156 | 9.789 | 48.945 |
| 172 | J 186:J 185 | 32.165 | Φ200-250 ΑΣΦ | 34.378 | 8.594 | 42.972 |
| 173 | J 185:J 187 | 19.243 | Φ200-250 ΑΣΦ | 20.567 | 5.142 | 25.709 |
| 174 | J 187:J 175 | 19.039 | Φ200-250 ΑΣΦ | 20.349 | 5.087 | 25.436 |
| 175 | J 175:J 188 | 16.329 | Φ200-250 ΑΣΦ | 18.759 | 4.690 | 23.449 |
| 176 | J 189:J 190 | 51.767 | Φ200-250 ΧΩΜ | 55.328 | 13.832 | 69.160 |
| 177 | J 190:J 191 | 51.377 | Φ200-250 ΧΩΜ | 54.911 | 13.728 | 68.639 |
| 178 | J 192:J 193 | 48.375 | Φ200-250 ΑΣΦ | 51.703 | 12.926 | 64.629 |
| 179 | J 193:J 194 | 39.320 | Φ200-250 ΑΣΦ | 52.218 | 13.054 | 65.272 |
| 180 | J 194:J 195 | 32.718 | Φ200-250 ΑΣΦ | 46.591 | 11.648 | 58.239 |
| 181 | J 196:J 199 | 30.981 | Φ200-250 ΑΣΦ | 33.112 | 8.278 | 41.390 |
| 182 | J 197:J 198 | 46.467 | Φ200-250 ΑΣΦ | 49.664 | 12.416 | 62.080 |
| 183 | J 199:J 200 | 45.063 | Φ200-250 ΑΣΦ | 48.164 | 12.041 | 60.205 |
| 184 | J 200:J 201 | 23.162 | Φ200-250 ΑΣΦ | 28.388 | 7.097 | 35.484 |
| 185 | J 202:J 203 | 33.379 | Φ200-250 ΧΩΜ | 35.675 | 8.919 | 44.594 |
| 186 | J 203:J 204 | 36.912 | Φ200-250 ΧΩΜ | 39.452 | 9.863 | 49.315 |
| 187 | J 204:J 205 | 43.279 | Φ200-250 ΧΩΜ | 46.256 | 11.564 | 57.820 |
| 188 | J 205:J 206 | 67.711 | Φ200-250 ΧΩΜ | 72.369 | 18.092 | 90.462 |
| 189 | J 206:J 207 | 26.026 | Φ200-250 ΑΣΦ | 27.816 | 6.954 | 34.770 |
| 190 | J 191:J 208 | 24.317 | Φ200-250 ΧΩΜ | 25.990 | 6.498 | 32.488 |
| 191 | J 208:J 209 | 41.899 | Φ200-250 ΧΩΜ | 44.782 | 11.195 | 55.977 |
| 192 | J 209:J 210 | 44.442 | Φ200-250 ΧΩΜ | 47.500 | 11.875 | 59.375 |
| 193 | J 210:J 211 | 56.238 | Φ200-250 ΧΩΜ | 63.235 | 15.809 | 79.044 |
| 194 | J 211:J 212 | 36.312 | Φ200-250 ΧΩΜ | 44.304 | 11.076 | 55.379 |
| 195 | J 212:J 213 | 43.833 | Φ200-250 ΧΩΜ | 51.042 | 12.760 | 63.802 |
| 196 | J 213:J 214 | 48.338 | Φ200-250 ΧΩΜ | 51.664 | 12.916 | 64.580 |
| 197 | J 207:J 215 | 31.455 | Φ200-250 ΑΣΦ | 33.619 | 8.405 | 42.023 |
| 198 | J 215:J 216 | 42.742 | Φ200-250 ΑΣΦ | 45.683 | 11.421 | 57.103 |
| 199 | J 216:J 217 | 45.881 | Φ200-250 ΑΣΦ | 49.038 | 12.259 | 61.297 |
| 200 | J 217:J 214 | 56.712 | Φ200-250 ΑΣΦ | 60.614 | 15.153 | 75.767 |
| 201 | J 214:J 218 | 11.058 | Φ200-250 ΑΣΦ | 11.819 | 2.955 | 14.774 |
| 202 | J 218:J 219 | 38.367 | Φ200-250 ΑΣΦ | 41.007 | 10.252 | 51.258 |
| 203 | J 219:J 220 | 33.264 | Φ200-250 ΑΣΦ | 35.553 | 8.888 | 44.441 |
| 204 | J 220:J 221 | 34.413 | Φ200-250 ΑΣΦ | 36.781 | 9.195 | 45.976 |
| 205 | J 221:J 222 | 38.798 | Φ200-250 ΑΣΦ | 41.467 | 10.367 | 51.834 |
| 206 | J 222:J 223 | 42.322 | Φ200-250 ΑΣΦ | 45.234 | 11.308 | 56.542 |
| 207 | J 224:J 225 | 48.565 | Φ200-250 ΑΣΦ | 51.906 | 12.977 | 64.883 |
| 208 | J 225:J 226 | 52.371 | Φ200-250 ΑΣΦ | 55.974 | 13.994 | 69.968 |
| 209 | J 226:J 227 | 42.019 | Φ200-250 ΑΣΦ | 44.910 | 11.227 | 56.137 |
| 210 | J 227:J 228 | 41.163 | Φ200-250 ΑΣΦ | 43.995 | 10.999 | 54.994 |
| 211 | J 228:J 229 | 49.757 | Φ200-250 ΑΣΦ | 53.180 | 13.295 | 66.476 |
| 212 | J 229:J 230 | 34.278 | Φ200-250 ΑΣΦ | 36.636 | 9.159 | 45.795 |
| 213 | J 231:J 232 | 21.724 | Φ200-250 ΑΣΦ | 23.218 | 5.805 | 29.023 |
| 214 | J 232:J 233 | 41.805 | Φ200-250 ΑΣΦ | 44.681 | 11.170 | 55.851 |
| 215 | J 233:J 230 | 43.539 | Φ200-250 ΑΣΦ | 46.534 | 11.634 | 58.168 |
| 216 | J 230:J 234 | 51.453 | Φ200-250 ΑΣΦ | 54.993 | 13.748 | 68.741 |
| 217 | J 235:J 236 | 32.716 | Φ200-250 ΑΣΦ | 34.967 | 8.742 | 43.709 |
| 218 | J 236:J 237 | 23.035 | Φ200-250 ΑΣΦ | 24.620 | 6.155 | 30.775 |
| 219 | J 237:J 238 | 31.015 | Φ200-250 ΑΣΦ | 33.149 | 8.287 | 41.436 |
| 220 | J 238:J 239 | 57.337 | Φ200-250 ΑΣΦ | 61.282 | 15.320 | 76.602 |
| 221 | J 240:J 241 | 31.964 | Φ200-250 ΑΣΦ | 35.493 | 8.873 | 44.366 |
| 222 | J 241:J 242 | 28.405 | Φ200-250 ΑΣΦ | 31.540 | 7.885 | 39.426 |
| 223 | J 242:J 234 | 9.889 | Φ200-250 ΑΣΦ | 10.569 | 2.642 | 13.212 |
| 224 | J 234:J 188 | 31.569 | Φ200-250 ΑΣΦ | 36.267 | 9.067 | 45.334 |
| 225 | J 188:J 243 | 38.402 | Φ200-250 ΑΣΦ | 44.116 | 11.029 | 55.146 |
| 226 | J 243:J 198 | 57.243 | Φ200-250 ΑΣΦ | 61.182 | 15.295 | 76.477 |
| 227 | J 198:J 172 | 34.565 | Φ200-250 ΑΣΦ | 36.943 | 9.236 | 46.179 |
| 228 | J 172:J 244 | 25.992 | Φ200-250 ΑΣΦ | 27.780 | 6.945 | 34.725 |
| 229 | J 244:J 195 | 31.879 | Φ200-250 ΑΣΦ | 37.133 | 9.283 | 46.416 |
| 230 | J 195:J 245 | 33.078 | Φ200-250 ΑΣΦ | 40.199 | 10.050 | 50.249 |
| 231 | J 245:J 246 | 39.403 | Φ200-250 ΑΣΦ | 46.596 | 11.649 | 58.245 |
| 232 | J 246:J 247 | 37.902 | Φ200-250 ΑΣΦ | 43.757 | 10.939 | 54.696 |
| 233 | J 248:J 249 | 28.235 | Φ200-250 ΑΣΦ | 30.177 | 7.544 | 37.721 |
| 234 | J 249:J 250 | 35.964 | Φ200-250 ΑΣΦ | 38.438 | 9.610 | 48.048 |
| 235 | J 250:J 239 | 26.216 | Φ200-250 ΑΣΦ | 28.020 | 7.005 | 35.025 |
| 236 | J 239:J 201 | 47.774 | Φ200-250 ΑΣΦ | 58.552 | 14.638 | 73.190 |
| 237 | J 201:J 223 | 44.963 | Φ200-250 ΑΣΦ | 55.106 | 13.777 | 68.883 |
| 238 | J 223:J 251 | 32.108 | Φ200-250 ΑΣΦ | 34.317 | 8.579 | 42.896 |
| 239 | J 251:J 252 | 40.164 | Φ200-250 ΑΣΦ | 42.927 | 10.732 | 53.659 |
| 240 | J 252:J 253 | 41.657 | Φ200-250 ΑΣΦ | 44.523 | 11.131 | 55.654 |
| 241 | J 253:J 254 | 29.667 | Φ200-250 ΑΣΦ | 31.708 | 7.927 | 39.636 |
| 242 | J 254:J 146 | 69.576 | Φ200-250 ΑΣΦ | 74.363 | 18.591 | 92.954 |
| 243 | J 255:J 256 | 33.582 | Φ200-250 ΑΣΦ | 37.935 | 9.484 | 47.418 |
| 244 | J 256:J 257 | 31.661 | Φ200-250 ΑΣΦ | 36.878 | 9.220 | 46.098 |
| 245 | J 257:J 258 | 37.235 | Φ200-250 ΑΣΦ | 41.107 | 10.277 | 51.384 |
| 246 | J 258:J 259 | 31.294 | Φ200-250 ΑΣΦ | 33.447 | 8.362 | 41.808 |
| 247 | J 260:J 247 | 45.195 | Φ200-250 ΑΣΦ | 49.317 | 12.329 | 61.646 |
| 248 | J 261:J 262 | 26.842 | Φ200-250 ΑΣΦ | 28.688 | 7.172 | 35.861 |
| 249 | J 262:J 263 | 33.331 | Φ200-250 ΑΣΦ | 35.624 | 8.906 | 44.530 |
| 250 | J 263:J 264 | 29.445 | Φ200-250 ΑΣΦ | 31.471 | 7.868 | 39.339 |
| 251 | J 264:J 259 | 18.825 | Φ200-250 ΑΣΦ | 20.120 | 5.030 | 25.150 |
| 252 | J 259:J 247 | 40.387 | Φ200-250 ΑΣΦ | 44.071 | 11.018 | 55.088 |
| 253 | J 247:J 146 | 43.527 | Φ200-250 ΑΣΦ | 47.496 | 11.874 | 59.371 |
| 254 | J 146:J 265 | 49.881 | Φ200-250 ΑΣΦ | 66.411 | 16.603 | 83.014 |
| 255 | J 265:J 266 | 60.534 | Φ200-250 ΑΣΦ | 98.284 | 24.571 | 122.855 |
| 256 | J 266:J 267 | 58.362 | Φ200-250 ΑΣΦ | 91.188 | 22.797 | 113.985 |
| 257 | J 267:J 268 | 65.029 | Φ200-250 ΑΣΦ | 99.367 | 24.842 | 124.209 |
| 258 | J 268:J 92 | 17.983 | Φ200-250 ΑΣΦ | 29.266 | 7.316 | 36.582 |
| 259 | J 269:J 270 | 36.255 | Φ200-250 ΑΣΦ | 38.749 | 9.687 | 48.437 |
| 260 | J 270:J 261 | 36.634 | Φ200-250 ΑΣΦ | 39.154 | 9.789 | 48.943 |
| 261 | J 143:J 271 | 34.770 | Φ200-250 ΑΣΦ | 38.386 | 9.597 | 47.983 |
| 262 | J 271:J 109 | 46.571 | Φ200-250 ΑΣΦ | 51.414 | 12.854 | 64.268 |
| 263 | J 109:J 272 | 47.522 | Φ200-250 ΑΣΦ | 52.464 | 13.116 | 65.581 |
| 264 | J 272:J 273 | 39.837 | Φ200-250 ΑΣΦ | 43.980 | 10.995 | 54.975 |
| 265 | J 273:J 92 | 62.863 | Φ200-250 ΑΣΦ | 88.310 | 22.078 | 110.388 |
| 266 | J 92:J 97 | 27.599 | Φ200-250 ΑΣΦ | 46.575 | 11.644 | 58.219 |
| 267 | J 97:J 274 | 44.196 | Φ200-250 ΑΣΦ | 69.882 | 17.471 | 87.353 |
| 268 | J 274:J 275 | 39.639 | Φ200-250 ΑΣΦ | 55.499 | 13.875 | 69.373 |
| 269 | J 275:J 276 | 40.355 | Φ200-250 ΑΣΦ | 48.654 | 12.164 | 60.818 |
| 270 | J 276:J 277 | 40.206 | Φ200-250 ΑΣΦ | 44.387 | 11.097 | 55.484 |
| 271 | J 277:J 130 | 50.370 | Φ200-250 ΑΣΦ | 55.609 | 13.902 | 69.511 |
| 272 | J 19:J 278 | 41.564 | Φ200-250 ΑΣΦ | 45.887 | 11.472 | 57.359 |
| 273 | J 278:J 279 | 41.995 | Φ200-250 ΑΣΦ | 46.362 | 11.590 | 57.952 |
| 274 | J 279:J 280 | 28.025 | Φ200-250 ΑΣΦ | 30.940 | 7.735 | 38.675 |
| 275 | J 280:J 281 | 59.645 | Φ200-250 ΑΣΦ | 65.848 | 16.462 | 82.310 |
| 276 | J 281:J 282 | 51.955 | Φ200-250 ΑΣΦ | 57.359 | 14.340 | 71.699 |
| 277 | J 282:J 283 | 44.496 | Φ200-250 ΑΣΦ | 49.124 | 12.281 | 61.405 |
| 278 | J 283:J 284 | 84.058 | Φ200-250 ΑΣΦ | 92.800 | 23.200 | 116.000 |
| 279 | J 284:J 285 | 59.686 | Φ200-250 ΑΣΦ | 65.893 | 16.473 | 82.366 |
| 280 | J 285:A0 | 59.699 | Φ200-250 ΑΣΦ | 65.908 | 16.477 | 82.384 |
| 281 | J 20:J 19 | 61.066 | Φ200-250 ΑΣΦ | 65.268 | 16.317 | 81.585 |
| 282 | J 286:J 20 | 23.021 | Φ200-250 ΑΣΦ | 24.604 | 6.151 | 30.756 |
| 283 | J 287:J 288 | 12.335 | Φ200-250 ΑΣΦ | 13.184 | 3.296 | 16.479 |
| 284 | J 288:J 289 | 19.205 | Φ200-250 ΑΣΦ | 20.526 | 5.132 | 25.658 |
| 285 | J 289:J 290 | 11.130 | Φ200-250 ΑΣΦ | 11.895 | 2.974 | 14.869 |
| 286 | J 290:J 291 | 19.138 | Φ200-250 ΑΣΦ | 20.454 | 5.114 | 25.568 |
| 287 | J 291:J 292 | 23.827 | Φ200-250 ΑΣΦ | 25.466 | 6.367 | 31.833 |
| 288 | J 292:J 18 | 13.162 | Φ200-250 ΑΣΦ | 14.068 | 3.517 | 17.584 |
| 289 | J 18:J 293 | 29.426 | Φ200-250 ΑΣΦ | 31.450 | 7.863 | 39.313 |
| 290 | J 293:J 294 | 16.751 | Φ200-250 ΑΣΦ | 17.904 | 4.476 | 22.380 |
| 291 | J 294:J 295 | 17.779 | Φ200-250 ΑΣΦ | 19.002 | 4.751 | 23.753 |
| 292 | J 295:J 296 | 15.413 | Φ200-250 ΑΣΦ | 16.474 | 4.118 | 20.592 |
| 293 | J 296:J 297 | 16.293 | Φ200-250 ΑΣΦ | 17.414 | 4.353 | 21.767 |
| 294 | J 297:J 11 | 27.449 | Φ200-250 ΑΣΦ | 42.600 | 10.650 | 53.250 |
| 295 | J 11:J 298 | 48.858 | Φ200-250 ΑΣΦ | 85.661 | 21.415 | 107.077 |
| 296 | J 298:J 299 | 32.160 | Φ200-250 ΑΣΦ | 41.978 | 10.495 | 52.473 |
| 297 | J 299:J 286 | 33.837 | Φ200-250 ΑΣΦ | 37.356 | 9.339 | 46.695 |
| 298 | J 300:J 301 | 39.989 | Φ200-250 ΑΣΦ | 42.740 | 10.685 | 53.425 |
| 299 | J 301:J 302 | 36.515 | Φ200-250 ΑΣΦ | 39.027 | 9.757 | 48.784 |
| 300 | J 302:J 286 | 39.247 | Φ200-250 ΑΣΦ | 41.947 | 10.487 | 52.434 |
| 301 | J 130:J 303 | 49.136 | Φ200-250 ΑΣΦ | 54.246 | 13.562 | 67.808 |
| 302 | J 303:J 304 | 40.200 | Φ200-250 ΑΣΦ | 44.381 | 11.095 | 55.476 |
| 303 | J 304:J 305 | 40.200 | Φ200-250 ΑΣΦ | 44.380 | 11.095 | 55.476 |
| 304 | J 305:J 306 | 39.915 | Φ200-250 ΑΣΦ | 44.066 | 11.017 | 55.083 |
| 305 | J 306:J 307 | 39.702 | Φ200-250 ΑΣΦ | 43.831 | 10.958 | 54.789 |
| 306 | J 307:J 308 | 53.708 | Φ200-250 ΑΣΦ | 59.294 | 14.824 | 74.118 |
| 307 | J 308:J 309 | 46.261 | Φ200-250 ΑΣΦ | 51.072 | 12.768 | 63.840 |
| 308 | J 309:J 310 | 40.487 | Φ200-250 ΑΣΦ | 44.697 | 11.174 | 55.871 |
| 309 | J 310:J 311 | 39.532 | Φ200-250 ΑΣΦ | 43.643 | 10.911 | 54.554 |
| 310 | J 311:A0 | 40.216 | Φ200-250 ΑΣΦ | 44.398 | 11.100 | 55.498 |
| 311 | J 80:J 312 | 59.637 | Φ200-250 ΑΣΦ | 63.740 | 15.935 | 79.675 |
| 312 | J 312:J 313 | 58.000 | Φ200-250 ΑΣΦ | 61.990 | 15.498 | 77.488 |
| 313 | J 313:J 52 | 18.020 | Φ200-250 ΑΣΦ | 20.899 | 5.225 | 26.124 |
| 314 | J 314:J 154 | 31.523 | Φ200-250 ΤΣΙΜ | 33.692 | 8.423 | 42.115 |
|  | Total | 12307.116 | Total | 13753.022 | 3438.255 | 17191.277 |

# 2. Excavation volume

## 2.1. Conduit excavations

### 2.1.1. Total

| From excavation matrix (m³) | 17191.277 |
| --- | --- |

### 2.1.2. Soft soil excavation

| From excavation matrix (m³) | 13753.022 |
| --- | --- |

### 2.1.3. Rock excavations

| From excavation matrix (m³) | 3438.255 |
| --- | --- |

## 2.2. Trench backfill

### 2.2.1.Total backfill volume

| Total volume (m³) | 7399.078 |
| --- | --- |

### 2.2.2. Restoration (asphalt)

| Total length (m) | 11546.083 |
| --- | --- |
| Total area (m²) | 9236.8665 |
| Total volume (m³) | 2771.060 |
| Mean thickness (m) | 0.300 |

### 2.2.3. Restoration (concrete)

| Total length (m) | 181.229 |
| --- | --- |
| Total area (m²) | 144.9829 |
| Total volume (m²) | 21.747 |
| Mean thickness (m) | 0.150 |

### 2.2.4. Restoration (gravel)

| Total length (m) | 579.805 |
| --- | --- |
| Total area (m²) | 463.8437 |
| Total volume (m³) | 92.769 |
| Mean thickness (m) | 0.200 |

## 2.3. Augmented soil volume to be transported

| Augmented soil volume to be transported (m³) | 12370.891 |
| --- | --- |

## 2.4. Transportation of soil volume

| Mean transportation distance (m) | 0.000 |
| --- | --- |
| Total (km.m³) | 0 |

## 2.5. Trench support

| Total support area (m²) | 0.0000 |
| --- | --- |

## 2.6. Water pumping

| Number of pumps | 0 |
| --- | --- |
| Pump diameter (inch) | 2 |
| Pump operation time (h) | 0.00 |

## 2.7. Dislocation of public utilities

| Expected dislocation of public utilities (m) | 0.000 |
| --- | --- |

# 3. Conduit Sections

## 3.1. Section : D   0.2

| # | From Node | To Node | Conduit Name | Length (m) |
| --- | --- | --- | --- | --- |
| 1 | J 1 | J 2 | J 1:J 2 | 25.778 |
| 2 | J 2 | J 3 | J 2:J 3 | 31.473 |
| 3 | J 3 | J 4 | J 3:J 4 | 44.420 |
| 4 | J 4 | J 5 | J 4:J 5 | 28.308 |
| 5 | J 5 | J 6 | J 5:J 6 | 34.692 |
| 6 | J 6 | J 7 | J 6:J 7 | 18.634 |
| 7 | J 7 | J 8 | J 7:J 8 | 49.635 |
| 8 | J 8 | J 9 | J 8:J 9 | 55.897 |
| 9 | J 9 | J 10 | J 9:J 10 | 49.587 |
| 10 | J 10 | J 11 | J 10:J 11 | 31.408 |
| 11 | J 12 | J 13 | J 12:J 13 | 23.410 |
| 12 | J 13 | J 14 | J 13:J 14 | 49.182 |
| 13 | J 15 | J 16 | J 15:J 16 | 25.491 |
| 14 | J 16 | J 17 | J 16:J 17 | 21.184 |
| 15 | J 17 | J 14 | J 17:J 14 | 11.903 |
| 16 | J 14 | J 18 | J 14:J 18 | 28.283 |
| 17 | J 21 | J 22 | J 21:J 22 | 42.064 |
| 18 | J 22 | J 23 | J 22:J 23 | 50.527 |
| 19 | J 23 | J 24 | J 23:J 24 | 28.338 |
| 20 | J 25 | J 293 | J 25:J 293 | 45.263 |
| 21 | J 24 | J 26 | J 24:J 26 | 12.780 |
| 22 | J 26 | J 27 | J 26:J 27 | 42.265 |
| 23 | J 27 | J 28 | J 27:J 28 | 49.654 |
| 24 | J 29 | J 30 | J 29:J 30 | 48.795 |
| 25 | J 30 | J 31 | J 30:J 31 | 23.282 |
| 26 | J 32 | J 33 | J 32:J 33 | 64.896 |
| 27 | J 40 | J 41 | J 40:J 41 | 82.768 |
| 28 | J 41 | J 42 | J 41:J 42 | 63.178 |
| 29 | J 42 | J 43 | J 42:J 43 | 42.392 |
| 30 | J 43 | J 44 | J 43:J 44 | 43.328 |
| 31 | J 45 | J 46 | J 45:J 46 | 42.974 |
| 32 | J 46 | J 44 | J 46:J 44 | 35.309 |
| 33 | J 44 | J 47 | J 44:J 47 | 36.553 |
| 34 | J 47 | J 48 | J 47:J 48 | 38.352 |
| 35 | J 48 | J 49 | J 48:J 49 | 58.549 |
| 36 | J 49 | J 50 | J 49:J 50 | 45.044 |
| 37 | J 51 | J 52 | J 51:J 52 | 23.004 |
| 38 | J 52 | J 53 | J 52:J 53 | 53.643 |
| 39 | J 54 | J 55 | J 54:J 55 | 43.476 |
| 40 | J 55 | J 56 | J 55:J 56 | 61.097 |
| 41 | J 57 | J 58 | J 57:J 58 | 61.961 |
| 42 | J 58 | J 56 | J 58:J 56 | 29.567 |
| 43 | J 56 | J 50 | J 56:J 50 | 39.579 |
| 44 | J 50 | J 53 | J 50:J 53 | 29.329 |
| 45 | J 53 | J 59 | J 53:J 59 | 37.144 |
| 46 | J 59 | J 60 | J 59:J 60 | 54.657 |
| 47 | J 61 | J 62 | J 61:J 62 | 58.650 |
| 48 | J 62 | J 63 | J 62:J 63 | 56.921 |
| 49 | J 63 | J 64 | J 63:J 64 | 65.939 |
| 50 | J 65 | J 66 | J 65:J 66 | 40.030 |
| 51 | J 66 | J 67 | J 66:J 67 | 51.814 |
| 52 | J 68 | J 67 | J 68:J 67 | 52.175 |
| 53 | J 67 | J 69 | J 67:J 69 | 33.934 |
| 54 | J 69 | J 70 | J 69:J 70 | 44.504 |
| 55 | J 70 | J 64 | J 70:J 64 | 34.172 |
| 56 | J 64 | J 60 | J 64:J 60 | 56.753 |
| 57 | J 71 | J 72 | J 71:J 72 | 27.850 |
| 58 | J 72 | J 73 | J 72:J 73 | 24.374 |
| 59 | J 73 | J 74 | J 73:J 74 | 32.147 |
| 60 | J 74 | J 75 | J 74:J 75 | 28.783 |
| 61 | J 75 | J 76 | J 75:J 76 | 41.751 |
| 62 | J 76 | J 77 | J 76:J 77 | 37.556 |
| 63 | J 77 | J 78 | J 77:J 78 | 30.743 |
| 64 | J 79 | J 80 | J 79:J 80 | 91.632 |
| 65 | J 78 | J 80 | J 78:J 80 | 77.940 |
| 66 | J 81 | J 82 | J 81:J 82 | 33.965 |
| 67 | J 82 | J 78 | J 82:J 78 | 26.682 |
| 68 | J 83 | J 84 | J 83:J 84 | 80.098 |
| 69 | J 84 | J 85 | J 84:J 85 | 46.848 |
| 70 | J 85 | J 86 | J 85:J 86 | 15.923 |
| 71 | J 86 | J 87 | J 86:J 87 | 42.860 |
| 72 | J 88 | J 89 | J 88:J 89 | 67.230 |
| 73 | J 90 | J 91 | J 90:J 91 | 72.275 |
| 74 | J 91 | J 92 | J 91:J 92 | 47.417 |
| 75 | J 93 | J 127 | J 93:J 127 | 39.193 |
| 76 | J 95 | J 94 | J 95:J 94 | 70.611 |
| 77 | J 94 | J 96 | J 94:J 96 | 55.440 |
| 78 | J 96 | J 97 | J 96:J 97 | 13.411 |
| 79 | J 98 | J 99 | J 98:J 99 | 49.970 |
| 80 | J 99 | J 100 | J 99:J 100 | 24.952 |
| 81 | J 100 | J 101 | J 100:J 101 | 30.686 |
| 82 | J 102 | J 103 | J 102:J 103 | 19.043 |
| 83 | J 104 | J 105 | J 104:J 105 | 24.114 |
| 84 | J 105 | J 106 | J 105:J 106 | 38.189 |
| 85 | J 106 | J 107 | J 106:J 107 | 30.508 |
| 86 | J 107 | J 108 | J 107:J 108 | 38.923 |
| 87 | J 108 | J 109 | J 108:J 109 | 38.998 |
| 88 | J 110 | J 111 | J 110:J 111 | 56.957 |
| 89 | J 112 | J 113 | J 112:J 113 | 25.330 |
| 90 | J 113 | J 114 | J 113:J 114 | 39.191 |
| 91 | J 114 | J 115 | J 114:J 115 | 24.593 |
| 92 | J 115 | J 116 | J 115:J 116 | 34.860 |
| 93 | J 117 | J 118 | J 117:J 118 | 39.755 |
| 94 | J 118 | J 116 | J 118:J 116 | 44.322 |
| 95 | J 116 | J 119 | J 116:J 119 | 24.211 |
| 96 | J 119 | J 101 | J 119:J 101 | 20.921 |
| 97 | J 101 | J 120 | J 101:J 120 | 24.262 |
| 98 | J 120 | J 121 | J 120:J 121 | 21.301 |
| 99 | J 121 | J 103 | J 121:J 103 | 51.760 |
| 100 | J 103 | J 122 | J 103:J 122 | 48.885 |
| 101 | J 122 | J 123 | J 122:J 123 | 62.088 |
| 102 | J 123 | J 124 | J 123:J 124 | 22.525 |
| 103 | J 124 | J 87 | J 124:J 87 | 27.961 |
| 104 | J 87 | J 125 | J 87:J 125 | 16.204 |
| 105 | J 125 | J 89 | J 125:J 89 | 40.523 |
| 106 | J 89 | J 126 | J 89:J 126 | 44.040 |
| 107 | J 126 | J 127 | J 126:J 127 | 38.412 |
| 108 | J 127 | J 128 | J 127:J 128 | 56.513 |
| 109 | J 128 | J 60 | J 128:J 60 | 19.677 |
| 110 | J 60 | J 129 | J 60:J 129 | 60.518 |
| 111 | J 129 | J 130 | J 129:J 130 | 68.010 |
| 112 | J 144 | J 145 | J 144:J 145 | 49.209 |
| 113 | J 147 | J 148 | J 147:J 148 | 35.082 |
| 114 | J 148 | J 149 | J 148:J 149 | 43.421 |
| 115 | J 149 | J 150 | J 149:J 150 | 65.931 |
| 116 | J 150 | J 145 | J 150:J 145 | 14.575 |
| 117 | J 145 | J 151 | J 145:J 151 | 33.254 |
| 118 | J 151 | J 152 | J 151:J 152 | 30.132 |
| 119 | J 152 | J 153 | J 152:J 153 | 34.811 |
| 120 | J 153 | J 140 | J 153:J 140 | 9.611 |
| 121 | J 154 | J 155 | J 154:J 155 | 41.897 |
| 122 | J 156 | J 157 | J 156:J 157 | 39.564 |
| 123 | J 157 | J 158 | J 157:J 158 | 41.493 |
| 124 | J 158 | J 159 | J 158:J 159 | 21.830 |
| 125 | J 160 | J 161 | J 160:J 161 | 31.631 |
| 126 | J 161 | J 162 | J 161:J 162 | 28.600 |
| 127 | J 162 | J 163 | J 162:J 163 | 35.478 |
| 128 | J 163 | J 155 | J 163:J 155 | 9.957 |
| 129 | J 155 | J 164 | J 155:J 164 | 33.307 |
| 130 | J 164 | J 165 | J 164:J 165 | 50.646 |
| 131 | J 166 | J 167 | J 166:J 167 | 46.440 |
| 132 | J 167 | J 159 | J 167:J 159 | 14.675 |
| 133 | J 159 | J 168 | J 159:J 168 | 42.505 |
| 134 | J 168 | J 169 | J 168:J 169 | 37.443 |
| 135 | J 169 | J 165 | J 169:J 165 | 53.413 |
| 136 | J 165 | J 170 | J 165:J 170 | 22.063 |
| 137 | J 170 | J 171 | J 170:J 171 | 41.324 |
| 138 | J 171 | J 172 | J 171:J 172 | 27.068 |
| 139 | J 173 | J 174 | J 173:J 174 | 53.938 |
| 140 | J 174 | J 175 | J 174:J 175 | 61.055 |
| 141 | J 176 | J 177 | J 176:J 177 | 26.616 |
| 142 | J 177 | J 178 | J 177:J 178 | 20.585 |
| 143 | J 178 | J 179 | J 178:J 179 | 15.006 |
| 144 | J 179 | J 180 | J 179:J 180 | 14.160 |
| 145 | J 181 | J 182 | J 181:J 182 | 30.677 |
| 146 | J 182 | J 183 | J 182:J 183 | 32.606 |
| 147 | J 183 | J 184 | J 183:J 184 | 44.221 |
| 148 | J 184 | J 180 | J 184:J 180 | 12.368 |
| 149 | J 180 | J 185 | J 180:J 185 | 36.635 |
| 150 | J 186 | J 185 | J 186:J 185 | 32.165 |
| 151 | J 185 | J 187 | J 185:J 187 | 19.243 |
| 152 | J 187 | J 175 | J 187:J 175 | 19.039 |
| 153 | J 175 | J 188 | J 175:J 188 | 16.329 |
| 154 | J 189 | J 190 | J 189:J 190 | 51.767 |
| 155 | J 190 | J 191 | J 190:J 191 | 51.377 |
| 156 | J 192 | J 193 | J 192:J 193 | 48.375 |
| 157 | J 193 | J 194 | J 193:J 194 | 39.320 |
| 158 | J 194 | J 195 | J 194:J 195 | 32.718 |
| 159 | J 196 | J 199 | J 196:J 199 | 30.981 |
| 160 | J 197 | J 198 | J 197:J 198 | 46.467 |
| 161 | J 199 | J 200 | J 199:J 200 | 45.063 |
| 162 | J 200 | J 201 | J 200:J 201 | 23.162 |
| 163 | J 202 | J 203 | J 202:J 203 | 33.379 |
| 164 | J 203 | J 204 | J 203:J 204 | 36.912 |
| 165 | J 204 | J 205 | J 204:J 205 | 43.279 |
| 166 | J 205 | J 206 | J 205:J 206 | 67.711 |
| 167 | J 206 | J 207 | J 206:J 207 | 26.026 |
| 168 | J 191 | J 208 | J 191:J 208 | 24.317 |
| 169 | J 208 | J 209 | J 208:J 209 | 41.899 |
| 170 | J 209 | J 210 | J 209:J 210 | 44.442 |
| 171 | J 210 | J 211 | J 210:J 211 | 56.238 |
| 172 | J 211 | J 212 | J 211:J 212 | 36.312 |
| 173 | J 212 | J 213 | J 212:J 213 | 43.833 |
| 174 | J 213 | J 214 | J 213:J 214 | 48.338 |
| 175 | J 207 | J 215 | J 207:J 215 | 31.455 |
| 176 | J 215 | J 216 | J 215:J 216 | 42.742 |
| 177 | J 216 | J 217 | J 216:J 217 | 45.881 |
| 178 | J 217 | J 214 | J 217:J 214 | 56.712 |
| 179 | J 214 | J 218 | J 214:J 218 | 11.058 |
| 180 | J 218 | J 219 | J 218:J 219 | 38.367 |
| 181 | J 219 | J 220 | J 219:J 220 | 33.264 |
| 182 | J 220 | J 221 | J 220:J 221 | 34.413 |
| 183 | J 221 | J 222 | J 221:J 222 | 38.798 |
| 184 | J 222 | J 223 | J 222:J 223 | 42.322 |
| 185 | J 224 | J 225 | J 224:J 225 | 48.565 |
| 186 | J 225 | J 226 | J 225:J 226 | 52.371 |
| 187 | J 226 | J 227 | J 226:J 227 | 42.019 |
| 188 | J 227 | J 228 | J 227:J 228 | 41.163 |
| 189 | J 228 | J 229 | J 228:J 229 | 49.757 |
| 190 | J 229 | J 230 | J 229:J 230 | 34.278 |
| 191 | J 231 | J 232 | J 231:J 232 | 21.724 |
| 192 | J 232 | J 233 | J 232:J 233 | 41.805 |
| 193 | J 233 | J 230 | J 233:J 230 | 43.539 |
| 194 | J 230 | J 234 | J 230:J 234 | 51.453 |
| 195 | J 235 | J 236 | J 235:J 236 | 32.716 |
| 196 | J 236 | J 237 | J 236:J 237 | 23.035 |
| 197 | J 237 | J 238 | J 237:J 238 | 31.015 |
| 198 | J 238 | J 239 | J 238:J 239 | 57.337 |
| 199 | J 240 | J 241 | J 240:J 241 | 31.964 |
| 200 | J 241 | J 242 | J 241:J 242 | 28.405 |
| 201 | J 242 | J 234 | J 242:J 234 | 9.889 |
| 202 | J 234 | J 188 | J 234:J 188 | 31.569 |
| 203 | J 188 | J 243 | J 188:J 243 | 38.402 |
| 204 | J 243 | J 198 | J 243:J 198 | 57.243 |
| 205 | J 198 | J 172 | J 198:J 172 | 34.565 |
| 206 | J 172 | J 244 | J 172:J 244 | 25.992 |
| 207 | J 244 | J 195 | J 244:J 195 | 31.879 |
| 208 | J 195 | J 245 | J 195:J 245 | 33.078 |
| 209 | J 245 | J 246 | J 245:J 246 | 39.403 |
| 210 | J 246 | J 247 | J 246:J 247 | 37.902 |
| 211 | J 248 | J 249 | J 248:J 249 | 28.235 |
| 212 | J 249 | J 250 | J 249:J 250 | 35.964 |
| 213 | J 250 | J 239 | J 250:J 239 | 26.216 |
| 214 | J 239 | J 201 | J 239:J 201 | 47.774 |
| 215 | J 201 | J 223 | J 201:J 223 | 44.963 |
| 216 | J 223 | J 251 | J 223:J 251 | 32.108 |
| 217 | J 251 | J 252 | J 251:J 252 | 40.164 |
| 218 | J 252 | J 253 | J 252:J 253 | 41.657 |
| 219 | J 253 | J 254 | J 253:J 254 | 29.667 |
| 220 | J 254 | J 146 | J 254:J 146 | 69.576 |
| 221 | J 255 | J 256 | J 255:J 256 | 33.582 |
| 222 | J 256 | J 257 | J 256:J 257 | 31.661 |
| 223 | J 257 | J 258 | J 257:J 258 | 37.235 |
| 224 | J 258 | J 259 | J 258:J 259 | 31.294 |
| 225 | J 260 | J 247 | J 260:J 247 | 45.195 |
| 226 | J 261 | J 262 | J 261:J 262 | 26.842 |
| 227 | J 262 | J 263 | J 262:J 263 | 33.331 |
| 228 | J 263 | J 264 | J 263:J 264 | 29.445 |
| 229 | J 264 | J 259 | J 264:J 259 | 18.825 |
| 230 | J 259 | J 247 | J 259:J 247 | 40.387 |
| 231 | J 247 | J 146 | J 247:J 146 | 43.527 |
| 232 | J 146 | J 265 | J 146:J 265 | 49.881 |
| 233 | J 265 | J 266 | J 265:J 266 | 60.534 |
| 234 | J 266 | J 267 | J 266:J 267 | 58.362 |
| 235 | J 267 | J 268 | J 267:J 268 | 65.029 |
| 236 | J 268 | J 92 | J 268:J 92 | 17.983 |
| 237 | J 269 | J 270 | J 269:J 270 | 36.255 |
| 238 | J 270 | J 261 | J 270:J 261 | 36.634 |
| 239 | J 20 | J 19 | J 20:J 19 | 61.066 |
| 240 | J 286 | J 20 | J 286:J 20 | 23.021 |
| 241 | J 287 | J 288 | J 287:J 288 | 12.335 |
| 242 | J 288 | J 289 | J 288:J 289 | 19.205 |
| 243 | J 289 | J 290 | J 289:J 290 | 11.130 |
| 244 | J 290 | J 291 | J 290:J 291 | 19.138 |
| 245 | J 291 | J 292 | J 291:J 292 | 23.827 |
| 246 | J 292 | J 18 | J 292:J 18 | 13.162 |
| 247 | J 18 | J 293 | J 18:J 293 | 29.426 |
| 248 | J 293 | J 294 | J 293:J 294 | 16.751 |
| 249 | J 294 | J 295 | J 294:J 295 | 17.779 |
| 250 | J 295 | J 296 | J 295:J 296 | 15.413 |
| 251 | J 296 | J 297 | J 296:J 297 | 16.293 |
| 252 | J 297 | J 11 | J 297:J 11 | 27.449 |
| 253 | J 11 | J 298 | J 11:J 298 | 48.858 |
| 254 | J 298 | J 299 | J 298:J 299 | 32.160 |
| 255 | J 299 | J 286 | J 299:J 286 | 33.837 |
| 256 | J 300 | J 301 | J 300:J 301 | 39.989 |
| 257 | J 301 | J 302 | J 301:J 302 | 36.515 |
| 258 | J 302 | J 286 | J 302:J 286 | 39.247 |
| 259 | J 80 | J 312 | J 80:J 312 | 59.637 |
| 260 | J 312 | J 313 | J 312:J 313 | 58.000 |
| 261 | J 313 | J 52 | J 313:J 52 | 18.020 |
| 262 | J 314 | J 154 | J 314:J 154 | 31.523 |
|  |  |  | Total | 9950.976 |

## 3.2. Section : D   0.25

| # | From Node | To Node | Conduit Name | Length (m) |
| --- | --- | --- | --- | --- |
| 1 | J 34 | J 33 | J 34:J 33 | 45.621 |
| 2 | J 33 | J 35 | J 33:J 35 | 37.141 |
| 3 | J 35 | J 36 | J 35:J 36 | 38.968 |
| 4 | J 36 | J 37 | J 36:J 37 | 48.212 |
| 5 | J 37 | J 38 | J 37:J 38 | 39.573 |
| 6 | J 38 | J 28 | J 38:J 28 | 30.115 |
| 7 | J 28 | J 31 | J 28:J 31 | 69.383 |
| 8 | J 31 | J 39 | J 31:J 39 | 41.219 |
| 9 | J 39 | J 19 | J 39:J 19 | 39.979 |
| 10 | J 131 | J 132 | J 131:J 132 | 40.199 |
| 11 | J 132 | J 133 | J 132:J 133 | 43.653 |
| 12 | J 133 | J 134 | J 133:J 134 | 56.364 |
| 13 | J 134 | J 135 | J 134:J 135 | 39.710 |
| 14 | J 135 | J 136 | J 135:J 136 | 40.207 |
| 15 | J 136 | J 137 | J 136:J 137 | 48.010 |
| 16 | J 137 | J 138 | J 137:J 138 | 32.656 |
| 17 | J 138 | J 139 | J 138:J 139 | 39.088 |
| 18 | J 139 | J 140 | J 139:J 140 | 61.638 |
| 19 | J 140 | J 141 | J 140:J 141 | 70.549 |
| 20 | J 141 | J 142 | J 141:J 142 | 38.363 |
| 21 | J 142 | J 111 | J 142:J 111 | 39.155 |
| 22 | J 111 | J 143 | J 111:J 143 | 41.927 |
| 23 | J 143 | J 271 | J 143:J 271 | 34.770 |
| 24 | J 271 | J 109 | J 271:J 109 | 46.571 |
| 25 | J 109 | J 272 | J 109:J 272 | 47.522 |
| 26 | J 272 | J 273 | J 272:J 273 | 39.837 |
| 27 | J 273 | J 92 | J 273:J 92 | 62.863 |
| 28 | J 92 | J 97 | J 92:J 97 | 27.599 |
| 29 | J 97 | J 274 | J 97:J 274 | 44.196 |
| 30 | J 274 | J 275 | J 274:J 275 | 39.639 |
| 31 | J 275 | J 276 | J 275:J 276 | 40.355 |
| 32 | J 276 | J 277 | J 276:J 277 | 40.206 |
| 33 | J 277 | J 130 | J 277:J 130 | 50.370 |
| 34 | J 19 | J 278 | J 19:J 278 | 41.564 |
| 35 | J 278 | J 279 | J 278:J 279 | 41.995 |
| 36 | J 279 | J 280 | J 279:J 280 | 28.025 |
| 37 | J 280 | J 281 | J 280:J 281 | 59.645 |
| 38 | J 281 | J 282 | J 281:J 282 | 51.955 |
| 39 | J 282 | J 283 | J 282:J 283 | 44.496 |
| 40 | J 283 | J 284 | J 283:J 284 | 84.058 |
| 41 | J 284 | J 285 | J 284:J 285 | 59.686 |
| 42 | J 285 | A0 | J 285:A0 | 59.699 |
| 43 | J 130 | J 303 | J 130:J 303 | 49.136 |
| 44 | J 303 | J 304 | J 303:J 304 | 40.200 |
| 45 | J 304 | J 305 | J 304:J 305 | 40.200 |
| 46 | J 305 | J 306 | J 305:J 306 | 39.915 |
| 47 | J 306 | J 307 | J 306:J 307 | 39.702 |
| 48 | J 307 | J 308 | J 307:J 308 | 53.708 |
| 49 | J 308 | J 309 | J 308:J 309 | 46.261 |
| 50 | J 309 | J 310 | J 309:J 310 | 40.487 |
| 51 | J 310 | J 311 | J 310:J 311 | 39.532 |
| 52 | J 311 | A0 | J 311:A0 | 40.216 |
|  |  |  | Total | 2356.140 |

# 4. Marking grid

| Total length (m) | 0.000 |
| --- | --- |

# 5. Manholes (per type)

## 5.1. Manhole specification : Τυπικό φρεάτιο

| Number of nodes | 314 |
| --- | --- |

# 6. Manholes

## 6.1. Manhole specification : Τυπικό φρεάτιο

| # | Node | Neck height (m) | Concrete volume C16/20 (m³) | Bottom concrete volume C8/10 (m³) | Sublayer concrete volume C8/10 (m³) | Wood forms (m²) | Asphalt (m²) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | J 1 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 2 | J 2 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 3 | J 3 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 4 | J 4 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 5 | J 5 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 6 | J 6 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 7 | J 7 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 8 | J 8 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 9 | J 9 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 10 | J 10 | 1.219 | 1.414 | 0.095 | 0.113 | 19.5394 | 11.2368 |
| 11 | J 11 | 1.410 | 1.466 | 0.095 | 0.113 | 20.2263 | 11.6948 |
| 12 | J 12 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 13 | J 13 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 14 | J 14 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 15 | J 15 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 16 | J 16 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 17 | J 17 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 18 | J 18 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 19 | J 19 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 20 | J 20 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 21 | J 21 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 22 | J 22 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 23 | J 23 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 24 | J 24 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 25 | J 25 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 26 | J 26 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 27 | J 27 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 28 | J 28 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 29 | J 29 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 30 | J 30 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 31 | J 31 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 32 | J 32 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 33 | J 33 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 34 | J 34 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 35 | J 35 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 36 | J 36 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 37 | J 37 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 38 | J 38 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 39 | J 39 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 40 | J 40 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 41 | J 41 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 42 | J 42 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 43 | J 43 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 44 | J 44 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 45 | J 45 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 46 | J 46 | 0.010 | 1.088 | 0.095 | 0.113 | 15.1863 | 8.3348 |
| 47 | J 47 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 48 | J 48 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 49 | J 49 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 50 | J 50 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 51 | J 51 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 52 | J 52 | 0.184 | 1.135 | 0.095 | 0.113 | 15.8139 | 8.7532 |
| 53 | J 53 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 54 | J 54 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 55 | J 55 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 56 | J 56 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 57 | J 57 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 58 | J 58 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 59 | J 59 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 60 | J 60 | 0.590 | 1.244 | 0.095 | 0.113 | 17.2743 | 9.7268 |
| 61 | J 61 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 62 | J 62 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 63 | J 63 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 64 | J 64 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 65 | J 65 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 66 | J 66 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 67 | J 67 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 68 | J 68 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 69 | J 69 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 70 | J 70 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 71 | J 71 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 72 | J 72 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 73 | J 73 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 74 | J 74 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 75 | J 75 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 76 | J 76 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 77 | J 77 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 78 | J 78 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 79 | J 79 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 80 | J 80 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 81 | J 81 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 82 | J 82 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 83 | J 83 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 84 | J 84 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 85 | J 85 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 86 | J 86 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 87 | J 87 | 0.130 | 1.120 | 0.095 | 0.113 | 15.6183 | 8.6228 |
| 88 | J 88 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 89 | J 89 | 0.210 | 1.142 | 0.095 | 0.113 | 15.9063 | 8.8148 |
| 90 | J 90 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 91 | J 91 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 92 | J 92 | 0.890 | 1.325 | 0.095 | 0.113 | 18.3543 | 10.4468 |
| 93 | J 93 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 94 | J 94 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 95 | J 95 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 96 | J 96 | 0.169 | 1.131 | 0.095 | 0.113 | 15.7591 | 8.7166 |
| 97 | J 97 | 0.834 | 1.310 | 0.095 | 0.113 | 18.1514 | 10.3115 |
| 98 | J 98 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 99 | J 99 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 100 | J 100 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 101 | J 101 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 102 | J 102 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 103 | J 103 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 104 | J 104 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 105 | J 105 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 106 | J 106 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 107 | J 107 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 108 | J 108 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 109 | J 109 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 110 | J 110 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 111 | J 111 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 112 | J 112 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 113 | J 113 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 114 | J 114 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 115 | J 115 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 116 | J 116 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 117 | J 117 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 118 | J 118 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 119 | J 119 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 120 | J 120 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 121 | J 121 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 122 | J 122 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 123 | J 123 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 124 | J 124 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 125 | J 125 | 0.201 | 1.139 | 0.095 | 0.113 | 15.8732 | 8.7927 |
| 126 | J 126 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 127 | J 127 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 128 | J 128 | 0.569 | 1.239 | 0.095 | 0.113 | 17.1974 | 9.6755 |
| 129 | J 129 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 130 | J 130 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 131 | J 131 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 132 | J 132 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 133 | J 133 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 134 | J 134 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 135 | J 135 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 136 | J 136 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 137 | J 137 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 138 | J 138 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 139 | J 139 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 140 | J 140 | 0.090 | 1.109 | 0.095 | 0.113 | 15.4743 | 8.5268 |
| 141 | J 141 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 142 | J 142 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 143 | J 143 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 144 | J 144 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 145 | J 145 | 0.420 | 1.198 | 0.095 | 0.113 | 16.6623 | 9.3188 |
| 146 | J 146 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 147 | J 147 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 148 | J 148 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 149 | J 149 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 150 | J 150 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 151 | J 151 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 152 | J 152 | 0.263 | 1.156 | 0.095 | 0.113 | 16.0970 | 8.9419 |
| 153 | J 153 | 0.060 | 1.101 | 0.095 | 0.113 | 15.3676 | 8.4556 |
| 154 | J 154 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 155 | J 155 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 156 | J 156 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 157 | J 157 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 158 | J 158 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 159 | J 159 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 160 | J 160 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 161 | J 161 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 162 | J 162 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 163 | J 163 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 164 | J 164 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 165 | J 165 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 166 | J 166 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 167 | J 167 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 168 | J 168 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 169 | J 169 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 170 | J 170 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 171 | J 171 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 172 | J 172 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 173 | J 173 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 174 | J 174 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 175 | J 175 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 176 | J 176 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 177 | J 177 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 178 | J 178 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 179 | J 179 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 180 | J 180 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 181 | J 181 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 182 | J 182 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 183 | J 183 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 184 | J 184 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 185 | J 185 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 186 | J 186 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 187 | J 187 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 188 | J 188 | 0.150 | 1.126 | 0.095 | 0.113 | 15.6903 | 8.6708 |
| 189 | J 189 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 190 | J 190 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 191 | J 191 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 192 | J 192 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 193 | J 193 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 194 | J 194 | 0.710 | 1.277 | 0.095 | 0.113 | 17.7066 | 10.0150 |
| 195 | J 195 | 0.200 | 1.139 | 0.095 | 0.113 | 15.8703 | 8.7908 |
| 196 | J 196 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 197 | J 197 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 198 | J 198 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 199 | J 199 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 200 | J 200 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 201 | J 201 | 0.390 | 1.190 | 0.095 | 0.113 | 16.5543 | 9.2468 |
| 202 | J 202 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 203 | J 203 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 204 | J 204 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 205 | J 205 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 206 | J 206 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 207 | J 207 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 208 | J 208 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 209 | J 209 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 210 | J 210 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 211 | J 211 | 0.074 | 1.105 | 0.095 | 0.113 | 15.4160 | 8.4879 |
| 212 | J 212 | 0.199 | 1.139 | 0.095 | 0.113 | 15.8665 | 8.7883 |
| 213 | J 213 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 214 | J 214 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 215 | J 215 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 216 | J 216 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 217 | J 217 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 218 | J 218 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 219 | J 219 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 220 | J 220 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 221 | J 221 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 222 | J 222 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 223 | J 223 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 224 | J 224 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 225 | J 225 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 226 | J 226 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 227 | J 227 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 228 | J 228 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 229 | J 229 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 230 | J 230 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 231 | J 231 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 232 | J 232 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 233 | J 233 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 234 | J 234 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 235 | J 235 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 236 | J 236 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 237 | J 237 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 238 | J 238 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 239 | J 239 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 240 | J 240 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 241 | J 241 | 0.030 | 1.093 | 0.095 | 0.113 | 15.2583 | 8.3828 |
| 242 | J 242 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 243 | J 243 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 244 | J 244 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 245 | J 245 | 0.058 | 1.101 | 0.095 | 0.113 | 15.3585 | 8.4495 |
| 246 | J 246 | 0.098 | 1.111 | 0.095 | 0.113 | 15.5021 | 8.5453 |
| 247 | J 247 | 0.000 | 1.070 | 0.095 | 0.113 | 14.9241 | 8.1977 |
| 248 | J 248 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 249 | J 249 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 250 | J 250 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 251 | J 251 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 252 | J 252 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 253 | J 253 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 254 | J 254 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 255 | J 255 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 256 | J 256 | 0.090 | 1.109 | 0.095 | 0.113 | 15.4743 | 8.5268 |
| 257 | J 257 | 0.010 | 1.088 | 0.095 | 0.113 | 15.1863 | 8.3348 |
| 258 | J 258 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 259 | J 259 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 260 | J 260 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 261 | J 261 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 262 | J 262 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 263 | J 263 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 264 | J 264 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 265 | J 265 | 0.721 | 1.280 | 0.095 | 0.113 | 17.7444 | 10.0401 |
| 266 | J 266 | 0.813 | 1.305 | 0.095 | 0.113 | 18.0781 | 10.2627 |
| 267 | J 267 | 0.529 | 1.228 | 0.095 | 0.113 | 17.0563 | 9.5814 |
| 268 | J 268 | 0.706 | 1.276 | 0.095 | 0.113 | 17.6909 | 10.0045 |
| 269 | J 269 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 270 | J 270 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 271 | J 271 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 272 | J 272 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 273 | J 273 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 274 | J 274 | 0.558 | 1.236 | 0.095 | 0.113 | 17.1576 | 9.6490 |
| 275 | J 275 | 0.268 | 1.157 | 0.095 | 0.113 | 16.1141 | 8.9533 |
| 276 | J 276 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 277 | J 277 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 278 | J 278 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 279 | J 279 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 280 | J 280 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 281 | J 281 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 282 | J 282 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 283 | J 283 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 284 | J 284 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 285 | J 285 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 286 | J 286 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 287 | J 287 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 288 | J 288 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 289 | J 289 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 290 | J 290 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 291 | J 291 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 292 | J 292 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 293 | J 293 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 294 | J 294 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 295 | J 295 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 296 | J 296 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 297 | J 297 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 298 | J 298 | 0.529 | 1.228 | 0.095 | 0.113 | 17.0547 | 9.5804 |
| 299 | J 299 | 0.010 | 1.088 | 0.095 | 0.113 | 15.1863 | 8.3348 |
| 300 | J 300 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 301 | J 301 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 302 | J 302 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 303 | J 303 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 304 | J 304 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 305 | J 305 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 306 | J 306 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 307 | J 307 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 308 | J 308 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 309 | J 309 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 310 | J 310 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 311 | J 311 | 0.000 | 1.060 | 0.095 | 0.113 | 14.7733 | 8.1223 |
| 312 | J 312 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 313 | J 313 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
| 314 | J 314 | 0.000 | 1.036 | 0.095 | 0.113 | 14.3963 | 7.9338 |
|  |  | Total | 331.707 | 29.964 | 35.513 | 4613.2953 | 2545.6700 |

# 7. Trenches

## 7.1. Trench : Φ200-250 ΧΩΜ (Type V)

| # | Conduit | Length (m) | Base Quarry sand (m³) | Confinement Quarry sand (m³) | Cover Quarry sand (m³) |
| --- | --- | --- | --- | --- | --- |
| 1 | J 189:J 190 | 51.767 | 6.212 | 7.597 | 12.424 |
| 2 | J 190:J 191 | 51.377 | 6.165 | 7.540 | 12.330 |
| 3 | J 202:J 203 | 33.379 | 4.005 | 4.899 | 8.011 |
| 4 | J 203:J 204 | 36.912 | 4.429 | 5.417 | 8.859 |
| 5 | J 204:J 205 | 43.279 | 5.193 | 6.352 | 10.387 |
| 6 | J 205:J 206 | 67.711 | 8.125 | 9.937 | 16.251 |
| 7 | J 191:J 208 | 24.317 | 2.918 | 3.569 | 5.836 |
| 8 | J 208:J 209 | 41.899 | 5.028 | 6.149 | 10.056 |
| 9 | J 209:J 210 | 44.442 | 5.333 | 6.522 | 10.666 |
| 10 | J 210:J 211 | 56.238 | 6.749 | 8.254 | 13.497 |
| 11 | J 211:J 212 | 36.312 | 4.357 | 5.329 | 8.715 |
| 12 | J 212:J 213 | 43.833 | 5.260 | 6.433 | 10.520 |
| 13 | J 213:J 214 | 48.338 | 5.801 | 7.094 | 11.601 |
|  | Σύνολο: | 579.805 | 69.577 | 85.093 | 139.153 |

## 7.2. Trench : Φ200-250 ΑΣΦ (Type V)

| # | Conduit | Length (m) | Base Quarry sand (m³) | Confinement Quarry sand (m³) | Cover Quarry sand (m³) |
| --- | --- | --- | --- | --- | --- |
| 1 | J 1:J 2 | 25.778 | 3.093 | 3.783 | 6.187 |
| 2 | J 2:J 3 | 31.473 | 3.777 | 4.619 | 7.553 |
| 3 | J 3:J 4 | 44.420 | 5.330 | 6.519 | 10.661 |
| 4 | J 4:J 5 | 28.308 | 3.397 | 4.155 | 6.794 |
| 5 | J 5:J 6 | 34.692 | 4.163 | 5.091 | 8.326 |
| 6 | J 6:J 7 | 18.634 | 2.236 | 2.735 | 4.472 |
| 7 | J 7:J 8 | 49.635 | 5.956 | 7.284 | 11.912 |
| 8 | J 8:J 9 | 55.897 | 6.708 | 8.204 | 13.415 |
| 9 | J 9:J 10 | 49.587 | 5.950 | 7.278 | 11.901 |
| 10 | J 10:J 11 | 31.408 | 3.769 | 4.610 | 7.538 |
| 11 | J 12:J 13 | 23.410 | 2.809 | 3.436 | 5.618 |
| 12 | J 13:J 14 | 49.182 | 5.902 | 7.218 | 11.804 |
| 13 | J 15:J 16 | 25.491 | 3.059 | 3.741 | 6.118 |
| 14 | J 16:J 17 | 21.184 | 2.542 | 3.109 | 5.084 |
| 15 | J 17:J 14 | 11.903 | 1.428 | 1.747 | 2.857 |
| 16 | J 14:J 18 | 28.283 | 3.394 | 4.151 | 6.788 |
| 17 | J 21:J 22 | 42.064 | 5.048 | 6.173 | 10.095 |
| 18 | J 22:J 23 | 50.527 | 6.063 | 7.415 | 12.127 |
| 19 | J 23:J 24 | 28.338 | 3.401 | 4.159 | 6.801 |
| 20 | J 25:J 293 | 45.263 | 5.432 | 6.643 | 10.863 |
| 21 | J 24:J 26 | 12.780 | 1.534 | 1.876 | 3.067 |
| 22 | J 26:J 27 | 42.265 | 5.072 | 6.203 | 10.144 |
| 23 | J 27:J 28 | 49.654 | 5.958 | 7.287 | 11.917 |
| 24 | J 29:J 30 | 48.795 | 5.855 | 7.161 | 11.711 |
| 25 | J 30:J 31 | 23.282 | 2.794 | 3.417 | 5.588 |
| 26 | J 32:J 33 | 64.896 | 7.788 | 9.524 | 15.575 |
| 27 | J 34:J 33 | 45.621 | 5.474 | 7.724 | 10.949 |
| 28 | J 33:J 35 | 37.141 | 4.457 | 6.289 | 8.914 |
| 29 | J 35:J 36 | 38.968 | 4.676 | 6.598 | 9.352 |
| 30 | J 36:J 37 | 48.212 | 5.785 | 8.163 | 11.571 |
| 31 | J 37:J 38 | 39.573 | 4.749 | 6.700 | 9.498 |
| 32 | J 38:J 28 | 30.115 | 3.614 | 5.099 | 7.228 |
| 33 | J 28:J 31 | 69.383 | 8.326 | 11.748 | 16.652 |
| 34 | J 31:J 39 | 41.219 | 4.946 | 6.979 | 9.893 |
| 35 | J 39:J 19 | 39.979 | 4.797 | 6.769 | 9.595 |
| 36 | J 40:J 41 | 82.768 | 9.932 | 12.147 | 19.864 |
| 37 | J 41:J 42 | 63.178 | 7.581 | 9.272 | 15.163 |
| 38 | J 42:J 43 | 42.392 | 5.087 | 6.222 | 10.174 |
| 39 | J 43:J 44 | 43.328 | 5.199 | 6.359 | 10.399 |
| 40 | J 45:J 46 | 42.974 | 5.157 | 6.307 | 10.314 |
| 41 | J 46:J 44 | 35.309 | 4.237 | 5.182 | 8.474 |
| 42 | J 44:J 47 | 36.553 | 4.386 | 5.365 | 8.773 |
| 43 | J 47:J 48 | 38.352 | 4.602 | 5.629 | 9.204 |
| 44 | J 48:J 49 | 58.549 | 7.026 | 8.593 | 14.052 |
| 45 | J 49:J 50 | 45.044 | 5.405 | 6.611 | 10.811 |
| 46 | J 51:J 52 | 23.004 | 2.760 | 3.376 | 5.521 |
| 47 | J 52:J 53 | 53.643 | 6.437 | 7.873 | 12.874 |
| 48 | J 54:J 55 | 43.476 | 5.217 | 6.381 | 10.434 |
| 49 | J 55:J 56 | 61.097 | 7.332 | 8.967 | 14.663 |
| 50 | J 57:J 58 | 61.961 | 7.435 | 9.093 | 14.871 |
| 51 | J 58:J 56 | 29.567 | 3.548 | 4.339 | 7.096 |
| 52 | J 56:J 50 | 39.579 | 4.749 | 5.809 | 9.499 |
| 53 | J 50:J 53 | 29.329 | 3.519 | 4.304 | 7.039 |
| 54 | J 53:J 59 | 37.144 | 4.457 | 5.451 | 8.915 |
| 55 | J 59:J 60 | 54.657 | 6.559 | 8.022 | 13.118 |
| 56 | J 61:J 62 | 58.650 | 7.038 | 8.608 | 14.076 |
| 57 | J 62:J 63 | 56.921 | 6.831 | 8.354 | 13.661 |
| 58 | J 63:J 64 | 65.939 | 7.913 | 9.677 | 15.825 |
| 59 | J 65:J 66 | 40.030 | 4.804 | 5.875 | 9.607 |
| 60 | J 66:J 67 | 51.814 | 6.218 | 7.604 | 12.435 |
| 61 | J 68:J 67 | 52.175 | 6.261 | 7.657 | 12.522 |
| 62 | J 67:J 69 | 33.934 | 4.072 | 4.980 | 8.144 |
| 63 | J 69:J 70 | 44.504 | 5.340 | 6.531 | 10.681 |
| 64 | J 70:J 64 | 34.172 | 4.101 | 5.015 | 8.201 |
| 65 | J 64:J 60 | 56.753 | 6.810 | 8.329 | 13.621 |
| 66 | J 71:J 72 | 27.850 | 3.342 | 4.087 | 6.684 |
| 67 | J 72:J 73 | 24.374 | 2.925 | 3.577 | 5.850 |
| 68 | J 73:J 74 | 32.147 | 3.858 | 4.718 | 7.715 |
| 69 | J 74:J 75 | 28.783 | 3.454 | 4.224 | 6.908 |
| 70 | J 75:J 76 | 41.751 | 5.010 | 6.127 | 10.020 |
| 71 | J 76:J 77 | 37.556 | 4.507 | 5.512 | 9.013 |
| 72 | J 77:J 78 | 30.743 | 3.689 | 4.512 | 7.378 |
| 73 | J 79:J 80 | 91.632 | 10.996 | 13.448 | 21.992 |
| 74 | J 78:J 80 | 77.940 | 9.353 | 11.439 | 18.706 |
| 75 | J 81:J 82 | 33.965 | 4.076 | 4.985 | 8.152 |
| 76 | J 82:J 78 | 26.682 | 3.202 | 3.916 | 6.404 |
| 77 | J 83:J 84 | 80.098 | 9.612 | 11.755 | 19.223 |
| 78 | J 84:J 85 | 46.848 | 5.622 | 6.875 | 11.243 |
| 79 | J 85:J 86 | 15.923 | 1.911 | 2.337 | 3.822 |
| 80 | J 86:J 87 | 42.860 | 5.143 | 6.290 | 10.286 |
| 81 | J 88:J 89 | 67.230 | 8.068 | 9.867 | 16.135 |
| 82 | J 90:J 91 | 72.275 | 8.673 | 10.607 | 17.346 |
| 83 | J 91:J 92 | 47.417 | 5.690 | 6.959 | 11.380 |
| 84 | J 93:J 127 | 39.193 | 4.703 | 5.752 | 9.406 |
| 85 | J 95:J 94 | 70.611 | 8.473 | 10.363 | 16.947 |
| 86 | J 94:J 96 | 55.440 | 6.653 | 8.136 | 13.306 |
| 87 | J 96:J 97 | 13.411 | 1.609 | 1.968 | 3.219 |
| 88 | J 98:J 99 | 49.970 | 5.996 | 7.334 | 11.993 |
| 89 | J 99:J 100 | 24.952 | 2.994 | 3.662 | 5.988 |
| 90 | J 100:J 101 | 30.686 | 3.682 | 4.503 | 7.365 |
| 91 | J 102:J 103 | 19.043 | 2.285 | 2.795 | 4.570 |
| 92 | J 104:J 105 | 24.114 | 2.894 | 3.539 | 5.787 |
| 93 | J 105:J 106 | 38.189 | 4.583 | 5.605 | 9.165 |
| 94 | J 106:J 107 | 30.508 | 3.661 | 4.477 | 7.322 |
| 95 | J 107:J 108 | 38.923 | 4.671 | 5.712 | 9.341 |
| 96 | J 108:J 109 | 38.998 | 4.680 | 5.723 | 9.359 |
| 97 | J 110:J 111 | 56.957 | 6.835 | 8.359 | 13.670 |
| 98 | J 112:J 113 | 25.330 | 3.040 | 3.717 | 6.079 |
| 99 | J 113:J 114 | 39.191 | 4.703 | 5.752 | 9.406 |
| 100 | J 114:J 115 | 24.593 | 2.951 | 3.609 | 5.902 |
| 101 | J 115:J 116 | 34.860 | 4.183 | 5.116 | 8.366 |
| 102 | J 117:J 118 | 39.755 | 4.771 | 5.835 | 9.541 |
| 103 | J 118:J 116 | 44.322 | 5.319 | 6.505 | 10.637 |
| 104 | J 116:J 119 | 24.211 | 2.905 | 3.553 | 5.811 |
| 105 | J 119:J 101 | 20.921 | 2.511 | 3.070 | 5.021 |
| 106 | J 101:J 120 | 24.262 | 2.911 | 3.561 | 5.823 |
| 107 | J 120:J 121 | 21.301 | 2.556 | 3.126 | 5.112 |
| 108 | J 121:J 103 | 51.760 | 6.211 | 7.596 | 12.423 |
| 109 | J 103:J 122 | 48.885 | 5.866 | 7.174 | 11.732 |
| 110 | J 122:J 123 | 62.088 | 7.451 | 9.112 | 14.901 |
| 111 | J 123:J 124 | 22.525 | 2.703 | 3.306 | 5.406 |
| 112 | J 124:J 87 | 27.961 | 3.355 | 4.104 | 6.711 |
| 113 | J 87:J 125 | 16.204 | 1.944 | 2.378 | 3.889 |
| 114 | J 125:J 89 | 40.523 | 4.863 | 5.947 | 9.725 |
| 115 | J 89:J 126 | 44.040 | 5.285 | 6.463 | 10.570 |
| 116 | J 126:J 127 | 38.412 | 4.609 | 5.637 | 9.219 |
| 117 | J 127:J 128 | 56.513 | 6.782 | 8.294 | 13.563 |
| 118 | J 128:J 60 | 19.677 | 2.361 | 2.888 | 4.722 |
| 119 | J 60:J 129 | 60.518 | 7.262 | 8.882 | 14.524 |
| 120 | J 129:J 130 | 68.010 | 8.161 | 9.981 | 16.322 |
| 121 | J 131:J 132 | 40.199 | 4.824 | 6.806 | 9.648 |
| 122 | J 132:J 133 | 43.653 | 5.238 | 7.391 | 10.477 |
| 123 | J 133:J 134 | 56.364 | 6.764 | 9.543 | 13.527 |
| 124 | J 134:J 135 | 39.710 | 4.765 | 6.724 | 9.530 |
| 125 | J 135:J 136 | 40.207 | 4.825 | 6.808 | 9.650 |
| 126 | J 136:J 137 | 48.010 | 5.761 | 8.129 | 11.522 |
| 127 | J 137:J 138 | 32.656 | 3.919 | 5.529 | 7.837 |
| 128 | J 138:J 139 | 39.088 | 4.691 | 6.618 | 9.381 |
| 129 | J 139:J 140 | 61.638 | 7.397 | 10.436 | 14.793 |
| 130 | J 140:J 141 | 70.549 | 8.466 | 11.945 | 16.932 |
| 131 | J 141:J 142 | 38.363 | 4.604 | 6.495 | 9.207 |
| 132 | J 142:J 111 | 39.155 | 4.699 | 6.629 | 9.397 |
| 133 | J 111:J 143 | 41.927 | 5.031 | 7.099 | 10.062 |
| 134 | J 144:J 145 | 49.209 | 5.905 | 7.222 | 11.810 |
| 135 | J 147:J 148 | 35.082 | 4.210 | 5.149 | 8.420 |
| 136 | J 148:J 149 | 43.421 | 5.211 | 6.373 | 10.421 |
| 137 | J 149:J 150 | 65.931 | 7.912 | 9.676 | 15.823 |
| 138 | J 150:J 145 | 14.575 | 1.749 | 2.139 | 3.498 |
| 139 | J 156:J 157 | 39.564 | 4.748 | 5.806 | 9.495 |
| 140 | J 157:J 158 | 41.493 | 4.979 | 6.089 | 9.958 |
| 141 | J 158:J 159 | 21.830 | 2.620 | 3.204 | 5.239 |
| 142 | J 160:J 161 | 31.631 | 3.796 | 4.642 | 7.591 |
| 143 | J 161:J 162 | 28.600 | 3.432 | 4.197 | 6.864 |
| 144 | J 162:J 163 | 35.478 | 4.257 | 5.207 | 8.515 |
| 145 | J 163:J 155 | 9.957 | 1.195 | 1.461 | 2.390 |
| 146 | J 155:J 164 | 33.307 | 3.997 | 4.888 | 7.994 |
| 147 | J 164:J 165 | 50.646 | 6.078 | 7.433 | 12.155 |
| 148 | J 166:J 167 | 46.440 | 5.573 | 6.816 | 11.146 |
| 149 | J 167:J 159 | 14.675 | 1.761 | 2.154 | 3.522 |
| 150 | J 159:J 168 | 42.505 | 5.101 | 6.238 | 10.201 |
| 151 | J 168:J 169 | 37.443 | 4.493 | 5.495 | 8.986 |
| 152 | J 169:J 165 | 53.413 | 6.410 | 7.839 | 12.819 |
| 153 | J 165:J 170 | 22.063 | 2.648 | 3.238 | 5.295 |
| 154 | J 170:J 171 | 41.324 | 4.959 | 6.065 | 9.918 |
| 155 | J 171:J 172 | 27.068 | 3.248 | 3.973 | 6.496 |
| 156 | J 173:J 174 | 53.938 | 6.473 | 7.916 | 12.945 |
| 157 | J 174:J 175 | 61.055 | 7.327 | 8.960 | 14.653 |
| 158 | J 176:J 177 | 26.616 | 3.194 | 3.906 | 6.388 |
| 159 | J 177:J 178 | 20.585 | 2.470 | 3.021 | 4.940 |
| 160 | J 178:J 179 | 15.006 | 1.801 | 2.202 | 3.602 |
| 161 | J 179:J 180 | 14.160 | 1.699 | 2.078 | 3.398 |
| 162 | J 181:J 182 | 30.677 | 3.681 | 4.502 | 7.362 |
| 163 | J 182:J 183 | 32.606 | 3.913 | 4.785 | 7.825 |
| 164 | J 183:J 184 | 44.221 | 5.307 | 6.490 | 10.613 |
| 165 | J 184:J 180 | 12.368 | 1.484 | 1.815 | 2.968 |
| 166 | J 180:J 185 | 36.635 | 4.396 | 5.377 | 8.792 |
| 167 | J 186:J 185 | 32.165 | 3.860 | 4.721 | 7.720 |
| 168 | J 185:J 187 | 19.243 | 2.309 | 2.824 | 4.618 |
| 169 | J 187:J 175 | 19.039 | 2.285 | 2.794 | 4.569 |
| 170 | J 175:J 188 | 16.329 | 1.960 | 2.396 | 3.919 |
| 171 | J 192:J 193 | 48.375 | 5.805 | 7.100 | 11.610 |
| 172 | J 193:J 194 | 39.320 | 4.718 | 5.771 | 9.437 |
| 173 | J 194:J 195 | 32.718 | 3.926 | 4.802 | 7.852 |
| 174 | J 196:J 199 | 30.981 | 3.718 | 4.547 | 7.435 |
| 175 | J 197:J 198 | 46.467 | 5.576 | 6.820 | 11.152 |
| 176 | J 199:J 200 | 45.063 | 5.408 | 6.614 | 10.815 |
| 177 | J 200:J 201 | 23.162 | 2.779 | 3.399 | 5.559 |
| 178 | J 206:J 207 | 26.026 | 3.123 | 3.820 | 6.246 |
| 179 | J 207:J 215 | 31.455 | 3.775 | 4.616 | 7.549 |
| 180 | J 215:J 216 | 42.742 | 5.129 | 6.273 | 10.258 |
| 181 | J 216:J 217 | 45.881 | 5.506 | 6.734 | 11.011 |
| 182 | J 217:J 214 | 56.712 | 6.805 | 8.323 | 13.611 |
| 183 | J 214:J 218 | 11.058 | 1.327 | 1.623 | 2.654 |
| 184 | J 218:J 219 | 38.367 | 4.604 | 5.631 | 9.208 |
| 185 | J 219:J 220 | 33.264 | 3.992 | 4.882 | 7.983 |
| 186 | J 220:J 221 | 34.413 | 4.130 | 5.051 | 8.259 |
| 187 | J 221:J 222 | 38.798 | 4.656 | 5.694 | 9.311 |
| 188 | J 222:J 223 | 42.322 | 5.079 | 6.211 | 10.157 |
| 189 | J 224:J 225 | 48.565 | 5.828 | 7.127 | 11.656 |
| 190 | J 225:J 226 | 52.371 | 6.285 | 7.686 | 12.569 |
| 191 | J 226:J 227 | 42.019 | 5.042 | 6.167 | 10.085 |
| 192 | J 227:J 228 | 41.163 | 4.940 | 6.041 | 9.879 |
| 193 | J 228:J 229 | 49.757 | 5.971 | 7.302 | 11.942 |
| 194 | J 229:J 230 | 34.278 | 4.113 | 5.031 | 8.227 |
| 195 | J 231:J 232 | 21.724 | 2.607 | 3.188 | 5.214 |
| 196 | J 232:J 233 | 41.805 | 5.017 | 6.135 | 10.033 |
| 197 | J 233:J 230 | 43.539 | 5.225 | 6.390 | 10.449 |
| 198 | J 230:J 234 | 51.453 | 6.174 | 7.551 | 12.349 |
| 199 | J 235:J 236 | 32.716 | 3.926 | 4.801 | 7.852 |
| 200 | J 236:J 237 | 23.035 | 2.764 | 3.381 | 5.528 |
| 201 | J 237:J 238 | 31.015 | 3.722 | 4.552 | 7.444 |
| 202 | J 238:J 239 | 57.337 | 6.880 | 8.415 | 13.761 |
| 203 | J 240:J 241 | 31.964 | 3.836 | 4.691 | 7.671 |
| 204 | J 241:J 242 | 28.405 | 3.409 | 4.169 | 6.817 |
| 205 | J 242:J 234 | 9.889 | 1.187 | 1.451 | 2.373 |
| 206 | J 234:J 188 | 31.569 | 3.788 | 4.633 | 7.577 |
| 207 | J 188:J 243 | 38.402 | 4.608 | 5.636 | 9.217 |
| 208 | J 243:J 198 | 57.243 | 6.869 | 8.401 | 13.738 |
| 209 | J 198:J 172 | 34.565 | 4.148 | 5.073 | 8.296 |
| 210 | J 172:J 244 | 25.992 | 3.119 | 3.815 | 6.238 |
| 211 | J 244:J 195 | 31.879 | 3.826 | 4.679 | 7.651 |
| 212 | J 195:J 245 | 33.078 | 3.969 | 4.855 | 7.939 |
| 213 | J 245:J 246 | 39.403 | 4.728 | 5.783 | 9.457 |
| 214 | J 246:J 247 | 37.902 | 4.548 | 5.563 | 9.097 |
| 215 | J 248:J 249 | 28.235 | 3.388 | 4.144 | 6.776 |
| 216 | J 249:J 250 | 35.964 | 4.316 | 5.278 | 8.631 |
| 217 | J 250:J 239 | 26.216 | 3.146 | 3.847 | 6.292 |
| 218 | J 239:J 201 | 47.774 | 5.733 | 7.011 | 11.466 |
| 219 | J 201:J 223 | 44.963 | 5.396 | 6.599 | 10.791 |
| 220 | J 223:J 251 | 32.108 | 3.853 | 4.712 | 7.706 |
| 221 | J 251:J 252 | 40.164 | 4.820 | 5.895 | 9.639 |
| 222 | J 252:J 253 | 41.657 | 4.999 | 6.114 | 9.998 |
| 223 | J 253:J 254 | 29.667 | 3.560 | 4.354 | 7.120 |
| 224 | J 254:J 146 | 69.576 | 8.349 | 10.211 | 16.698 |
| 225 | J 255:J 256 | 33.582 | 4.030 | 4.929 | 8.060 |
| 226 | J 256:J 257 | 31.661 | 3.799 | 4.647 | 7.599 |
| 227 | J 257:J 258 | 37.235 | 4.468 | 5.465 | 8.936 |
| 228 | J 258:J 259 | 31.294 | 3.755 | 4.593 | 7.510 |
| 229 | J 260:J 247 | 45.195 | 5.423 | 6.633 | 10.847 |
| 230 | J 261:J 262 | 26.842 | 3.221 | 3.939 | 6.442 |
| 231 | J 262:J 263 | 33.331 | 4.000 | 4.892 | 7.999 |
| 232 | J 263:J 264 | 29.445 | 3.533 | 4.321 | 7.067 |
| 233 | J 264:J 259 | 18.825 | 2.259 | 2.763 | 4.518 |
| 234 | J 259:J 247 | 40.387 | 4.846 | 5.927 | 9.693 |
| 235 | J 247:J 146 | 43.527 | 5.223 | 6.388 | 10.446 |
| 236 | J 146:J 265 | 49.881 | 5.986 | 7.321 | 11.971 |
| 237 | J 265:J 266 | 60.534 | 7.264 | 8.884 | 14.528 |
| 238 | J 266:J 267 | 58.362 | 7.003 | 8.565 | 14.007 |
| 239 | J 267:J 268 | 65.029 | 7.803 | 9.544 | 15.607 |
| 240 | J 268:J 92 | 17.983 | 2.158 | 2.639 | 4.316 |
| 241 | J 269:J 270 | 36.255 | 4.351 | 5.321 | 8.701 |
| 242 | J 270:J 261 | 36.634 | 4.396 | 5.376 | 8.792 |
| 243 | J 143:J 271 | 34.770 | 4.172 | 5.887 | 8.345 |
| 244 | J 271:J 109 | 46.571 | 5.588 | 7.885 | 11.177 |
| 245 | J 109:J 272 | 47.522 | 5.703 | 8.046 | 11.405 |
| 246 | J 272:J 273 | 39.837 | 4.780 | 6.745 | 9.561 |
| 247 | J 273:J 92 | 62.863 | 7.544 | 10.644 | 15.087 |
| 248 | J 92:J 97 | 27.599 | 3.312 | 4.673 | 6.624 |
| 249 | J 97:J 274 | 44.196 | 5.304 | 7.483 | 10.607 |
| 250 | J 274:J 275 | 39.639 | 4.757 | 6.712 | 9.513 |
| 251 | J 275:J 276 | 40.355 | 4.843 | 6.833 | 9.685 |
| 252 | J 276:J 277 | 40.206 | 4.825 | 6.807 | 9.649 |
| 253 | J 277:J 130 | 50.370 | 6.044 | 8.528 | 12.089 |
| 254 | J 19:J 278 | 41.564 | 4.988 | 7.037 | 9.975 |
| 255 | J 278:J 279 | 41.995 | 5.039 | 7.110 | 10.079 |
| 256 | J 279:J 280 | 28.025 | 3.363 | 4.745 | 6.726 |
| 257 | J 280:J 281 | 59.645 | 7.157 | 10.099 | 14.315 |
| 258 | J 281:J 282 | 51.955 | 6.235 | 8.797 | 12.469 |
| 259 | J 282:J 283 | 44.496 | 5.340 | 7.534 | 10.679 |
| 260 | J 283:J 284 | 84.058 | 10.087 | 14.232 | 20.174 |
| 261 | J 284:J 285 | 59.686 | 7.162 | 10.106 | 14.325 |
| 262 | J 285:A0 | 59.699 | 7.164 | 10.108 | 14.328 |
| 263 | J 20:J 19 | 61.066 | 7.328 | 8.962 | 14.656 |
| 264 | J 286:J 20 | 23.021 | 2.762 | 3.379 | 5.525 |
| 265 | J 287:J 288 | 12.335 | 1.480 | 1.810 | 2.960 |
| 266 | J 288:J 289 | 19.205 | 2.305 | 2.819 | 4.609 |
| 267 | J 289:J 290 | 11.130 | 1.336 | 1.633 | 2.671 |
| 268 | J 290:J 291 | 19.138 | 2.297 | 2.809 | 4.593 |
| 269 | J 291:J 292 | 23.827 | 2.859 | 3.497 | 5.718 |
| 270 | J 292:J 18 | 13.162 | 1.579 | 1.932 | 3.159 |
| 271 | J 18:J 293 | 29.426 | 3.531 | 4.319 | 7.062 |
| 272 | J 293:J 294 | 16.751 | 2.010 | 2.458 | 4.020 |
| 273 | J 294:J 295 | 17.779 | 2.133 | 2.609 | 4.267 |
| 274 | J 295:J 296 | 15.413 | 1.850 | 2.262 | 3.699 |
| 275 | J 296:J 297 | 16.293 | 1.955 | 2.391 | 3.910 |
| 276 | J 297:J 11 | 27.449 | 3.294 | 4.028 | 6.588 |
| 277 | J 11:J 298 | 48.858 | 5.863 | 7.170 | 11.726 |
| 278 | J 298:J 299 | 32.160 | 3.859 | 4.720 | 7.719 |
| 279 | J 299:J 286 | 33.837 | 4.060 | 4.966 | 8.121 |
| 280 | J 300:J 301 | 39.989 | 4.799 | 5.869 | 9.597 |
| 281 | J 301:J 302 | 36.515 | 4.382 | 5.359 | 8.764 |
| 282 | J 302:J 286 | 39.247 | 4.710 | 5.760 | 9.419 |
| 283 | J 130:J 303 | 49.136 | 5.896 | 8.319 | 11.793 |
| 284 | J 303:J 304 | 40.200 | 4.824 | 6.806 | 9.648 |
| 285 | J 304:J 305 | 40.200 | 4.824 | 6.806 | 9.648 |
| 286 | J 305:J 306 | 39.915 | 4.790 | 6.758 | 9.580 |
| 287 | J 306:J 307 | 39.702 | 4.764 | 6.722 | 9.528 |
| 288 | J 307:J 308 | 53.708 | 6.445 | 9.094 | 12.890 |
| 289 | J 308:J 309 | 46.261 | 5.551 | 7.833 | 11.103 |
| 290 | J 309:J 310 | 40.487 | 4.858 | 6.855 | 9.717 |
| 291 | J 310:J 311 | 39.532 | 4.744 | 6.693 | 9.488 |
| 292 | J 311:A0 | 40.216 | 4.826 | 6.809 | 9.652 |
| 293 | J 80:J 312 | 59.637 | 7.156 | 8.752 | 14.313 |
| 294 | J 312:J 313 | 58.000 | 6.960 | 8.512 | 13.920 |
| 295 | J 313:J 52 | 18.020 | 2.162 | 2.645 | 4.325 |
|  | Σύνολο: | 11546.083 | 1385.530 | 1747.654 | 2771.060 |

## 7.3. Trench : Φ200-250 ΤΣΙΜ (Type V)

| # | Conduit | Length (m) | Base Quarry sand (m³) | Confinement Quarry sand (m³) | Cover Quarry sand (m³) |
| --- | --- | --- | --- | --- | --- |
| 1 | J 145:J 151 | 33.254 | 3.990 | 4.880 | 7.981 |
| 2 | J 151:J 152 | 30.132 | 3.616 | 4.422 | 7.232 |
| 3 | J 152:J 153 | 34.811 | 4.177 | 5.109 | 8.355 |
| 4 | J 153:J 140 | 9.611 | 1.153 | 1.410 | 2.307 |
| 5 | J 154:J 155 | 41.897 | 5.028 | 6.149 | 10.055 |
| 6 | J 314:J 154 | 31.523 | 3.783 | 4.626 | 7.566 |
|  | Σύνολο: | 181.229 | 21.747 | 26.597 | 43.495 |